## SRO borders-exports
SUBMISSION DATE: | 23.10.2025
BUSINESS DATE: | 25.10.2025
DA CC Remedial Actions
From Hour (CET) | To Hour (CET) | CO | CNE | Loading (%) | TTC South Romania | NTC South Romania | NTC RO-BG
00:00 | 01:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 98 | 4295 | 4095 | 2866
01:00 | 02:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 96 | 4612 | 4412 | 3088
02:00 | 03:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 99 | 4534 | 4334 | 3034
03:00 | 04:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 98 | 4440 | 4240 | 2968
04:00 | 05:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 99 | 4597 | 4397 | 3078
05:00 | 06:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 99 | 4388 | 4188 | 2932
06:00 | 07:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-BG] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 100 | 4353 | 4153 | 2907
07:00 | 08:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 99 | 4490 | 4290 | 3003
08:00 | 09:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 4021 | 3821 | 2675
09:00 | 10:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 97 | 3819 | 3619 | 2533
10:00 | 11:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 98 | 3826 | 3626 | 2538
11:00 | 12:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 99 | 3877 | 3677 | 2574
12:00 | 13:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3786 | 3586 | 2510
13:00 | 14:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3787 | 3587 | 2511
14:00 | 15:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3738 | 3538 | 2477
15:00 | 16:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 99 | 3947 | 3747 | 2623
16:00 | 17:00 | N-1 OHL 400 kV Gutinas – Smardan | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3692 | 3492 | 2444
17:00 | 18:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-BG] [DIR] TIE 400 kV TINTARENI-KOZLODUI 1 | 99 | 3682 | 3482 | 2437
18:00 | 19:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-BG] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 100 | 4054 | 3854 | 2698
19:00 | 20:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3936 | 3736 | 2615
20:00 | 21:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-BG] [DIR] TIE 400 kV TINTARENI-KOZLODUI 1 | 96 | 3747 | 3547 | 2483
21:00 | 22:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-BG] [DIR] TIE 400 kV TINTARENI-KOZLODUI 1 | 94 | 3805 | 3605 | 2524
22:00 | 23:00 | N-1 TIE 400 kV MEDGIDIA SUD - DOBRUDJA | [BG-RO] [DIR] TIE 400 kV MEDGIDIA SUD - VARNA | 100 | 4058 | 3858 | 2701
23:00 | 00:00 | N-1 TIE 400 kV MEDGIDIA SUD - DOBRUDJA | [BG-RO] [DIR] TIE 400 kV MEDGIDIA SUD - VARNA | 97 | 4123 | 3923 | 2746

## SRO borders-imports
SUBMISSION DATE: | 23.10.2025
BUSINESS DATE: | 25.10.2025
DA CC Remedial Actions
From Hour (CET) | To Hour (CET) | CO | CNE | Loading (%) | TTC South Romania | NTC South Romania | NTC BG-RO
00:00 | 01:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-BG] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 98 | 3204 | 3004 | 2103
01:00 | 02:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-BG] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 98 | 3366 | 3166 | 2216
02:00 | 03:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-BG] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 98 | 3585 | 3385 | 2370
03:00 | 04:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-BG] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 97 | 3674 | 3474 | 2432
04:00 | 05:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-BG] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 96 | 3727 | 3527 | 2469
05:00 | 06:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-BG] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 92 | 3722 | 3522 | 2465
06:00 | 07:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-BG] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 96 | 3848 | 3648 | 2554
07:00 | 08:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-BG] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 98 | 3428 | 3228 | 2260
08:00 | 09:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-BG] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 98 | 3385 | 3185 | 2230
09:00 | 10:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-BG] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 98 | 3224 | 3024 | 2117
10:00 | 11:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-BG] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 98 | 3164 | 2964 | 2075
11:00 | 12:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-BG] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 99 | 3245 | 3045 | 2132
12:00 | 13:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-BG] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 98 | 3216 | 3016 | 2111
13:00 | 14:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-BG] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 98 | 3215 | 3015 | 2110
14:00 | 15:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-BG] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 98 | 3403 | 3203 | 2242
15:00 | 16:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-BG] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 98 | 3782 | 3582 | 2507
16:00 | 17:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3856 | 3656 | 2559
17:00 | 18:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 3555 | 3355 | 2348
18:00 | 19:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3851 | 3651 | 2556
19:00 | 20:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 99 | 3854 | 3654 | 2558
20:00 | 21:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 99 | 3780 | 3580 | 2506
21:00 | 22:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 99 | 3711 | 3511 | 2458
22:00 | 23:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 94 | 3681 | 3481 | 2437
23:00 | 00:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 93 | 3677 | 3477 | 2434

## SRO borders-exports RAs
SUBMISSION DATE: | 23.10.2025
BUSINESS DATE: | 25.10.2025
DA CC Remedial Actions
Initial CCC
Name of the RA | RA ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400/220kV AT3 Arad | RO_RA_00001 | pst | notApplied | notApplied | helpful | helpful | helpful | helpful | helpful | notApplied | notApplied | helpful | helpful | helpful | helpful | helpful | helpful | helpful |  | notApplied | notApplied | notApplied | helpful | helpful | helpful | helpful
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst | notApplied | notApplied | helpful | helpful | helpful | helpful | helpful | notApplied | notApplied | helpful | helpful | helpful | helpful | helpful | helpful | helpful |  | notApplied | notApplied | notApplied | helpful | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 2 | RO_RA_00009 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied |  | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00010 | topological | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful |  | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful |  | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Resita-Pancevo c1 | RO_RA_00016 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied |  | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV TINTARENI-KOZLODUI 1 | BG_RA_00001 | topological | [17 empty] | notApplied | notApplied |  | notApplied | notApplied | notApplied | notApplied
PRA 400 kV TINTARENI-KOZLODUI 2 | BG_RA_00002 | topological | [22 empty] | notApplied | notApplied
NonCostly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 110 kV S4 | RO_RA_00003 | topological_ra | [7 empty] | applied | applied | [7 empty] | applied
PRA 110 kV Dobrogea | RO_RA_00006 | topological_ra | [7 empty] | applied | applied | [7 empty] | applied |  |  | applied
PRA 110 kV Resita | RO_RA_00007 | topological_ra | [7 empty] | applied | applied | [7 empty] | applied
PRA 400/220kV AT3 Arad | RO_RA_00001 | pst_ra | [7 empty] | applied | applied | [7 empty] | applied |  |  | applied
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst_ra | [7 empty] | applied | applied | [7 empty] | applied |  |  | applied
PST_ARAD 400/220_3 | RO_RA_00101 | pst_ra | [7 empty] | applied | applied | [7 empty] | applied |  |  | applied
PST_URECHESTI 400/220_1 | RO_RA_00102 | pst_ra | [7 empty] | applied | applied | [7 empty] | applied |  |  | applied
PRA 400 kV TINTARENI-KOZLODUI 1 | BG_RA_00001 | topological_ra | [16 empty] | applied
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00010 | topological_ra | [16 empty] | applied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological_ra | [16 empty] | applied
TOP_CLOSE_400kV_Tantareni _ Kozlodui_c1 | RO_RA_00103 | topological_ra | [16 empty] | applied
NonCostly Step 5
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
Costly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
RBRAZ41 _generator | RO_RA_00111 | costly_ra |  | 1 | 1 |  | 1 |  | 1 | 1 | [7 empty] | 1 | 1 |  | 1
RBRZ241 _generator | RO_RA_00112 | costly_ra |  | 1 | 1 |  | 64 | 206 | 1 | 1 | [7 empty] | 141 | 1 |  | 91
RBRAZ22 _generator | RO_RA_00113 | costly_ra |  | 1 | 149 |  |  |  | 1 | 1 | 262 | [6 empty] | 1 | 1 |  | 1 |  |  |  | 1
RPDF212 _generator | RO_RA_00115 | costly_ra |  | 351 |  |  |  | 343 | [16 empty] | 0
RVMAR_5 _generator | RO_RA_00116 | costly_ra |  | 50 | 50 |  | 50 | 50 | [12 empty] | 50 |  |  |  | 50
RGODI_5 _generator | RO_RA_00117 | costly_ra |  | 114 | 114 |  | 114 | 114 | [12 empty] | 114 |  |  |  | 114
RTHARG2 _generator | RO_RA_00118 | costly_ra |  | 0 |  |  |  | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 | [5 empty] | 0
RTHAR22 _generator | RO_RA_00119 | costly_ra |  | 0 |  |  |  | 0 | 107 | 0 | 0 | [7 empty] | 0 | [5 empty] | 0
RTOPV_5 _generator | RO_RA_00120 | costly_ra |  | 0 | 10 |  | 10 | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 |  | 0 |  |  |  | 10
RFMEP_5 _generator | RO_RA_00121 | costly_ra |  | 0 | 14 |  | 14 | 0 | 0 | 11 | 0 | [6 empty] | 0 | 0 |  | 0 |  |  |  | 14
RVLCE15 _generator | RO_RA_00122 | costly_ra |  | 0 | 55 |  | 55 | 0 | 0 | 55 | 0 | [6 empty] | 0 | 0 |  | 0 |  |  |  | 55
RVALD_5 _generator | RO_RA_00123 | costly_ra |  | 0 | 15 |  | 15 | 0 | 0 | 15 | 0 | [6 empty] | 0 | 0 |  | 0 |  |  |  | 15
RELAR_5 _generator | RO_RA_00124 | costly_ra |  | 0 | 10 |  | 10 | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 |  | 0 |  |  |  | 10
RAREF_5 _generator | RO_RA_00125 | costly_ra |  | 0 | 10 |  | 10 | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 |  | 10 |  |  |  | 0
RARGS_5 _generator | RO_RA_00126 | costly_ra |  | 0 | 31 |  | 31 | 0 | 0 | 31 | 0 | [6 empty] | 0 | 0 |  | 0 |  |  |  | 31
RALBE_5 _generator | RO_RA_00127 | costly_ra |  | 0 | 30 |  | 30 | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 |  | 30 |  |  |  | 0
RCERB_5 _generator | RO_RA_00128 | costly_ra |  | 0 | 15 |  | 15 | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 |  | 15 |  |  |  | 0
RVLCE25 _generator | RO_RA_00129 | costly_ra |  | 0 | 12 |  | 12 | 0 | 0 | 12 | 0 | [6 empty] | 0 | 0 |  | 0 |  |  |  | 12
RCLNG_5 _generator | RO_RA_00130 | costly_ra |  | 0 | 90 |  | 90 | 0 | 0 | 90 | 0 | [6 empty] | 0 | 0 |  | 0 |  |  |  | 90
RLOT212 _generator | RO_RA_00132 | costly_ra |  | 203 | 0 |  | 0 | [11 empty] | 337
RCHESJ5 _generator | RO_RA_00145 | costly_ra |  | 50 | 50 |  | 50 | 50 | 0 | 0 | 0 | [6 empty] | 0 | 0 |  | 0 |  |  |  | 50
RCHEAC5 _generator | RO_RA_00146 | costly_ra |  | 38 | 38 |  | 38 | 38 | 0 | 0 | 0 | [6 empty] | 0 | 0 |  | 0 |  |  |  | 38
RCHEST5 _generator | RO_RA_00147 | costly_ra |  | 26 | 26 |  | 26 | 26 | 0 | 0 | 0 | [6 empty] | 0 | 0 |  | 0 |  |  |  | 26
RCHEIO5 _generator | RO_RA_00148 | costly_ra |  | 53 | 53 |  | 53 | 53 | 0 | 0 | 0 | [6 empty] | 0 | 0 |  | 0 |  |  |  | 53
RCHDO_5 _generator | RO_RA_00149 | costly_ra |  | 53 | 53 |  | 53 | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 |  | 0 |  |  |  | 53
RFRUN_5 _generator | RO_RA_00150 | costly_ra |  | 53 | 53 |  | 53 | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 |  | 0 |  |  |  | 53
RCIZBI5 _generator | RO_RA_00151 | costly_ra |  | 53 | 53 |  | 53 | 53 | 0 | 0 | 0 | [6 empty] | 0 | 0 |  | 0 |  |  |  | 53
RRUSA_5 _generator | RO_RA_00152 | costly_ra |  | 53 | 53 |  | 53 | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 |  | 0 |  |  |  | 53
RSTEJ_5 _generator | RO_RA_00158 | costly_ra |  | 0 | 0 |  | 0 | 0 |  |  | 0 | [6 empty] | 45 | [6 empty] | 0
RVADU_5 _generator | RO_RA_00160 | costly_ra |  | 0 | 0 |  | 0 | 0 | 67 | 67 | 0 | [7 empty] | 67 |  | 67 |  |  |  | 0
RIZVO_5 _generator | RO_RA_00161 | costly_ra |  | 0 | 0 |  | 9 | 0 | 9 | 9 | 0 | [6 empty] | 0 | 9 |  | 9 |  |  |  | 0
RDUMB_5 _generator | RO_RA_00162 | costly_ra |  | 0 | 0 |  | 0 | 0 | 23 | 23 | 0 | [6 empty] | 23 | 23 |  | 23 |  |  |  | 0
RCOST_5 _generator | RO_RA_00163 | costly_ra |  | 0 | 0 |  | 0 | 0 | 24 | 24 | 0 | [6 empty] | 24 | 24 |  | 24 |  |  |  | 0
RBUHU_5 _generator | RO_RA_00164 | costly_ra |  | 0 | 0 |  | 13 | 0 | 13 | 13 | 0 | [6 empty] | 0 | 13 |  | 13 |  |  |  | 0
RRACO_5 _generator | RO_RA_00165 | costly_ra |  | 0 | 0 |  | 23 | 0 | 23 | 23 | 0 | [6 empty] | 0 | 23 |  | 23 |  |  |  | 0
RGARL_5 _generator | RO_RA_00166 | costly_ra |  | 0 | 0 |  | 23 | 0 | 23 | 23 | 0 | [6 empty] | 0 | 23 |  | 23 |  |  |  | 0
RLILI_5 _generator | RO_RA_00167 | costly_ra |  | 0 | 0 |  | 23 | 0 | 23 | 23 | 0 | [6 empty] | 0 | 23 |  | 23 |  |  |  | 0
RBACS_5 _generator | RO_RA_00168 | costly_ra |  | 0 | 0 |  | 31 | 0 | 98 | 98 | 0 | [6 empty] | 0 | 98 |  | 98 |  |  |  | 0
RFARA_5 _generator | RO_RA_00169 | costly_ra |  | 0 | 0 |  | 30 | 0 | 30 | 30 | 0 | [6 empty] | 0 | 30 |  | 30 |  |  |  | 0
RSISC_5 _generator | RO_RA_00170 | costly_ra |  | 0 | 0 |  | 44 | 0 | 44 | 44 | 0 | [6 empty] | 0 | 44 |  | 44 |  |  |  | 0
RMARA_5 _generator | RO_RA_00171 | costly_ra |  | 0 | 0 |  | 46 | 0 | 46 | 46 | 0 | [6 empty] | 0 | 41 |  | 46 |  |  |  | 21
RTECU_5 _generator | RO_RA_00172 | costly_ra |  | 0 | 0 |  | 34 | 0 | 34 | 34 | 0 | [6 empty] | 0 | 0 |  | 34 |  |  |  | 34
RMARI22 _generator | RO_RA_00173 | costly_ra |  | 217 |  |  |  | 217 | 217 | 217 | 217 | [6 empty] | 217 | 217 |  | 217
RSUGA22 _generator | RO_RA_00174 | costly_ra |  | 150 | 150 |  |  | 150 | 150 | 150 | 150 | [6 empty] | 150 | 150 |  | 150
RGILC22 _generator | RO_RA_00175 | costly_ra |  | 150 | 150 |  |  | 150 | 150 | 150 | 150 | [6 empty] | 150 | 150 |  | 150
RSEBE_5 _generator | RO_RA_00176 | costly_ra |  | 55 | 0 |  | 0 | 55 | 55 | 55 | 55 | [6 empty] | 55 | 55 |  | 55 |  |  |  | 0
RIAZUA5 _generator | RO_RA_00177 | costly_ra |  | 71 |  |  | 71 |  | 71 | 71 | 71 | [6 empty] | 71 | 71 |  | 71 |  |  |  | 71
RREME_5 _generator | RO_RA_00178 | costly_ra |  | 96 |  |  | 96 |  | 96 | 96 | 96 | [6 empty] | 96 | 96 | [5 empty] | 96
RMUNT_5 _generator | RO_RA_00179 | costly_ra |  | 58 |  |  | 58 |  | 58 | 58 | 58 | [6 empty] | 58 | 58 | [5 empty] | 58
RRETE22 _generator | RO_RA_00180 | costly_ra |  | 222 | 222 |  | 222 | 222 | [9 empty] | 222 | 222 | [5 empty] | 222
RRETE_5 _generator | RO_RA_00181 | costly_ra |  | 20 | 20 |  | 20 | 20 | 20 | 20 | 20 | [6 empty] | 20 | 20 |  | 20 |  |  |  | 20
RCIRNA5 _generator | RO_RA_00182 | costly_ra |  | 29 | 29 |  |  | 29 | 29 | 29 | 29 | [6 empty] | 29 | 29 |  | 29 |  |  |  | 29
RCIRNB5 _generator | RO_RA_00183 | costly_ra |  | 27 | 27 |  |  | 27 | 27 | 27 | 27 | [6 empty] | 27 | 27 |  | 27 |  |  |  | 27
RHATE_5 _generator | RO_RA_00184 | costly_ra |  | 52 | 52 |  |  | 52 | 52 | 52 | 52 | [6 empty] | 52 | 52 |  | 52 |  |  |  | 52
RTURC51 _generator | RO_RA_00108 | costly_ra |  |  | 136 |  | 1 | 1 |  | 27 | 1 | [6 empty] | 1 |  |  | 1 |  |  |  | 30
RIERN22 _generator | RO_RA_00110 | costly_ra |  |  | 1 |  | 1 | 1
RLOTR22 _generator | RO_RA_00131 | costly_ra |  |  | 0 |  | 0
RSTUP_5 _generator | RO_RA_00134 | costly_ra |  |  | 45 |  | 45 |  | 0 | 0 | 0 | [9 empty] | 45 |  |  |  | 45
RDAIES5 _generator | RO_RA_00135 | costly_ra |  |  | 37 |  | 37 |  | 0 | 0 | 0 | [9 empty] | 0 |  |  |  | 37
RVILN_5 _generator | RO_RA_00136 | costly_ra |  |  | 46 |  | 46 |  | 0 | 0 | 0 | [9 empty] | 0 |  |  |  | 46
RRIUR15 _generator | RO_RA_00137 | costly_ra |  |  | 48 |  | 48 |  | 0 | 0 | 0 | [9 empty] | 48 |  |  |  | 0
RMARC_5 _generator | RO_RA_00138 | costly_ra |  |  | 39 |  | 39 |  | 0 | 0 | 0 | [9 empty] | 15 |  |  |  | 39
RIONE_5 _generator | RO_RA_00139 | costly_ra |  |  | 38 |  | 38 |  | 0 | 0 | 0 | [9 empty] | 38 |  |  |  | 38
RJIBL_5 _generator | RO_RA_00140 | costly_ra |  |  | 38 |  | 38 |  | 0 | 0 | 0 | [9 empty] | 0 |  |  |  | 38
RZAVI_5 _generator | RO_RA_00141 | costly_ra |  |  | 38 |  | 38 |  | 0 | 0 | 0 | [9 empty] | 38 |  |  |  | 38
RCHTU_5 _generator | RO_RA_00142 | costly_ra |  |  | 74 |  | 74 |  | 0 | 74 | 0 | [9 empty] | 0 |  |  |  | 74
RTRAI_5 _generator | RO_RA_00143 | costly_ra |  |  | 45 |  | 45 |  | 0 | 0 | 0 | [9 empty] | 45 |  |  |  | 45
RHGLOT5 _generator | RO_RA_00144 | costly_ra |  |  | 25 |  | 25 |  | 0 | 25 | 0 | [9 empty] | 0 |  |  |  | 25
RHCORN5 _generator | RO_RA_00153 | costly_ra |  |  | 59 |  | 59 |  | 0 | 59 | 0 | [6 empty] | 0 | 0 |  | 0 |  |  |  | 59
RROV641 _generator | RO_RA_00106 | costly_ra |  |  |  |  | 464 |  |  |  | 429 | [6 empty] | 193 | 1
RSTEJ25 _generator | RO_RA_00159 | costly_ra | [5 empty] | 0 | 32 | 32 | [8 empty] | 32 |  | 32
RFAGA_5 _generator | RO_RA_00154 | costly_ra | [6 empty] | 20 | 20 | 20 | [6 empty] | 0 | 20 |  | 20 |  |  |  | 0
RUCEA25 _generator | RO_RA_00155 | costly_ra | [6 empty] | 32 | 32 | 32 | [6 empty] | 0 | 32 |  | 32 |  |  |  | 32
RUCEA15 _generator | RO_RA_00156 | costly_ra | [6 empty] | 49 | 49 | 49 | [6 empty] | 0 | 49 |  | 49 |  |  |  | 49
RCIRT_5 _generator | RO_RA_00157 | costly_ra | [6 empty] | 54 | 54 | 54 | [6 empty] | 0 | 54 |  | 54 |  |  |  | 54
RROVI31 _generator | RO_RA_00105 | costly_ra | [8 empty] | 1 | [7 empty] | 1
RPDF222 _generator | RO_RA_00114 | costly_ra | [8 empty] | 580 | [6 empty] | 580 | 580
RBRDS25 _generator | RO_RA_00133 | costly_ra | [15 empty] | 118 | 118 | [5 empty] | 0

## SRO borders-imports RAs
SUBMISSION DATE: | 23.10.2025
BUSINESS DATE: | 25.10.2025
DA CC Remedial Actions
Initial CCC
Name of the RA | RA ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400 kV TINTARENI-KOZLODUI 1 | BG_RA_00001 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied |  | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400/220kV AT3 Arad | RO_RA_00001 | pst | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful |  | helpful | helpful | helpful | notApplied | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst | notApplied | notApplied | notApplied | helpful | helpful | helpful | helpful | helpful | helpful | helpful |  | helpful | helpful | helpful | notApplied | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 2 | RO_RA_00009 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied |  | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00010 | topological | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful |  | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Resita-Pancevo c1 | RO_RA_00016 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied |  | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
NonCostly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
NonCostly Step 5
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
Costly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30