## SRO borders-exports
SUBMISSION DATE: | 06.03.2026
BUSINESS DATE: | 08.03.2026
DA CC Remedial Actions
From Hour (CET) | To Hour (CET) | CO | CNE | Loading (%) | TTC South Romania | NTC South Romania | NTC RO-BG
00:00 | 01:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 99 | 2997 | 2797 | 1958
01:00 | 02:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 99 | 2924 | 2724 | 1907
02:00 | 03:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 99 | 2922 | 2722 | 1905
03:00 | 04:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 99 | 2906 | 2706 | 1894
04:00 | 05:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 99 | 2860 | 2660 | 1862
05:00 | 06:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 99 | 2779 | 2579 | 1805
06:00 | 07:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 2923 | 2723 | 1906
07:00 | 08:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3024 | 2824 | 1977
08:00 | 09:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3158 | 2958 | 2071
09:00 | 10:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3176 | 2976 | 2083
10:00 | 11:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3182 | 2982 | 2087
11:00 | 12:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3123 | 2923 | 2046
12:00 | 13:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3481 | 3281 | 2297
13:00 | 14:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 99 | 3293 | 3093 | 2165
14:00 | 15:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3243 | 3043 | 2130
15:00 | 16:00 | N-1 OHL 400 kV Lacu Sarat - Gura Ialomitei | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3169 | 2969 | 2078
16:00 | 17:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3231 | 3031 | 2122
17:00 | 18:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3073 | 2873 | 2011
18:00 | 19:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 2775 | 2575 | 1802
19:00 | 20:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 98 | 2747 | 2547 | 1783
20:00 | 21:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3140 | 2940 | 2058
21:00 | 22:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3165 | 2965 | 2076
22:00 | 23:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 2983 | 2783 | 1948
23:00 | 00:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 99 | 2817 | 2617 | 1832

## SRO borders-imports
SUBMISSION DATE: | 06.03.2026
BUSINESS DATE: | 08.03.2026
DA CC Remedial Actions
From Hour (CET) | To Hour (CET) | CO | CNE | Loading (%) | TTC South Romania | NTC South Romania | NTC BG-RO
00:00 | 01:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3493 | 3293 | 2305
01:00 | 02:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3546 | 3346 | 2342
02:00 | 03:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3570 | 3370 | 2359
03:00 | 04:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3807 | 3607 | 2525
04:00 | 05:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 99 | 3876 | 3676 | 2573
05:00 | 06:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 99 | 3817 | 3617 | 2532
06:00 | 07:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 4029 | 3829 | 2680
07:00 | 08:00 | N-1 OHL 220 kV Resita-Timisoara c2 | [RO-RO] [DIR] OHL 220 kV Resita-Timisoara c1 | 100 | 3746 | 3546 | 2482
08:00 | 09:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 100 | 3685 | 3485 | 2440
09:00 | 10:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 100 | 3687 | 3487 | 2441
10:00 | 11:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 100 | 3878 | 3678 | 2575
11:00 | 12:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3852 | 3652 | 2556
12:00 | 13:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 98 | 3625 | 3425 | 2398
13:00 | 14:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 93 | 3665 | 3465 | 2426
14:00 | 15:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 100 | 3866 | 3666 | 2566
15:00 | 16:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 100 | 3678 | 3478 | 2435
16:00 | 17:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3441 | 3241 | 2269
17:00 | 18:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3613 | 3413 | 2389
18:00 | 19:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3660 | 3460 | 2422
19:00 | 20:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 3554 | 3354 | 2348
20:00 | 21:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3286 | 3086 | 2160
21:00 | 22:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 2936 | 2736 | 1915
22:00 | 23:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3132 | 2932 | 2052
23:00 | 00:00 | N-1 OHL 220 kV Resita-Timisoara c2 | [RO-RO] [DIR] OHL 220 kV Resita-Timisoara c1 | 100 | 3065 | 2865 | 2006

## SRO borders-exports RAs
SUBMISSION DATE: | 06.03.2026
BUSINESS DATE: | 08.03.2026
DA CC Remedial Actions
Initial CCC
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400/220kV AT3 Arad | RO_RA_00001 | pst | [7 empty] | helpful | helpful | helpful | helpful |  |  |  | helpful | helpful
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst | [7 empty] | helpful | helpful | helpful | helpful |  |  |  | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00010 | topological | [7 empty] | helpful | helpful | helpful | helpful |  |  |  | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 2 | RO_RA_00013 | topological | [7 empty] | notApplied | notApplied | notApplied | notApplied |  |  |  | notApplied | notApplied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological | [7 empty] | helpful | helpful | helpful | helpful |  |  |  | helpful | helpful
PRA 400 kV Resita-Pancevo c1 | RO_RA_00016 | topological | [7 empty] | notApplied | notApplied | notApplied | notApplied |  |  |  | notApplied | notApplied
NonCostly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400 kV TINTARENI-KOZLODUI 1 | BG_RA_00001 | topological_ra | [6 empty] | applied | [5 empty] | applied | applied |  |  | applied | applied |  | applied | applied | applied | applied
PRA 110 kV S4 | RO_RA_00003 | topological_ra | [6 empty] | applied | [5 empty] | applied |  |  |  | applied | applied |  | applied | applied | applied | applied
PRA 110 kV S5 | RO_RA_00004 | topological_ra | [6 empty] | applied | [5 empty] | applied | applied |  |  | applied | applied |  | applied | applied | applied | applied
PRA 110 kV Pelicanu | RO_RA_00005 | topological_ra | [6 empty] | applied | [5 empty] | applied | applied |  |  | applied | applied |  | applied | applied | applied | applied
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00010 | topological_ra | [6 empty] | applied | [5 empty] | applied | applied |  |  | applied | applied |  | applied | applied | applied | applied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological_ra | [6 empty] | applied | [5 empty] | applied | applied |  |  | applied | applied |  | applied | applied | applied | applied
TOP_CLOSE_400kV_Tantareni _ Kozlodui_c1 | RO_RA_00103 | topological_ra | [6 empty] | applied | [5 empty] | applied | applied |  |  | applied | applied |  | applied | applied | applied | applied
PRA 400/220kV AT3 Arad | RO_RA_00001 | pst_ra | [6 empty] | applied | [5 empty] | applied | applied |  |  | applied | applied |  | applied | applied | applied | applied
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst_ra | [6 empty] | applied | [5 empty] | applied | applied |  |  | applied | applied |  | applied | applied | applied | applied
PST_ARAD 400/220_3 | RO_RA_00101 | pst_ra | [6 empty] | applied | [5 empty] | applied | applied |  |  | applied | applied |  | applied | applied | applied | applied
PST_URECHESTI 400/220_1 | RO_RA_00102 | pst_ra | [6 empty] | applied | [5 empty] | applied | applied |  |  | applied | applied |  | applied | applied | applied | applied
PRA 110 kV Resita | RO_RA_00007 | topological_ra | [12 empty] | applied | applied |  |  | applied |  |  |  | applied | applied | applied
PRA 110 kV Dobrogea | RO_RA_00006 | topological_ra | [13 empty] | applied |  |  |  | applied
TOP_CLOSE_400kV_Resita_Pancevo_c2 | RO_RA_00104 | topological_ra | [17 empty] | applied |  | applied | applied | applied | applied
NonCostly Step 5
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
Costly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
RBRZ241 _generator | RO_RA_00112 | costly_ra | [6 empty] | 169 |  | 1 |  |  |  | 1 |  |  |  | 1 | 1 |  |  | 1 | 1 | 1
RBRAZ22 _generator | RO_RA_00113 | costly_ra | [6 empty] | 1 |  | 169 | [7 empty] | 1 |  |  |  | 1 | 79
RPDF212 _generator | RO_RA_00115 | costly_ra | [6 empty] | 177 |  | 0
RVMAR_5 _generator | RO_RA_00116 | costly_ra | [6 empty] | 50 | [5 empty] | 50 |  |  |  | 50 | 50 |  |  | 50 | 50 | 50
RGODI_5 _generator | RO_RA_00117 | costly_ra | [6 empty] | 114 | [5 empty] | 114 |  |  |  | 114 | 114 |  |  | 114 | 114 | 114
RTOPV_5 _generator | RO_RA_00120 | costly_ra | [6 empty] | 10 |  | 10 |  |  |  | 10 |  |  |  | 0 | 10 |  |  | 0 | 10 | 10
RFMEP_5 _generator | RO_RA_00121 | costly_ra | [6 empty] | 14 |  | 14 |  |  |  | 14 |  |  |  | 0 | 14 |  |  | 0 | 14 | 14
RVLCE15 _generator | RO_RA_00122 | costly_ra | [6 empty] | 55 |  | 55 |  |  |  | 55 |  |  |  | 0 | 55 |  |  | 0 | 55 | 55
RVALD_5 _generator | RO_RA_00123 | costly_ra | [6 empty] | 15 |  | 15 |  |  |  | 15 |  |  |  | 0 | 15 |  |  | 0 | 15 | 15
RELAR_5 _generator | RO_RA_00124 | costly_ra | [6 empty] | 10 |  | 10 |  |  |  | 10 |  |  |  | 10 | 10 |  |  | 10 | 10 | 10
RAREF_5 _generator | RO_RA_00125 | costly_ra | [6 empty] | 10 |  | 10 |  |  |  | 10 |  |  |  | 10 | 10 |  |  | 10 | 10 | 10
RARGS_5 _generator | RO_RA_00126 | costly_ra | [6 empty] | 31 |  | 31 |  |  |  | 31 |  |  |  | 0 | 31 |  |  | 0 | 31 | 31
RALBE_5 _generator | RO_RA_00127 | costly_ra | [6 empty] | 30 |  | 30 |  |  |  | 30 |  |  |  | 30 | 30 |  |  | 30 | 30 | 30
RCERB_5 _generator | RO_RA_00128 | costly_ra | [6 empty] | 15 |  | 15 |  |  |  | 15 |  |  |  | 15 | 15 |  |  | 15 | 15 | 15
RVLCE25 _generator | RO_RA_00129 | costly_ra | [6 empty] | 12 |  | 12 |  |  |  | 12 |  |  |  | 0 | 12 |  |  | 0 | 12 | 12
RCLNG_5 _generator | RO_RA_00130 | costly_ra | [6 empty] | 90 |  | 90 |  |  |  | 90 |  |  |  | 0 | 90 |  |  | 0 | 90 | 90
RSTUP_5 _generator | RO_RA_00134 | costly_ra | [6 empty] | 45 |  | 45 |  |  |  | 0 |  |  |  | 45 | 45 |  |  | 45 | 45 | 45
RDAIES5 _generator | RO_RA_00135 | costly_ra | [6 empty] | 37 |  | 37 |  |  |  | 0 |  |  |  | 21 | 37 |  |  | 37 | 37 | 37
RVILN_5 _generator | RO_RA_00136 | costly_ra | [6 empty] | 46 |  | 46 |  |  |  | 0 |  |  |  | 46 | 46 |  |  | 46 | 46 | 46
RRIUR15 _generator | RO_RA_00137 | costly_ra | [6 empty] | 48 |  | 48 |  |  |  | 0 |  |  |  | 48 | 48 |  |  | 48 | 48 | 48
RMARC_5 _generator | RO_RA_00138 | costly_ra | [6 empty] | 39 |  | 39 |  |  |  | 0 |  |  |  | 39 | 39 |  |  | 39 | 39 | 39
RIONE_5 _generator | RO_RA_00139 | costly_ra | [6 empty] | 38 |  | 38 |  |  |  | 0 |  |  |  | 38 | 38 |  |  | 38 | 38 | 38
RJIBL_5 _generator | RO_RA_00140 | costly_ra | [6 empty] | 38 |  | 38 |  |  |  | 0 |  |  |  | 0 | 38 |  |  | 38 | 38 | 38
RZAVI_5 _generator | RO_RA_00141 | costly_ra | [6 empty] | 38 |  | 38 |  |  |  | 0 |  |  |  | 38 | 38 |  |  | 38 | 38 | 38
RCHTU_5 _generator | RO_RA_00142 | costly_ra | [6 empty] | 74 |  | 74 |  |  |  | 0 |  |  |  | 0 | 74 |  |  | 74 | 74 | 74
RTRAI_5 _generator | RO_RA_00143 | costly_ra | [6 empty] | 45 |  | 45 |  |  |  | 0 |  |  |  | 45 | 45 |  |  | 45 | 45 | 45
RHGLOT5 _generator | RO_RA_00144 | costly_ra | [6 empty] | 25 |  | 25 |  |  |  | 0 |  |  |  | 0 | 25 |  |  | 0 | 25 | 25
RCHESJ5 _generator | RO_RA_00145 | costly_ra | [6 empty] | 50 |  | 0 |  |  |  | 0 |  |  |  | 0 | 50 |  |  | 0 | 50 | 50
RCHEAC5 _generator | RO_RA_00146 | costly_ra | [6 empty] | 38 |  | 0 |  |  |  | 0 |  |  |  | 0 | 38 |  |  | 0 | 38 | 38
RCHEST5 _generator | RO_RA_00147 | costly_ra | [6 empty] | 26 |  | 0 |  |  |  | 0 |  |  |  | 0 | 26 |  |  | 0 | 26 | 26
RCHEIO5 _generator | RO_RA_00148 | costly_ra | [6 empty] | 53 |  | 0 |  |  |  | 0 |  |  |  | 53 | 53 |  |  | 0 | 53 | 53
RCHDO_5 _generator | RO_RA_00149 | costly_ra | [6 empty] | 53 |  | 0 |  |  |  | 0 |  |  |  | 53 | 53 |  |  | 51 | 53 | 53
RFRUN_5 _generator | RO_RA_00150 | costly_ra | [6 empty] | 53 |  | 0 |  |  |  | 0 |  |  |  | 53 | 53 |  |  | 53 | 53 | 53
RCIZBI5 _generator | RO_RA_00151 | costly_ra | [6 empty] | 53 |  | 0 |  |  |  | 0 |  |  |  | 53 | 53 |  |  | 53 | 53 | 53
RRUSA_5 _generator | RO_RA_00152 | costly_ra | [6 empty] | 53 |  | 0 |  |  |  | 0 |  |  |  | 53 | 53 |  |  | 53 | 53 | 53
RHCORN5 _generator | RO_RA_00153 | costly_ra | [6 empty] | 0 |  | 59 |  |  |  | 0 |  |  |  | 0 | 59 |  |  | 0 | 0 | 0
RFAGA_5 _generator | RO_RA_00154 | costly_ra | [6 empty] | 0 |  | 20 |  |  |  | 0 |  |  |  | 0 | 20 |  |  | 0 | 0 | 0
RUCEA25 _generator | RO_RA_00155 | costly_ra | [6 empty] | 0 |  | 32 |  |  |  | 0 |  |  |  | 0 | 32 |  |  | 0 | 0 | 0
RUCEA15 _generator | RO_RA_00156 | costly_ra | [6 empty] | 0 |  | 49 |  |  |  | 0 |  |  |  | 0 | 0 |  |  | 0 | 0 | 0
RCIRT_5 _generator | RO_RA_00157 | costly_ra | [6 empty] | 0 |  | 54 |  |  |  | 0 |  |  |  | 0 | 0 |  |  | 0 | 0 | 0
RSTEJ_5 _generator | RO_RA_00158 | costly_ra | [6 empty] | 0 | [5 empty] | 0 |  |  |  |  | 0 |  |  | 17 | 0 | 0
RSTEJ25 _generator | RO_RA_00159 | costly_ra | [6 empty] | 0 |  | 32 | [7 empty] | 32 | 0 |  |  | 0 | 0 | 0
RVADU_5 _generator | RO_RA_00160 | costly_ra | [6 empty] | 0 |  | 67 | [7 empty] | 21 | 0 |  |  | 0 | 0 | 0
RIZVO_5 _generator | RO_RA_00161 | costly_ra | [6 empty] | 0 |  | 9 |  |  |  | 0 |  |  |  | 0 | 0 |  |  | 0 | 0 | 0
RDUMB_5 _generator | RO_RA_00162 | costly_ra | [6 empty] | 0 |  | 23 |  |  |  | 0 |  |  |  | 0 | 0 |  |  | 0 | 0 | 0
RCOST_5 _generator | RO_RA_00163 | costly_ra | [6 empty] | 0 |  | 24 |  |  |  | 0 |  |  |  | 0 | 0 |  |  | 0 | 0 | 0
RBUHU_5 _generator | RO_RA_00164 | costly_ra | [6 empty] | 0 |  | 13 |  |  |  | 0 |  |  |  | 0 | 0 |  |  | 0 | 0 | 0
RRACO_5 _generator | RO_RA_00165 | costly_ra | [6 empty] | 0 |  | 23 |  |  |  | 0 |  |  |  | 0 | 0 |  |  | 0 | 0 | 0
RGARL_5 _generator | RO_RA_00166 | costly_ra | [6 empty] | 0 |  | 0 |  |  |  | 0 |  |  |  | 0 | 0 |  |  | 0 | 0 | 0
RLILI_5 _generator | RO_RA_00167 | costly_ra | [6 empty] | 0 |  | 23 |  |  |  | 0 |  |  |  | 0 | 0 |  |  | 0 | 0 | 0
RBACS_5 _generator | RO_RA_00168 | costly_ra | [6 empty] | 0 |  | 98 |  |  |  | 0 |  |  |  | 98 | 98 |  |  | 98 | 98 | 98
RFARA_5 _generator | RO_RA_00169 | costly_ra | [6 empty] | 0 |  | 30 |  |  |  | 0 |  |  |  | 0 | 0 |  |  | 0 | 0 | 0
RSISC_5 _generator | RO_RA_00170 | costly_ra | [6 empty] | 0 |  | 44 |  |  |  | 0 |  |  |  | 0 | 0 |  |  | 0 | 0 | 0
RMARA_5 _generator | RO_RA_00171 | costly_ra | [6 empty] | 0 |  | 46 |  |  |  | 0 |  |  |  | 0 | 0 |  |  | 0 | 0 | 0
RTECU_5 _generator | RO_RA_00172 | costly_ra | [6 empty] | 0 |  | 34 |  |  |  | 0 |  |  |  | 0 | 0 |  |  | 0 | 0 | 0
RSEBE_5 _generator | RO_RA_00176 | costly_ra | [6 empty] | 0 |  | 0 |  |  |  | 0 |  |  |  | 55 | 0 |  |  | 55 | 0 | 0
RMUNT_5 _generator | RO_RA_00179 | costly_ra | [6 empty] | 0 | [5 empty] | 58
RRETE_5 _generator | RO_RA_00181 | costly_ra | [6 empty] | 0 | [9 empty] | 20 | 0
RCIRNA5 _generator | RO_RA_00182 | costly_ra | [6 empty] | 0 | [9 empty] | 29 | 0 |  |  | 29
RCIRNB5 _generator | RO_RA_00183 | costly_ra | [6 empty] | 0 | [9 empty] | 27 | 0 |  |  | 27
RHATE_5 _generator | RO_RA_00184 | costly_ra | [6 empty] | 0 | [9 empty] | 52 | 0 |  |  | 52
RROVI31 _generator | RO_RA_00105 | costly_ra | [8 empty] | 1
RTURC11 _generator | RO_RA_00107 | costly_ra | [8 empty] | 1
RBRAZ41 _generator | RO_RA_00111 | costly_ra | [8 empty] | 1 |  |  |  | 111 |  |  |  | 1 | 195 |  |  | 1 | 1 | 147
RLOTR22 _generator | RO_RA_00131 | costly_ra | [8 empty] | 170 |  |  |  | 170
RMARI22 _generator | RO_RA_00173 | costly_ra | [8 empty] | 114 |  |  |  | 174 |  |  |  | 217 | 62 |  |  | 217 | 217 | 44
RSUGA22 _generator | RO_RA_00174 | costly_ra | [8 empty] | 150 | [8 empty] | 0 |  |  | 150 | 150
RGILC22 _generator | RO_RA_00175 | costly_ra | [8 empty] | 150 | [8 empty] | 0 |  |  |  | 38 | 0
RBRDS25 _generator | RO_RA_00133 | costly_ra | [12 empty] | 0
RIAZUA5 _generator | RO_RA_00177 | costly_ra | [12 empty] | 71 |  |  |  | 71 | 71 |  |  | 71 | 71 | 71
RREME_5 _generator | RO_RA_00178 | costly_ra | [12 empty] | 96
RRETE22 _generator | RO_RA_00180 | costly_ra | [16 empty] | 222 |  |  |  | 222

## SRO borders-imports RAs
SUBMISSION DATE: | 06.03.2026
BUSINESS DATE: | 08.03.2026
DA CC Remedial Actions
Initial CCC
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400 kV TINTARENI-KOZLODUI 1 | BG_RA_00001 | topological | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400/220kV AT3 Arad | RO_RA_00001 | pst | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00010 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 2 | RO_RA_00013 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | notApplied | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | notApplied | helpful | helpful
PRA 400 kV Resita-Pancevo c1 | RO_RA_00016 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
NonCostly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
NonCostly Step 5
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
Costly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
RPDF222 _generator | RO_RA_00114 | costly_ra | [6 empty] | 99 | [9 empty] | 308 |  |  |  |  | 171 | 580 | 397
RVMAR_5 _generator | RO_RA_00116 | costly_ra | [6 empty] | 0 | [8 empty] | 50 | 0 |  |  |  |  | 0 | 0 | 0
RGODI_5 _generator | RO_RA_00117 | costly_ra | [6 empty] | 114 | [8 empty] | 53 | 0 |  |  |  |  | 0 | 0 | 0
RTOPV_5 _generator | RO_RA_00120 | costly_ra | [6 empty] | 0 |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
RFMEP_5 _generator | RO_RA_00121 | costly_ra | [6 empty] | 0 |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
RVLCE15 _generator | RO_RA_00122 | costly_ra | [6 empty] | 0 |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
RVALD_5 _generator | RO_RA_00123 | costly_ra | [6 empty] | 0 |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
RARGS_5 _generator | RO_RA_00126 | costly_ra | [6 empty] | 0 |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
RALBE_5 _generator | RO_RA_00127 | costly_ra | [6 empty] | 0 |  | 30 | 30 | 0 | 30 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
RCERB_5 _generator | RO_RA_00128 | costly_ra | [6 empty] | 0 |  | 15 | 15 | 0 | 15 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
RVLCE25 _generator | RO_RA_00129 | costly_ra | [6 empty] | 0 | [9 empty] | 0 |  |  |  |  | 0 | 0 | 0
RCLNG_5 _generator | RO_RA_00130 | costly_ra | [6 empty] | 0 |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
RSTUP_5 _generator | RO_RA_00134 | costly_ra | [6 empty] | 0 |  | 45 | 45 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
RDAIES5 _generator | RO_RA_00135 | costly_ra | [6 empty] | 0 |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
RVILN_5 _generator | RO_RA_00136 | costly_ra | [6 empty] | 0 |  | 4 | 32 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
RRIUR15 _generator | RO_RA_00137 | costly_ra | [6 empty] | 0 |  | 48 | 48 | 0 | 48 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
RMARC_5 _generator | RO_RA_00138 | costly_ra | [6 empty] | 0 |  | 39 | 39 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
RIONE_5 _generator | RO_RA_00139 | costly_ra | [6 empty] | 0 |  | 38 | 38 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
RJIBL_5 _generator | RO_RA_00140 | costly_ra | [6 empty] | 0 |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
RZAVI_5 _generator | RO_RA_00141 | costly_ra | [6 empty] | 0 |  | 38 | 38 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
RCHTU_5 _generator | RO_RA_00142 | costly_ra | [6 empty] | 0 |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
RTRAI_5 _generator | RO_RA_00143 | costly_ra | [6 empty] | 0 |  | 45 | 45 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
RHGLOT5 _generator | RO_RA_00144 | costly_ra | [6 empty] | 0 |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
RCHESJ5 _generator | RO_RA_00145 | costly_ra | [6 empty] | 0 |  | 0 | 0 | 15 | 49 |  |  | 47 | 50 | 0 |  |  |  |  | 0 | 0 | 0
RCHEAC5 _generator | RO_RA_00146 | costly_ra | [6 empty] | 0 |  | 0 | 0 | 0 | 38 |  |  | 0 | 38 | 0 |  |  |  |  | 0 | 0 | 0
RCHEST5 _generator | RO_RA_00147 | costly_ra | [6 empty] | 0 |  | 0 | 0 | 0 | 26 |  |  | 0 | 26 | 0 |  |  |  |  | 0 | 0 | 0
RCHEIO5 _generator | RO_RA_00148 | costly_ra | [6 empty] | 0 |  | 0 | 0 | 53 | 0 |  |  | 53 | 53 | 0 |  |  |  |  | 0 | 0 | 0
RCHDO_5 _generator | RO_RA_00149 | costly_ra | [6 empty] | 0 |  | 1 | 0 | 53 | 0 |  |  | 53 | 53 | 0 |  |  |  |  | 0 | 0 | 0
RFRUN_5 _generator | RO_RA_00150 | costly_ra | [6 empty] | 0 |  | 0 | 0 | 53 | 0 |  |  | 53 | 53 | 0 |  |  |  |  | 0 | 0 | 0
RCIZBI5 _generator | RO_RA_00151 | costly_ra | [6 empty] | 0 |  | 0 | 0 | 53 | 0 |  |  | 53 | 53 | 0 |  |  |  |  | 0 | 0 | 0
RRUSA_5 _generator | RO_RA_00152 | costly_ra | [6 empty] | 0 |  | 0 | 0 | 53 | 0 |  |  | 53 | 53 | 0 |  |  |  |  | 0 | 0 | 0
RHCORN5 _generator | RO_RA_00153 | costly_ra | [6 empty] | 0 |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
RFAGA_5 _generator | RO_RA_00154 | costly_ra | [6 empty] | 0 |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
RUCEA25 _generator | RO_RA_00155 | costly_ra | [6 empty] | 0 |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
RUCEA15 _generator | RO_RA_00156 | costly_ra | [6 empty] | 0 |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
RCIRT_5 _generator | RO_RA_00157 | costly_ra | [6 empty] | 0 |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
RSTEJ25 _generator | RO_RA_00159 | costly_ra | [6 empty] | 0 | [9 empty] | 0 |  |  |  |  | 0 | 0 | 0
RVADU_5 _generator | RO_RA_00160 | costly_ra | [6 empty] | 0 | [9 empty] | 0 |  |  |  |  | 0 | 0 | 0
RIZVO_5 _generator | RO_RA_00161 | costly_ra | [6 empty] | 0 |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
RDUMB_5 _generator | RO_RA_00162 | costly_ra | [6 empty] | 0 |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
RCOST_5 _generator | RO_RA_00163 | costly_ra | [6 empty] | 0 |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
RBUHU_5 _generator | RO_RA_00164 | costly_ra | [6 empty] | 0 |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
RRACO_5 _generator | RO_RA_00165 | costly_ra | [6 empty] | 0 |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
RGARL_5 _generator | RO_RA_00166 | costly_ra | [6 empty] | 0 |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
RLILI_5 _generator | RO_RA_00167 | costly_ra | [6 empty] | 0 |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
RBACS_5 _generator | RO_RA_00168 | costly_ra | [6 empty] | 0 |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
RFARA_5 _generator | RO_RA_00169 | costly_ra | [6 empty] | 0 |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
RSISC_5 _generator | RO_RA_00170 | costly_ra | [6 empty] | 0 |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
RMARA_5 _generator | RO_RA_00171 | costly_ra | [6 empty] | 0 |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
RTECU_5 _generator | RO_RA_00172 | costly_ra | [6 empty] | 0 |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
RSEBE_5 _generator | RO_RA_00176 | costly_ra | [6 empty] | 0 |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 55 |  |  |  |  | 0 | 0 | 0
RRETE22 _generator | RO_RA_00180 | costly_ra | [6 empty] | 222 |  |  | 2 | [6 empty] | 222 | [6 empty] | 222
RRETE_5 _generator | RO_RA_00181 | costly_ra | [6 empty] | 20 | [9 empty] | 20 | [6 empty] | 8
RCIRNA5 _generator | RO_RA_00182 | costly_ra | [6 empty] | 0 | [9 empty] | 29 | [6 empty] | 29
RCIRNB5 _generator | RO_RA_00183 | costly_ra | [6 empty] | 23 | [9 empty] | 27 | [6 empty] | 27
RHATE_5 _generator | RO_RA_00184 | costly_ra | [6 empty] | 0 | [9 empty] | 52 | [6 empty] | 52
RAREF_5 _generator | RO_RA_00125 | costly_ra | [8 empty] | 10 | 10 |  | 10 | [9 empty] | 0 | 0 | 0
RREME_5 _generator | RO_RA_00178 | costly_ra | [11 empty] | 50 | [9 empty] | 0
RSUGA22 _generator | RO_RA_00174 | costly_ra | [16 empty] | 60
RROVI31 _generator | RO_RA_00105 | costly_ra | [21 empty] | 310
RTURC11 _generator | RO_RA_00107 | costly_ra | [21 empty] | 302
RBRAZ41 _generator | RO_RA_00111 | costly_ra | [21 empty] | 110
RBRZ241 _generator | RO_RA_00112 | costly_ra | [21 empty] | 313
RBRAZ22 _generator | RO_RA_00113 | costly_ra | [21 empty] | 1
RPDF212 _generator | RO_RA_00115 | costly_ra | [21 empty] | 0 | 38
RELAR_5 _generator | RO_RA_00124 | costly_ra | [21 empty] | 0 | 0 | 0
RLOTR22 _generator | RO_RA_00131 | costly_ra | [21 empty] | 0 | 156
RLOT212 _generator | RO_RA_00132 | costly_ra | [21 empty] | 0
RBRDS25 _generator | RO_RA_00133 | costly_ra | [21 empty] | 0
RSTEJ_5 _generator | RO_RA_00158 | costly_ra | [21 empty] | 0
RGILC22 _generator | RO_RA_00175 | costly_ra | [21 empty] | 0
RMUNT_5 _generator | RO_RA_00179 | costly_ra | [21 empty] | 0