## SRO borders-exports
SUBMISSION DATE: | 08.03.2026
BUSINESS DATE: | 10.03.2026
DA CC Remedial Actions
From Hour (CET) | To Hour (CET) | CO | CNE | Loading (%) | TTC South Romania | NTC South Romania | NTC RO-BG
00:00 | 01:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3553 | 3353 | 2347
01:00 | 02:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3544 | 3344 | 2341
02:00 | 03:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3542 | 3342 | 2339
03:00 | 04:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3524 | 3324 | 2327
04:00 | 05:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3525 | 3325 | 2328
05:00 | 06:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 98 | 3016 | 2816 | 1971
06:00 | 07:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3496 | 3296 | 2307
07:00 | 08:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 96 | 3439 | 3239 | 2267
08:00 | 09:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3967 | 3767 | 2637
09:00 | 10:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 96 | 3734 | 3534 | 2474
10:00 | 11:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3639 | 3439 | 2407
11:00 | 12:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 98 | 3811 | 3611 | 2528
12:00 | 13:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 4128 | 3928 | 2750
13:00 | 14:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3742 | 3542 | 2479
14:00 | 15:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3913 | 3713 | 2599
15:00 | 16:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3527 | 3327 | 2329
16:00 | 17:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3214 | 3014 | 2110
17:00 | 18:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3256 | 3056 | 2139
18:00 | 19:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 2977 | 2777 | 1944
19:00 | 20:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3109 | 2909 | 2036
20:00 | 21:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3315 | 3115 | 2180
21:00 | 22:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 2904 | 2704 | 1893
22:00 | 23:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3403 | 3203 | 2242
23:00 | 00:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3461 | 3261 | 2283

## SRO borders-imports
SUBMISSION DATE: | 08.03.2026
BUSINESS DATE: | 10.03.2026
DA CC Remedial Actions
From Hour (CET) | To Hour (CET) | CO | CNE | Loading (%) | TTC South Romania | NTC South Romania | NTC BG-RO
00:00 | 01:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3631 | 3431 | 2402
01:00 | 02:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3702 | 3502 | 2451
02:00 | 03:00 | N-1 OHL 220 kV Resita-Timisoara c2 | [RO-RO] [DIR] OHL 220 kV Resita-Timisoara c1 | 107 | 3816 | 3616 | 2531
03:00 | 04:00 | N-1 OHL 220 kV Resita-Timisoara c2 | [RO-RO] [DIR] OHL 220 kV Resita-Timisoara c1 | 106 | 3768 | 3568 | 2498
04:00 | 05:00 | N-1 OHL 220 kV Resita-Timisoara c2 | [RO-RO] [DIR] OHL 220 kV Resita-Timisoara c1 | 100 | 3881 | 3681 | 2577
05:00 | 06:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 3892 | 3692 | 2584
06:00 | 07:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 96 | 3856 | 3656 | 2559
07:00 | 08:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 3678 | 3478 | 2435
08:00 | 09:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3646 | 3446 | 2412
09:00 | 10:00 | N-1 OHL 220 kV Resita-Timisoara c2 | [RO-RO] [DIR] OHL 220 kV Resita-Timisoara c1 | 106 | 3639 | 3439 | 2407
10:00 | 11:00 | N-1 OHL 220 kV Resita-Timisoara c2 | [RO-RO] [DIR] OHL 220 kV Resita-Timisoara c1 | 106 | 3416 | 3216 | 2251
11:00 | 12:00 | N-1 OHL 220 kV Resita-Timisoara c2 | [RO-RO] [DIR] OHL 220 kV Resita-Timisoara c1 | 102 | 3402 | 3202 | 2241
12:00 | 13:00 | N-1 OHL 220 kV Resita-Timisoara c2 | [RO-RO] [DIR] OHL 220 kV Resita-Timisoara c1 | 104 | 3581 | 3381 | 2367
13:00 | 14:00 | N-1 OHL 220 kV Resita-Timisoara c2 | [RO-RO] [DIR] OHL 220 kV Resita-Timisoara c1 | 101 | 3442 | 3242 | 2269
14:00 | 15:00 | N-1 OHL 220 kV Resita-Timisoara c2 | [RO-RO] [DIR] OHL 220 kV Resita-Timisoara c1 | 105 | 3319 | 3119 | 2183
15:00 | 16:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3452 | 3252 | 2276
16:00 | 17:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 3494 | 3294 | 2306
17:00 | 18:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 3576 | 3376 | 2363
18:00 | 19:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 3536 | 3336 | 2335
19:00 | 20:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 3528 | 3328 | 2330
20:00 | 21:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3428 | 3228 | 2260
21:00 | 22:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 2952 | 2752 | 1926
22:00 | 23:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 2717 | 2517 | 1762
23:00 | 00:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 2831 | 2631 | 1842

## SRO borders-exports RAs
SUBMISSION DATE: | 08.03.2026
BUSINESS DATE: | 10.03.2026
DA CC Remedial Actions
Initial CCC
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400/220kV AT3 Arad | RO_RA_00001 | pst | helpful | helpful | helpful | helpful | helpful |  | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst | helpful | helpful | helpful | helpful | helpful |  | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00010 | topological | helpful | helpful | helpful | helpful | helpful |  | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 2 | RO_RA_00013 | topological | notApplied | notApplied | notApplied | notApplied | notApplied |  | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological | helpful | helpful | helpful | helpful | helpful |  | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Resita-Pancevo c1 | RO_RA_00016 | topological | notApplied | notApplied | notApplied | notApplied | notApplied |  | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
NonCostly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400 kV TINTARENI-KOZLODUI 1 | BG_RA_00001 | topological_ra | [5 empty] | applied | [10 empty] | applied | applied | applied | applied | applied | applied | applied | applied
PRA 110 kV S4 | RO_RA_00003 | topological_ra | [5 empty] | applied | [9 empty] | applied | applied | applied | applied | applied | applied | applied | applied | applied
PRA 110 kV S5 | RO_RA_00004 | topological_ra | [5 empty] | applied | [9 empty] | applied |  | applied | applied |  | applied | applied | applied | applied
PRA 110 kV Pelicanu | RO_RA_00005 | topological_ra | [5 empty] | applied | [9 empty] | applied | applied |  |  | applied | applied | applied | applied | applied
PRA 110 kV Resita | RO_RA_00007 | topological_ra | [5 empty] | applied
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00010 | topological_ra | [5 empty] | applied | [10 empty] | applied | applied | applied | applied | applied | applied | applied | applied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological_ra | [5 empty] | applied | [10 empty] | applied | applied | applied | applied | applied | applied | applied | applied
TOP_CLOSE_400kV_Tantareni _ Kozlodui_c1 | RO_RA_00103 | topological_ra | [5 empty] | applied | [10 empty] | applied | applied | applied | applied | applied | applied | applied | applied
PRA 400/220kV AT3 Arad | RO_RA_00001 | pst_ra | [5 empty] | applied | [9 empty] | applied | applied | applied | applied | applied | applied | applied | applied | applied
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst_ra | [5 empty] | applied | [9 empty] | applied | applied | applied | applied | applied | applied | applied | applied | applied
PST_ARAD 400/220_3 | RO_RA_00101 | pst_ra | [5 empty] | applied | [9 empty] | applied | applied | applied | applied | applied | applied | applied | applied | applied
PST_URECHESTI 400/220_1 | RO_RA_00102 | pst_ra | [5 empty] | applied | [9 empty] | applied | applied | applied | applied | applied | applied | applied | applied | applied
PRA 110 kV Dobrogea | RO_RA_00006 | topological_ra | [15 empty] | applied | applied | applied | applied | applied | applied | applied | applied | applied
TOP_CLOSE_400kV_Resita_Pancevo_c2 | RO_RA_00104 | topological_ra | [17 empty] | applied | applied | applied | applied | applied | applied | applied
NonCostly Step 5
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
Costly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
RROVI31 _generator | RO_RA_00105 | costly_ra | [6 empty] | 1 | [5 empty] | 1 | 1
RBRAZ41 _generator | RO_RA_00111 | costly_ra | [6 empty] | 1 |  | 1 |  |  |  | 1 | 1 | 1 |  | 1 | 1 |  | 293 | 1 | 1 | 1 | 1
RBRZ241 _generator | RO_RA_00112 | costly_ra | [6 empty] | 1 |  | 1 |  |  |  | 1 | 1 | 1 |  | 1 | 1 | 274 | 1 | 1 | 1 | 1 | 1
RBRAZ22 _generator | RO_RA_00113 | costly_ra | [6 empty] | 1 |  | 1 |  |  |  | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
RPDF212 _generator | RO_RA_00115 | costly_ra | [6 empty] | 54 | [5 empty] | 365 | 0 | 120
RVMAR_5 _generator | RO_RA_00116 | costly_ra | [6 empty] | 0 |  | 50 | [5 empty] | 50 |  | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50
RGODI_5 _generator | RO_RA_00117 | costly_ra | [6 empty] | 114 |  | 114 | [5 empty] | 114 |  | 114 | 114 | 114 | 0 | 114 | 114 | 114 | 114
RTOPV_5 _generator | RO_RA_00120 | costly_ra | [6 empty] | 0 |  | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
RFMEP_5 _generator | RO_RA_00121 | costly_ra | [6 empty] | 0 |  | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
RVLCE15 _generator | RO_RA_00122 | costly_ra | [6 empty] | 21 |  | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
RVALD_5 _generator | RO_RA_00123 | costly_ra | [6 empty] | 15 |  | 0 |  |  |  | 15 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
RELAR_5 _generator | RO_RA_00124 | costly_ra | [6 empty] | 10 |  | 0 |  |  |  | 10 | 0 | 0 |  | 0 | 0 | 0 | 0 | 10 | 0 | 0
RAREF_5 _generator | RO_RA_00125 | costly_ra | [6 empty] | 10 |  | 0 |  |  |  | 10 | 10 | 10 |  | 10 | 10 | 0 | 0 | 10 | 10 | 10 | 1
RARGS_5 _generator | RO_RA_00126 | costly_ra | [6 empty] | 31 |  | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
RALBE_5 _generator | RO_RA_00127 | costly_ra | [6 empty] | 30 |  | 0 |  |  |  | 30 | 30 | 30 |  | 30 | 30 | 0 | 0 | 30 | 30 | 28 | 0
RCERB_5 _generator | RO_RA_00128 | costly_ra | [6 empty] | 15 |  | 0 |  |  |  | 15 | 15 | 15 |  | 15 | 15 | 0 | 0 | 15 | 15 | 0 | 0
RVLCE25 _generator | RO_RA_00129 | costly_ra | [6 empty] | 12 |  | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
RCLNG_5 _generator | RO_RA_00130 | costly_ra | [6 empty] | 90 |  | 0 |  |  |  | 17 | 0 | 0 |  | 0 | 0 | 0 | 90 | 0 | 0 | 0 | 0
RSTUP_5 _generator | RO_RA_00134 | costly_ra | [6 empty] | 45 |  | 0 |  |  |  | 45 | 45 | 45 |  | 0 | 45 | 45 | 45 | 45 | 0 | 0 | 0
RDAIES5 _generator | RO_RA_00135 | costly_ra | [6 empty] | 37 |  | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0 | 37 | 37 | 37 | 0 | 0 | 0
RVILN_5 _generator | RO_RA_00136 | costly_ra | [6 empty] | 46 |  | 0 |  |  |  | 46 | 46 | 0 |  | 0 | 0 | 46 | 46 | 46 | 0 | 0 | 0
RRIUR15 _generator | RO_RA_00137 | costly_ra | [6 empty] | 48 |  | 0 |  |  |  | 48 | 48 | 48 |  | 48 | 48 | 48 | 48 | 48 | 48 | 0 | 0
RMARC_5 _generator | RO_RA_00138 | costly_ra | [6 empty] | 39 |  | 0 |  |  |  | 39 | 39 | 39 |  | 0 | 39 | 39 | 39 | 39 | 0 | 0 | 0
RIONE_5 _generator | RO_RA_00139 | costly_ra | [6 empty] | 38 |  | 0 |  |  |  | 38 | 38 | 20 |  | 0 | 35 | 38 | 38 | 38 | 0 | 0 | 0
RJIBL_5 _generator | RO_RA_00140 | costly_ra | [6 empty] | 38 |  | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0 | 38 | 38 | 2 | 0 | 0 | 0
RZAVI_5 _generator | RO_RA_00141 | costly_ra | [6 empty] | 38 |  | 0 |  |  |  | 38 | 38 | 38 |  | 0 | 38 | 38 | 38 | 38 | 0 | 0 | 0
RCHTU_5 _generator | RO_RA_00142 | costly_ra | [6 empty] | 74 |  | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0 | 74 | 74 | 0 | 0 | 0 | 0
RTRAI_5 _generator | RO_RA_00143 | costly_ra | [6 empty] | 45 |  | 0 |  |  |  | 45 | 45 | 0 |  | 0 | 45 | 45 | 45 | 45 | 0 | 0 | 0
RHGLOT5 _generator | RO_RA_00144 | costly_ra | [6 empty] | 25 |  | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0 | 25 | 25 | 0 | 0 | 0 | 0
RCHESJ5 _generator | RO_RA_00145 | costly_ra | [6 empty] | 0 |  | 9 |  |  |  | 0 | 0 | 0 |  | 0 | 0 | 50 | 50 | 0 | 0 | 0 | 0
RCHEAC5 _generator | RO_RA_00146 | costly_ra | [6 empty] | 0 |  | 38 |  |  |  | 0 | 0 | 0 |  | 0 | 0 | 38 | 38 | 0 | 0 | 0 | 0
RCHEST5 _generator | RO_RA_00147 | costly_ra | [6 empty] | 0 |  | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0 | 26 | 26 | 0 | 0 | 0 | 0
RCHEIO5 _generator | RO_RA_00148 | costly_ra | [6 empty] | 0 |  | 53 |  |  |  | 0 | 0 | 0 |  | 0 | 0 | 53 | 53 | 53 | 0 | 0 | 0
RCHDO_5 _generator | RO_RA_00149 | costly_ra | [6 empty] | 0 |  | 53 |  |  |  | 0 | 0 | 53 |  | 53 | 0 | 53 | 53 | 53 | 53 | 0 | 0
RFRUN_5 _generator | RO_RA_00150 | costly_ra | [6 empty] | 0 |  | 53 |  |  |  | 0 | 0 | 53 |  | 53 | 0 | 53 | 53 | 53 | 0 | 0 | 0
RCIZBI5 _generator | RO_RA_00151 | costly_ra | [6 empty] | 0 |  | 53 |  |  |  | 0 | 0 | 53 |  | 0 | 0 | 53 | 53 | 53 | 4 | 0 | 0
RRUSA_5 _generator | RO_RA_00152 | costly_ra | [6 empty] | 0 |  | 53 |  |  |  | 0 | 0 | 53 |  | 22 | 0 | 53 | 53 | 53 | 53 | 0 | 0
RHCORN5 _generator | RO_RA_00153 | costly_ra | [6 empty] | 59 |  | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0 | 59 | 59 | 0 | 0 | 0 | 0
RFAGA_5 _generator | RO_RA_00154 | costly_ra | [6 empty] | 20 |  | 20 |  |  |  | 20 | 20 | 0 |  | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20
RUCEA25 _generator | RO_RA_00155 | costly_ra | [6 empty] | 32 |  | 32 |  |  |  | 32 | 32 | 0 |  | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32
RUCEA15 _generator | RO_RA_00156 | costly_ra | [6 empty] | 49 |  | 49 |  |  |  | 49 | 49 | 0 |  | 49 | 49 | 49 | 49 | 49 | 49 | 49 | 49
RCIRT_5 _generator | RO_RA_00157 | costly_ra | [6 empty] | 54 |  | 54 |  |  |  | 54 | 54 | 0 |  | 54 | 5 | 54 | 54 | 54 | 54 | 54 | 54
RSTEJ25 _generator | RO_RA_00159 | costly_ra | [6 empty] | 32 |  | 0 |  |  |  |  | 32 | 0 |  | 32 | 32 | 0 | 0 | 2 | 32 | 32 | 32
RVADU_5 _generator | RO_RA_00160 | costly_ra | [6 empty] | 67 |  | 0 |  |  |  |  | 67 | 0 |  | 67 | 67 | 0 | 0 | 0 | 67 | 67 | 67
RIZVO_5 _generator | RO_RA_00161 | costly_ra | [6 empty] | 9 |  | 0 |  |  |  | 0 | 9 | 0 |  | 9 | 9 | 0 | 0 | 0 | 9 | 9 | 9
RDUMB_5 _generator | RO_RA_00162 | costly_ra | [6 empty] | 23 |  | 0 |  |  |  | 0 | 23 | 0 |  | 23 | 23 | 0 | 0 | 0 | 23 | 23 | 23
RCOST_5 _generator | RO_RA_00163 | costly_ra | [6 empty] | 24 |  | 0 |  |  |  | 0 | 24 | 0 |  | 24 | 24 | 0 | 0 | 0 | 24 | 24 | 24
RBUHU_5 _generator | RO_RA_00164 | costly_ra | [6 empty] | 13 |  | 0 |  |  |  | 0 | 13 | 0 |  | 13 | 13 | 0 | 0 | 0 | 13 | 13 | 13
RRACO_5 _generator | RO_RA_00165 | costly_ra | [6 empty] | 23 |  | 0 |  |  |  | 0 | 23 | 0 |  | 23 | 23 | 0 | 0 | 0 | 23 | 23 | 23
RGARL_5 _generator | RO_RA_00166 | costly_ra | [6 empty] | 23 |  | 0 |  |  |  | 0 | 23 | 0 |  | 23 | 23 | 0 | 0 | 0 | 23 | 23 | 23
RLILI_5 _generator | RO_RA_00167 | costly_ra | [6 empty] | 23 |  | 0 |  |  |  | 0 | 23 | 0 |  | 23 | 23 | 0 | 0 | 0 | 23 | 23 | 23
RBACS_5 _generator | RO_RA_00168 | costly_ra | [6 empty] | 98 |  | 0 |  |  |  | 0 | 98 | 0 |  | 98 | 98 | 0 | 0 | 98 | 98 | 98 | 98
RFARA_5 _generator | RO_RA_00169 | costly_ra | [6 empty] | 30 |  | 0 |  |  |  | 0 | 30 | 0 |  | 30 | 30 | 0 | 0 | 0 | 30 | 30 | 30
RSISC_5 _generator | RO_RA_00170 | costly_ra | [6 empty] | 44 |  | 0 |  |  |  | 0 | 44 | 0 |  | 44 | 44 | 0 | 0 | 0 | 44 | 44 | 44
RMARA_5 _generator | RO_RA_00171 | costly_ra | [6 empty] | 46 |  | 0 |  |  |  | 0 | 46 | 0 |  | 46 | 46 | 0 | 0 | 0 | 46 | 46 | 46
RTECU_5 _generator | RO_RA_00172 | costly_ra | [6 empty] | 34 |  | 0 |  |  |  | 0 | 34 | 0 |  | 34 | 34 | 0 | 0 | 0 | 34 | 34 | 34
RMARI22 _generator | RO_RA_00173 | costly_ra | [6 empty] | 217 |  | 217 |  |  |  | 217 | 217 | 217 |  | 217 | 217 | 217 | 217 | 217 | 217 | 217 | 217
RSEBE_5 _generator | RO_RA_00176 | costly_ra | [6 empty] | 55 |  | 55 |  |  |  | 55 | 55 | 55 |  | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55
RIAZUA5 _generator | RO_RA_00177 | costly_ra | [6 empty] | 71 |  | 71 |  |  |  | 71 |  | 71 |  | 71 | 71 | 0 |  | 71 | 71 | 71 | 71
RREME_5 _generator | RO_RA_00178 | costly_ra | [6 empty] | 96 |  | 96 |  |  |  | 96 | 96 | 96 |  |  |  | 0 |  |  |  |  | 96
RMUNT_5 _generator | RO_RA_00179 | costly_ra | [6 empty] | 58 |  | 58 |  |  |  | 58 | 58 | 58 |  |  |  | 0 |  |  |  |  | 58
RRETE22 _generator | RO_RA_00180 | costly_ra | [6 empty] | 222 |  | 222 |  |  |  | 222 | 222 | 222 |  | 222 | 222 | 222 | 222 | 222 | 222 | 222 | 222
RRETE_5 _generator | RO_RA_00181 | costly_ra | [6 empty] | 20 |  | 20 |  |  |  | 20 |  | 20 |  | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20
RCIRNA5 _generator | RO_RA_00182 | costly_ra | [6 empty] | 29 |  | 29 |  |  |  | 29 | 29 | 29 |  | 29 | 29 | 29 | 29 | 29 | 29 | 29 | 29
RCIRNB5 _generator | RO_RA_00183 | costly_ra | [6 empty] | 27 |  | 27 |  |  |  | 27 | 27 | 27 |  | 27 | 27 | 27 | 27 | 27 | 27 | 27 | 27
RHATE_5 _generator | RO_RA_00184 | costly_ra | [6 empty] | 52 |  | 52 |  |  |  | 52 | 52 | 52 |  | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52
RSTEJ_5 _generator | RO_RA_00158 | costly_ra | [8 empty] | 0 |  |  |  | 0 |  | 0 |  |  |  | 0 | 0
RSUGA22 _generator | RO_RA_00174 | costly_ra | [8 empty] | 150 |  |  |  | 150 | 150 | 150 | [7 empty] | 150
RGILC22 _generator | RO_RA_00175 | costly_ra | [8 empty] | 150 |  |  |  | 150 | 150 | 150
RLOTR22 _generator | RO_RA_00131 | costly_ra | [12 empty] | 170 | 170 | 170
RTURC11 _generator | RO_RA_00107 | costly_ra | [13 empty] | 211 |  |  |  |  | 1 | 141
RTURC51 _generator | RO_RA_00108 | costly_ra | [18 empty] | 289

## SRO borders-imports RAs
SUBMISSION DATE: | 08.03.2026
BUSINESS DATE: | 10.03.2026
DA CC Remedial Actions
Initial CCC
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400 kV TINTARENI-KOZLODUI 1 | BG_RA_00001 | topological | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400/220kV AT3 Arad | RO_RA_00001 | pst | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00010 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 2 | RO_RA_00013 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | notApplied | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Resita-Pancevo c1 | RO_RA_00016 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
NonCostly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
NonCostly Step 5
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
Costly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
RPDF222 _generator | RO_RA_00114 | costly_ra | 169
RGODI_5 _generator | RO_RA_00117 | costly_ra | 0 |  |  |  | 0
RFMEP_5 _generator | RO_RA_00121 | costly_ra | 0 |  |  |  | 0
RVLCE15 _generator | RO_RA_00122 | costly_ra | 0 |  |  |  | 0
RVALD_5 _generator | RO_RA_00123 | costly_ra | 0 |  |  |  | 0
RARGS_5 _generator | RO_RA_00126 | costly_ra | 0 |  |  |  | 0
RALBE_5 _generator | RO_RA_00127 | costly_ra | 0 |  |  |  | 30
RCERB_5 _generator | RO_RA_00128 | costly_ra | 0 |  |  |  | 15
RCLNG_5 _generator | RO_RA_00130 | costly_ra | 0 |  |  |  | 0
RSTUP_5 _generator | RO_RA_00134 | costly_ra | 0 |  |  |  | 45
RDAIES5 _generator | RO_RA_00135 | costly_ra | 0 |  |  |  | 37
RVILN_5 _generator | RO_RA_00136 | costly_ra | 0 |  |  |  | 46
RRIUR15 _generator | RO_RA_00137 | costly_ra | 0 |  |  |  | 48
RMARC_5 _generator | RO_RA_00138 | costly_ra | 0 |  |  |  | 39
RIONE_5 _generator | RO_RA_00139 | costly_ra | 0 |  |  |  | 38
RJIBL_5 _generator | RO_RA_00140 | costly_ra | 0 |  |  |  | 38
RZAVI_5 _generator | RO_RA_00141 | costly_ra | 0 |  |  |  | 38
RCHTU_5 _generator | RO_RA_00142 | costly_ra | 0 |  |  |  | 74
RTRAI_5 _generator | RO_RA_00143 | costly_ra | 0 |  |  |  | 45
RHGLOT5 _generator | RO_RA_00144 | costly_ra | 0 |  |  |  | 18
RCHESJ5 _generator | RO_RA_00145 | costly_ra | 0 |  |  |  | 0
RCHEAC5 _generator | RO_RA_00146 | costly_ra | 0 |  |  |  | 0
RCHEST5 _generator | RO_RA_00147 | costly_ra | 0 |  |  |  | 0
RCHEIO5 _generator | RO_RA_00148 | costly_ra | 0 |  |  |  | 0
RCHDO_5 _generator | RO_RA_00149 | costly_ra | 0 |  |  |  | 0
RFRUN_5 _generator | RO_RA_00150 | costly_ra | 0 |  |  |  | 0
RCIZBI5 _generator | RO_RA_00151 | costly_ra | 0 |  |  |  | 0
RRUSA_5 _generator | RO_RA_00152 | costly_ra | 0 |  |  |  | 0
RHCORN5 _generator | RO_RA_00153 | costly_ra | 0 |  |  |  | 59
RFAGA_5 _generator | RO_RA_00154 | costly_ra | 0 |  |  |  | 0
RUCEA25 _generator | RO_RA_00155 | costly_ra | 0 |  |  |  | 0
RUCEA15 _generator | RO_RA_00156 | costly_ra | 0 |  |  |  | 0
RCIRT_5 _generator | RO_RA_00157 | costly_ra | 0 |  |  |  | 0
RSTEJ25 _generator | RO_RA_00159 | costly_ra | 0 |  |  |  | 0
RVADU_5 _generator | RO_RA_00160 | costly_ra | 0 |  |  |  | 0
RIZVO_5 _generator | RO_RA_00161 | costly_ra | 0 |  |  |  | 0
RDUMB_5 _generator | RO_RA_00162 | costly_ra | 0 |  |  |  | 0
RCOST_5 _generator | RO_RA_00163 | costly_ra | 0 |  |  |  | 0
RBUHU_5 _generator | RO_RA_00164 | costly_ra | 0 |  |  |  | 0
RRACO_5 _generator | RO_RA_00165 | costly_ra | 0 |  |  |  | 0
RGARL_5 _generator | RO_RA_00166 | costly_ra | 0 |  |  |  | 0
RLILI_5 _generator | RO_RA_00167 | costly_ra | 0 |  |  |  | 0
RBACS_5 _generator | RO_RA_00168 | costly_ra | 0 |  |  |  | 0
RFARA_5 _generator | RO_RA_00169 | costly_ra | 0 |  |  |  | 0
RSISC_5 _generator | RO_RA_00170 | costly_ra | 0 |  |  |  | 0
RMARA_5 _generator | RO_RA_00171 | costly_ra | 0 |  |  |  | 0
RTECU_5 _generator | RO_RA_00172 | costly_ra | 0 |  |  |  | 0
RSUGA22 _generator | RO_RA_00174 | costly_ra | 150
RGILC22 _generator | RO_RA_00175 | costly_ra | 64
RSEBE_5 _generator | RO_RA_00176 | costly_ra | 55 |  |  |  | 0
RRETE22 _generator | RO_RA_00180 | costly_ra | 222 |  |  |  | 222
RRETE_5 _generator | RO_RA_00181 | costly_ra | 20
RCIRNA5 _generator | RO_RA_00182 | costly_ra | 29 |  |  |  | 17
RCIRNB5 _generator | RO_RA_00183 | costly_ra | 27 |  |  |  | 27
RHATE_5 _generator | RO_RA_00184 | costly_ra | 52
RVMAR_5 _generator | RO_RA_00116 | costly_ra |  |  |  |  | 0
RELAR_5 _generator | RO_RA_00124 | costly_ra |  |  |  |  | 10
RAREF_5 _generator | RO_RA_00125 | costly_ra |  |  |  |  | 10