## SRO borders-exports
SUBMISSION DATE: | 11.03.2026
BUSINESS DATE: | 13.03.2026
DA CC Remedial Actions
From Hour (CET) | To Hour (CET) | CO | CNE | Loading (%) | TTC South Romania | NTC South Romania | NTC RO-BG
00:00 | 01:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 96 | 3176 | 2976 | 2083
01:00 | 02:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 99 | 3144 | 2944 | 2061
02:00 | 03:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 97 | 3317 | 3117 | 2182
03:00 | 04:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3645 | 3445 | 2412
04:00 | 05:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3584 | 3384 | 2369
05:00 | 06:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3196 | 2996 | 2097
06:00 | 07:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3202 | 3002 | 2101
07:00 | 08:00 | N-1 OHL 400 kV Lacu Sarat - Gura Ialomitei | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3006 | 2806 | 1964
08:00 | 09:00 | N-1 OHL 400 kV Lacu Sarat - Gura Ialomitei | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 2986 | 2786 | 1950
09:00 | 10:00 | N-1 OHL 400 kV Lacu Sarat - Gura Ialomitei | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3079 | 2879 | 2015
10:00 | 11:00 | N-1 OHL 400 kV Lacu Sarat - Gura Ialomitei | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3146 | 2946 | 2062
11:00 | 12:00 | N-1 OHL 400 kV Lacu Sarat - Gura Ialomitei | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3182 | 2982 | 2087
12:00 | 13:00 | N-1 OHL 400 kV Lacu Sarat - Gura Ialomitei | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3192 | 2992 | 2094
13:00 | 14:00 | N-1 OHL 400 kV Lacu Sarat - Gura Ialomitei | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3054 | 2854 | 1998
14:00 | 15:00 | N-1 OHL 400 kV Lacu Sarat - Gura Ialomitei | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 2908 | 2708 | 1896
15:00 | 16:00 | N-1 OHL 400 kV Lacu Sarat - Gura Ialomitei | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 2858 | 2658 | 1861
16:00 | 17:00 | N-1 OHL 400 kV Lacu Sarat - Gura Ialomitei | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 2784 | 2584 | 1809
17:00 | 18:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3130 | 2930 | 2051
18:00 | 19:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 2686 | 2486 | 1740
19:00 | 20:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 2649 | 2449 | 1714
20:00 | 21:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 2531 | 2331 | 1632
21:00 | 22:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 2584 | 2384 | 1669
22:00 | 23:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 99 | 2700 | 2500 | 1750
23:00 | 00:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 99 | 2783 | 2583 | 1808

## SRO borders-imports
SUBMISSION DATE: | 11.03.2026
BUSINESS DATE: | 13.03.2026
DA CC Remedial Actions
From Hour (CET) | To Hour (CET) | CO | CNE | Loading (%) | TTC South Romania | NTC South Romania | NTC BG-RO
00:00 | 01:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3779 | 3579 | 2505
01:00 | 02:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3726 | 3526 | 2468
02:00 | 03:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3828 | 3628 | 2540
03:00 | 04:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 92 | 3845 | 3645 | 2552
04:00 | 05:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 92 | 3872 | 3672 | 2570
05:00 | 06:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 97 | 3966 | 3766 | 2636
06:00 | 07:00 | N-1 OHL 400 kV Portile de Fier-Urechesti | [RO-RO] [DIR] OHL 220 kV Resita-Timisoara c1 | 114 | 3798 | 3598 | 2519
07:00 | 08:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3778 | 3578 | 2505
08:00 | 09:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 99 | 3554 | 3354 | 2348
09:00 | 10:00 | N-1 OHL 400 kV Arefu-Sibiu Sud | [RO-RO] [DIR] OHL 220 kV Resita-Timisoara c1 | 103 | 3039 | 2839 | 1987
10:00 | 11:00 | N-1 OHL 400 kV Arefu-Sibiu Sud | [RO-RO] [DIR] OHL 220 kV Resita-Timisoara c1 | 100 | 3061 | 2861 | 2003
11:00 | 12:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 100 | 3400 | 3200 | 2240
12:00 | 13:00 | N-1 OHL 220 kV Urechesti-Targu Jiu Nord | [RO-RO] [DIR] OHL 220 kV Resita-Timisoara c1 | 100 | 3391 | 3191 | 2234
13:00 | 14:00 | N-1 OHL 400 kV Arefu-Tantareni | [RO-RO] [DIR] OHL 220 kV Resita-Timisoara c1 | 100 | 3484 | 3284 | 2299
14:00 | 15:00 | N-1 OHL 220 kV Urechesti-Targu Jiu Nord | [RO-RO] [DIR] OHL 220 kV Resita-Timisoara c1 | 106 | 3368 | 3168 | 2218
15:00 | 16:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 97 | 3679 | 3479 | 2435
16:00 | 17:00 | N-1 OHL 400 kV Portile de Fier-Urechesti | [RO-RO] [DIR] OHL 220 kV Resita-Timisoara c1 | 106 | 3311 | 3111 | 2178
17:00 | 18:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3315 | 3115 | 2180
18:00 | 19:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 2471 | 2271 | 1590
19:00 | 20:00 | N-1 TIE 400 kV Resita-Pancevo c2 | [RO-RO] [DIR] OHL 220 kV Resita-Timisoara c1 | 97 | 2957 | 2757 | 1930
20:00 | 21:00 | N-1 TIE 400 kV Resita-Pancevo c2 | [RO-RO] [DIR] TRA 400/220 kV AT Urechesti | 100 | 3508 | 3308 | 2316
21:00 | 22:00 | N-1 TIE 400 kV Resita-Pancevo c2 | [RO-RO] [DIR] OHL 220 kV Resita-Timisoara c1 | 100 | 3192 | 2992 | 2094
22:00 | 23:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3059 | 2859 | 2001
23:00 | 00:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3050 | 2850 | 1995

## SRO borders-exports RAs
SUBMISSION DATE: | 11.03.2026
BUSINESS DATE: | 13.03.2026
DA CC Remedial Actions
Initial CCC
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400/220kV AT3 Arad | RO_RA_00001 | pst |  |  |  | helpful | helpful | helpful | helpful |  | helpful | notApplied | notApplied | notApplied | notApplied | helpful | helpful
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst |  |  |  | helpful | helpful | helpful | helpful |  | helpful | notApplied | notApplied | notApplied | notApplied | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00010 | topological |  |  |  | helpful | helpful | helpful | helpful |  | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Tantareni-Kozlodui 2 | RO_RA_00013 | topological |  |  |  | notApplied | notApplied | notApplied | notApplied |  | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological |  |  |  | helpful | helpful | helpful | helpful |  | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Resita-Pancevo c1 | RO_RA_00016 | topological |  |  |  | notApplied | notApplied | notApplied | notApplied |  | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
NonCostly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400 kV TINTARENI-KOZLODUI 1 | BG_RA_00001 | topological_ra | applied |  | applied
PRA 110 kV S4 | RO_RA_00003 | topological_ra | applied |  | applied |  |  |  |  | applied | [6 empty] | applied | applied | applied | applied
PRA 110 kV Dobrogea | RO_RA_00006 | topological_ra | applied | [6 empty] | applied | [6 empty] | applied | applied | applied | applied
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00010 | topological_ra | applied |  | applied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological_ra | applied |  | applied |  |  |  |  | applied | [7 empty] | applied | applied | applied
TOP_CLOSE_400kV_Tantareni _ Kozlodui_c1 | RO_RA_00103 | topological_ra | applied |  | applied
PRA 400/220kV AT3 Arad | RO_RA_00001 | pst_ra | applied |  | applied |  |  |  |  | applied | [6 empty] | applied | applied | applied | applied
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst_ra | applied |  | applied |  |  |  |  | applied | [6 empty] | applied | applied | applied | applied
PST_ARAD 400/220_3 | RO_RA_00101 | pst_ra | applied |  | applied |  |  |  |  | applied | [6 empty] | applied | applied | applied | applied
PST_URECHESTI 400/220_1 | RO_RA_00102 | pst_ra | applied |  | applied |  |  |  |  | applied | [6 empty] | applied | applied | applied | applied
PRA 110 kV S5 | RO_RA_00004 | topological_ra |  |  | applied |  |  |  |  | applied | [6 empty] | applied | applied | applied | applied
PRA 110 kV Pelicanu | RO_RA_00005 | topological_ra |  |  | applied |  |  |  |  | applied | [6 empty] | applied | applied |  | applied
PRA 110 kV Resita | RO_RA_00007 | topological_ra |  |  | applied | [11 empty] | applied |  | applied
TOP_CLOSE_400kV_Resita_Pancevo_c2 | RO_RA_00104 | topological_ra | [17 empty] | applied
NonCostly Step 5
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
Costly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
RBRAZ41 _generator | RO_RA_00111 | costly_ra |  |  |  | 112 |  |  |  | 1 | [7 empty] | 38 | 1 | 1
RBRZ241 _generator | RO_RA_00112 | costly_ra |  |  |  | 1 |  |  |  | 1 | [7 empty] | 1 | 1 | 1
RVMAR_5 _generator | RO_RA_00116 | costly_ra |  |  |  | 50 |  |  |  | 0 | [7 empty] | 50 | 50 | 50
RGODI_5 _generator | RO_RA_00117 | costly_ra |  |  |  | 114 |  |  |  | 0 | [7 empty] | 114 | 114 | 114
RTOPV_5 _generator | RO_RA_00120 | costly_ra |  |  |  | 10 |  |  |  | 0 | [7 empty] | 10 | 10 | 10
RFMEP_5 _generator | RO_RA_00121 | costly_ra |  |  |  | 14 | [11 empty] | 14 | 14 | 14
RVLCE15 _generator | RO_RA_00122 | costly_ra |  |  |  | 55 |  |  |  | 0 | [7 empty] | 55 | 55 | 55
RVALD_5 _generator | RO_RA_00123 | costly_ra |  |  |  | 15 | [11 empty] | 15 | 15 | 15
RELAR_5 _generator | RO_RA_00124 | costly_ra |  |  |  | 10 | [11 empty] | 10 | 10 | 10
RAREF_5 _generator | RO_RA_00125 | costly_ra |  |  |  | 10 |  |  |  | 10 | [7 empty] | 10 | 10 | 10
RARGS_5 _generator | RO_RA_00126 | costly_ra |  |  |  | 31 |  |  |  | 0 | [7 empty] | 31 | 31 | 31
RALBE_5 _generator | RO_RA_00127 | costly_ra |  |  |  | 30 |  |  |  | 30 | [7 empty] | 30 | 30 | 30
RCERB_5 _generator | RO_RA_00128 | costly_ra |  |  |  | 15 | [11 empty] | 15 | 15 | 15
RVLCE25 _generator | RO_RA_00129 | costly_ra |  |  |  | 12 | [11 empty] | 12 | 12 | 12
RCLNG_5 _generator | RO_RA_00130 | costly_ra |  |  |  | 90 |  |  |  | 23 | [7 empty] | 90 | 90 | 90
RBRDS25 _generator | RO_RA_00133 | costly_ra |  |  |  | 118
RSTUP_5 _generator | RO_RA_00134 | costly_ra |  |  |  | 45 |  |  |  | 0 | [7 empty] | 45 | 45 | 45
RDAIES5 _generator | RO_RA_00135 | costly_ra |  |  |  | 37 |  |  |  | 0 | [7 empty] | 37 | 37 | 37
RVILN_5 _generator | RO_RA_00136 | costly_ra |  |  |  | 46 |  |  |  | 0 | [7 empty] | 46 | 46 | 46
RRIUR15 _generator | RO_RA_00137 | costly_ra |  |  |  | 48 |  |  |  | 0 | [7 empty] | 48 | 48 | 48
RMARC_5 _generator | RO_RA_00138 | costly_ra |  |  |  | 39 |  |  |  | 0 | [7 empty] | 39 | 39 | 39
RIONE_5 _generator | RO_RA_00139 | costly_ra |  |  |  | 38 |  |  |  | 0 | [7 empty] | 38 | 38 | 38
RJIBL_5 _generator | RO_RA_00140 | costly_ra |  |  |  | 38 |  |  |  | 0 | [7 empty] | 0 | 38 | 38
RZAVI_5 _generator | RO_RA_00141 | costly_ra |  |  |  | 38 |  |  |  | 0 | [7 empty] | 38 | 38 | 38
RCHTU_5 _generator | RO_RA_00142 | costly_ra |  |  |  | 74 |  |  |  | 0 | [7 empty] | 0 | 74 | 74
RTRAI_5 _generator | RO_RA_00143 | costly_ra |  |  |  | 45 |  |  |  | 0 | [7 empty] | 45 | 45 | 45
RHGLOT5 _generator | RO_RA_00144 | costly_ra |  |  |  | 25 |  |  |  | 0 | [7 empty] | 0 | 25 | 25
RCHESJ5 _generator | RO_RA_00145 | costly_ra |  |  |  | 50 |  |  |  | 0 | [7 empty] | 0 | 0 | 50
RCHEAC5 _generator | RO_RA_00146 | costly_ra |  |  |  | 38 |  |  |  | 0 | [7 empty] | 0 | 0 | 38
RCHEST5 _generator | RO_RA_00147 | costly_ra |  |  |  | 26 |  |  |  | 0 | [7 empty] | 0 | 0 | 26
RCHEIO5 _generator | RO_RA_00148 | costly_ra |  |  |  | 53 |  |  |  | 0 | [7 empty] | 0 | 0 | 53
RCHDO_5 _generator | RO_RA_00149 | costly_ra |  |  |  | 53 |  |  |  | 0 | [7 empty] | 0 | 49 | 53
RFRUN_5 _generator | RO_RA_00150 | costly_ra |  |  |  | 53 |  |  |  | 0 | [7 empty] | 0 | 0 | 53
RCIZBI5 _generator | RO_RA_00151 | costly_ra |  |  |  | 53 |  |  |  | 0 | [7 empty] | 0 | 0 | 53
RRUSA_5 _generator | RO_RA_00152 | costly_ra |  |  |  | 53 |  |  |  | 0 | [7 empty] | 0 | 0 | 53
RHCORN5 _generator | RO_RA_00153 | costly_ra |  |  |  | 0 |  |  |  | 0 | [7 empty] | 0 | 59 | 59
RFAGA_5 _generator | RO_RA_00154 | costly_ra |  |  |  | 0 |  |  |  | 20 | [7 empty] | 0 | 20 | 20
RUCEA25 _generator | RO_RA_00155 | costly_ra |  |  |  | 0 |  |  |  | 32 | [7 empty] | 0 | 32 | 32
RUCEA15 _generator | RO_RA_00156 | costly_ra |  |  |  | 0 |  |  |  | 49 | [7 empty] | 0 | 49 | 49
RCIRT_5 _generator | RO_RA_00157 | costly_ra |  |  |  | 0 |  |  |  | 54 | [7 empty] | 0 | 0 | 54
RSTEJ_5 _generator | RO_RA_00158 | costly_ra |  |  |  | 0
RSTEJ25 _generator | RO_RA_00159 | costly_ra |  |  |  | 0 |  |  |  | 32 | [7 empty] | 0 | 32 | 32
RVADU_5 _generator | RO_RA_00160 | costly_ra |  |  |  | 0 |  |  |  | 67 | [7 empty] | 0 | 67 | 67
RIZVO_5 _generator | RO_RA_00161 | costly_ra |  |  |  | 0 |  |  |  | 9 | [7 empty] | 0 | 9 | 9
RDUMB_5 _generator | RO_RA_00162 | costly_ra |  |  |  | 0 |  |  |  | 23 | [7 empty] | 0 | 23 | 23
RCOST_5 _generator | RO_RA_00163 | costly_ra |  |  |  | 0 |  |  |  | 24 | [7 empty] | 0 | 24 | 24
RBUHU_5 _generator | RO_RA_00164 | costly_ra |  |  |  | 0 |  |  |  | 13 | [7 empty] | 13 | 13 | 0
RRACO_5 _generator | RO_RA_00165 | costly_ra |  |  |  | 0 |  |  |  | 23 | [7 empty] | 23 | 23 | 0
RGARL_5 _generator | RO_RA_00166 | costly_ra |  |  |  | 0 |  |  |  | 23 | [7 empty] | 23 | 23 | 0
RLILI_5 _generator | RO_RA_00167 | costly_ra |  |  |  | 0 |  |  |  | 23 | [7 empty] | 23 | 23 | 0
RBACS_5 _generator | RO_RA_00168 | costly_ra |  |  |  | 0 |  |  |  | 98 | [7 empty] | 20 | 98 | 0
RFARA_5 _generator | RO_RA_00169 | costly_ra |  |  |  | 0 |  |  |  | 30 | [7 empty] | 30 | 30 | 0
RSISC_5 _generator | RO_RA_00170 | costly_ra |  |  |  | 0 |  |  |  | 44 | [7 empty] | 44 | 44 | 0
RMARA_5 _generator | RO_RA_00171 | costly_ra |  |  |  | 0 |  |  |  | 46 | [7 empty] | 46 | 46 | 0
RTECU_5 _generator | RO_RA_00172 | costly_ra |  |  |  | 0 |  |  |  | 34 | [7 empty] | 34 | 34 | 0
RMARI22 _generator | RO_RA_00173 | costly_ra |  |  |  | 217 |  |  |  | 217
RSUGA22 _generator | RO_RA_00174 | costly_ra |  |  |  | 36 |  |  |  | 150
RGILC22 _generator | RO_RA_00175 | costly_ra |  |  |  | 0 |  |  |  | 150 | [8 empty] | 136
RSEBE_5 _generator | RO_RA_00176 | costly_ra |  |  |  | 0 |  |  |  | 55 | [7 empty] | 0 | 0 | 20
RIAZUA5 _generator | RO_RA_00177 | costly_ra |  |  |  | 71 |  |  |  | 71 | [7 empty] | 71 | 71 | 71
RREME_5 _generator | RO_RA_00178 | costly_ra |  |  |  | 96 |  |  |  | 96
RMUNT_5 _generator | RO_RA_00179 | costly_ra |  |  |  | 58 |  |  |  | 58
RRETE22 _generator | RO_RA_00180 | costly_ra |  |  |  | 0 | [12 empty] | 0 | 0
RRETE_5 _generator | RO_RA_00181 | costly_ra |  |  |  | 0 |  |  |  | 20 | [8 empty] | 0 | 0
RCIRNA5 _generator | RO_RA_00182 | costly_ra |  |  |  | 0 |  |  |  | 29 | [8 empty] | 0 | 0
RCIRNB5 _generator | RO_RA_00183 | costly_ra |  |  |  | 0 |  |  |  | 27 | [8 empty] | 0 | 0
RHATE_5 _generator | RO_RA_00184 | costly_ra |  |  |  | 0 |  |  |  | 52 | [8 empty] | 0 | 0
RBRAZ22 _generator | RO_RA_00113 | costly_ra | [7 empty] | 1 | [8 empty] | 1 | 99

## SRO borders-imports RAs
SUBMISSION DATE: | 11.03.2026
BUSINESS DATE: | 13.03.2026
DA CC Remedial Actions
Initial CCC
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400 kV TINTARENI-KOZLODUI 1 | BG_RA_00001 | topological | helpful | helpful | helpful | helpful | helpful | helpful | helpful | [13 empty] | helpful
PRA 400/220kV AT3 Arad | RO_RA_00001 | pst | notApplied | notApplied | notApplied | helpful | helpful | helpful | helpful | helpful | [8 empty] | notApplied |  |  |  | helpful | helpful | helpful | helpful
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst | notApplied | notApplied | notApplied | helpful | helpful | helpful | helpful | helpful | [8 empty] | notApplied |  |  |  | helpful | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00010 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | [8 empty] | notApplied |  |  |  | notApplied | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 2 | RO_RA_00013 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | [8 empty] | notApplied |  |  |  | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | [8 empty] | helpful |  |  |  | helpful | helpful | helpful | helpful
PRA 400 kV Resita-Pancevo c1 | RO_RA_00016 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | [8 empty] | notApplied |  |  |  | notApplied | notApplied | notApplied | notApplied
NonCostly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 110 kV S5 | RO_RA_00004 | topological_ra | [10 empty] | applied |  |  | applied | [5 empty] | applied
PRA 110 kV Pelicanu | RO_RA_00005 | topological_ra | [10 empty] | applied |  |  | applied | [5 empty] | applied
PRA 400/220kV AT3 Arad | RO_RA_00001 | pst_ra | [10 empty] | applied |  |  | applied | [5 empty] | applied
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst_ra | [10 empty] | applied |  |  | applied | [5 empty] | applied
PST_ARAD 400/220_3 | RO_RA_00101 | pst_ra | [10 empty] | applied |  |  | applied | [5 empty] | applied
PST_URECHESTI 400/220_1 | RO_RA_00102 | pst_ra | [10 empty] | applied |  |  | applied | [5 empty] | applied
PRA 110 kV S4 | RO_RA_00003 | topological_ra | [13 empty] | applied
PRA 110 kV Dobrogea | RO_RA_00006 | topological_ra | [19 empty] | applied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological_ra | [19 empty] | applied
TOP_CLOSE_400kV_Resita_Pancevo_c2 | RO_RA_00104 | topological_ra | [19 empty] | applied
NonCostly Step 5
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological_ra | [8 empty] | applied |  |  | applied
PRA 400/220kV AT3 Arad | RO_RA_00001 | pst_ra | [8 empty] | applied |  |  | applied | [7 empty] | applied | applied | applied
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst_ra | [8 empty] | applied |  |  | applied | [7 empty] | applied | applied | applied
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00010 | topological_ra | [19 empty] | applied
Costly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
RVMAR_5 _generator | RO_RA_00116 | costly_ra | [5 empty] | 0 |  |  | 0 | [10 empty] | 50 | 0 | 0 | 50
RGODI_5 _generator | RO_RA_00117 | costly_ra | [5 empty] | 0 |  |  | 0 | [10 empty] | 114 | 0 | 0 | 114
RTOPV_5 _generator | RO_RA_00120 | costly_ra | [5 empty] | 0 |  |  | 0 | [10 empty] | 0 | 0 | 0 | 0
RFMEP_5 _generator | RO_RA_00121 | costly_ra | [5 empty] | 0 | [13 empty] | 0 | 0 | 0 | 0
RVLCE15 _generator | RO_RA_00122 | costly_ra | [5 empty] | 0 |  |  | 0 | [10 empty] | 0 | 0 | 0 | 0
RVALD_5 _generator | RO_RA_00123 | costly_ra | [5 empty] | 0 | [13 empty] | 0 | 0 | 0 | 0
RELAR_5 _generator | RO_RA_00124 | costly_ra | [5 empty] | 0 | [13 empty] | 0 | 0 | 0 | 0
RAREF_5 _generator | RO_RA_00125 | costly_ra | [5 empty] | 0 |  |  | 10 | [10 empty] | 0 | 0 | 0 | 0
RARGS_5 _generator | RO_RA_00126 | costly_ra | [5 empty] | 0 |  |  | 0 | [10 empty] | 0 | 0 | 0 | 0
RALBE_5 _generator | RO_RA_00127 | costly_ra | [5 empty] | 0 |  |  | 30 | [10 empty] | 0 | 0 | 0 | 0
RCERB_5 _generator | RO_RA_00128 | costly_ra | [5 empty] | 0 |  |  | 15 | [10 empty] | 0 | 0 | 0 | 0
RVLCE25 _generator | RO_RA_00129 | costly_ra | [5 empty] | 0 | [13 empty] | 0 | 0 | 0 | 0
RCLNG_5 _generator | RO_RA_00130 | costly_ra | [5 empty] | 0 |  |  | 90 | [10 empty] | 0 | 0 | 0 | 0
RSTUP_5 _generator | RO_RA_00134 | costly_ra | [5 empty] | 0 |  |  | 0 | [10 empty] | 0 | 0 | 0 | 0
RDAIES5 _generator | RO_RA_00135 | costly_ra | [5 empty] | 0 |  |  | 0 | [10 empty] | 0 | 0 | 0 | 0
RVILN_5 _generator | RO_RA_00136 | costly_ra | [5 empty] | 0 |  |  | 0 | [10 empty] | 0 | 0 | 0 | 0
RRIUR15 _generator | RO_RA_00137 | costly_ra | [5 empty] | 0 |  |  | 28 | [10 empty] | 0 | 0 | 0 | 0
RMARC_5 _generator | RO_RA_00138 | costly_ra | [5 empty] | 0 |  |  | 0 | [10 empty] | 0 | 0 | 0 | 0
RIONE_5 _generator | RO_RA_00139 | costly_ra | [5 empty] | 0 |  |  | 0 | [10 empty] | 0 | 0 | 0 | 0
RJIBL_5 _generator | RO_RA_00140 | costly_ra | [5 empty] | 0 |  |  | 0 | [10 empty] | 0 | 0 | 0 | 0
RZAVI_5 _generator | RO_RA_00141 | costly_ra | [5 empty] | 0 |  |  | 0 | [10 empty] | 0 | 0 | 0 | 0
RCHTU_5 _generator | RO_RA_00142 | costly_ra | [5 empty] | 0 |  |  | 0 | [10 empty] | 0 | 0 | 0 | 0
RTRAI_5 _generator | RO_RA_00143 | costly_ra | [5 empty] | 0 |  |  | 0 | [10 empty] | 0 | 0 | 0 | 0
RHGLOT5 _generator | RO_RA_00144 | costly_ra | [5 empty] | 0 |  |  | 0 | [10 empty] | 0 | 0 | 0 | 0
RCHESJ5 _generator | RO_RA_00145 | costly_ra | [5 empty] | 0 |  |  | 0 | [10 empty] | 0 | 0 | 0 | 0
RCHEAC5 _generator | RO_RA_00146 | costly_ra | [5 empty] | 0 |  |  | 0 | [10 empty] | 0 | 0 | 0 | 0
RCHEST5 _generator | RO_RA_00147 | costly_ra | [5 empty] | 0 |  |  | 0 | [10 empty] | 0 | 0 | 0 | 0
RCHEIO5 _generator | RO_RA_00148 | costly_ra | [5 empty] | 0 |  |  | 0 | [10 empty] | 0 | 0 | 0 | 0
RCHDO_5 _generator | RO_RA_00149 | costly_ra | [5 empty] | 0 |  |  | 0 | [10 empty] | 0 | 0 | 0 | 0
RFRUN_5 _generator | RO_RA_00150 | costly_ra | [5 empty] | 0 |  |  | 0 | [10 empty] | 0 | 0 | 0 | 0
RCIZBI5 _generator | RO_RA_00151 | costly_ra | [5 empty] | 0 |  |  | 0 | [10 empty] | 0 | 0 | 0 | 0
RRUSA_5 _generator | RO_RA_00152 | costly_ra | [5 empty] | 0 |  |  | 0 | [10 empty] | 0 | 0 | 0 | 0
RHCORN5 _generator | RO_RA_00153 | costly_ra | [5 empty] | 0 |  |  | 0 | [10 empty] | 0 | 0 | 0 | 0
RFAGA_5 _generator | RO_RA_00154 | costly_ra | [5 empty] | 20 |  |  | 0 | [10 empty] | 0 | 0 | 0 | 0
RUCEA25 _generator | RO_RA_00155 | costly_ra | [5 empty] | 0 |  |  | 0 | [10 empty] | 0 | 0 | 0 | 0
RUCEA15 _generator | RO_RA_00156 | costly_ra | [5 empty] | 0 |  |  | 0 | [10 empty] | 0 | 0 | 0 | 0
RCIRT_5 _generator | RO_RA_00157 | costly_ra | [5 empty] | 0 |  |  | 0 | [10 empty] | 0 | 0 | 0 | 0
RSTEJ_5 _generator | RO_RA_00158 | costly_ra | [5 empty] | 61 | [13 empty] | 0 | 0 | 0
RSTEJ25 _generator | RO_RA_00159 | costly_ra | [5 empty] | 0 |  |  | 0 | [10 empty] | 0 | 0 | 0 | 0
RVADU_5 _generator | RO_RA_00160 | costly_ra | [5 empty] | 0 |  |  | 0 | [10 empty] | 0 | 0 | 0 | 0
RIZVO_5 _generator | RO_RA_00161 | costly_ra | [5 empty] | 0 |  |  | 0 | [10 empty] | 0 | 0 | 0 | 0
RDUMB_5 _generator | RO_RA_00162 | costly_ra | [5 empty] | 0 |  |  | 0 | [10 empty] | 0 | 0 | 0 | 0
RCOST_5 _generator | RO_RA_00163 | costly_ra | [5 empty] | 0 |  |  | 0 | [10 empty] | 0 | 0 | 0 | 0
RBUHU_5 _generator | RO_RA_00164 | costly_ra | [5 empty] | 0 |  |  | 0 | [10 empty] | 0 | 0 | 0 | 0
RRACO_5 _generator | RO_RA_00165 | costly_ra | [5 empty] | 0 |  |  | 0 | [10 empty] | 0 | 0 | 0 | 0
RGARL_5 _generator | RO_RA_00166 | costly_ra | [5 empty] | 0 |  |  | 0 | [10 empty] | 0 | 0 | 0 | 0
RLILI_5 _generator | RO_RA_00167 | costly_ra | [5 empty] | 0 |  |  | 0 | [10 empty] | 0 | 0 | 0 | 0
RBACS_5 _generator | RO_RA_00168 | costly_ra | [5 empty] | 0 |  |  | 0 | [10 empty] | 0 | 0 | 0 | 0
RFARA_5 _generator | RO_RA_00169 | costly_ra | [5 empty] | 0 |  |  | 0 | [10 empty] | 0 | 0 | 0 | 0
RSISC_5 _generator | RO_RA_00170 | costly_ra | [5 empty] | 0 |  |  | 0 | [10 empty] | 0 | 0 | 0 | 0
RMARA_5 _generator | RO_RA_00171 | costly_ra | [5 empty] | 0 |  |  | 0 | [10 empty] | 0 | 0 | 0 | 0
RTECU_5 _generator | RO_RA_00172 | costly_ra | [5 empty] | 0 |  |  | 0 | [10 empty] | 0 | 0 | 0 | 0
RSUGA22 _generator | RO_RA_00174 | costly_ra | [5 empty] | 150 | [13 empty] | 150 | 99
RGILC22 _generator | RO_RA_00175 | costly_ra | [5 empty] | 150 | [13 empty] | 95
RSEBE_5 _generator | RO_RA_00176 | costly_ra | [5 empty] | 55 |  |  | 6 | [10 empty] | 55 | 0 | 0 | 14
RRETE22 _generator | RO_RA_00180 | costly_ra | [5 empty] | 222 |  |  | 222 | [10 empty] | 222 | 222 | 222 | 222
RRETE_5 _generator | RO_RA_00181 | costly_ra | [5 empty] | 0 |  |  | 20 | [10 empty] | 20 | 20 | 0 | 20
RCIRNA5 _generator | RO_RA_00182 | costly_ra | [5 empty] | 29 |  |  | 29 | [10 empty] | 29 | 29 | 0 | 29
RCIRNB5 _generator | RO_RA_00183 | costly_ra | [5 empty] | 27 |  |  | 27 | [10 empty] | 27 | 27 | 27 | 27
RHATE_5 _generator | RO_RA_00184 | costly_ra | [5 empty] | 52 |  |  | 52 | [10 empty] | 52 | 52 | 20 | 52
RROVI31 _generator | RO_RA_00105 | costly_ra | [19 empty] | 310 | 1 | 1
RTURC11 _generator | RO_RA_00107 | costly_ra | [19 empty] | 1 | 1 | 1
RTURC51 _generator | RO_RA_00108 | costly_ra | [19 empty] | 1 | 1 | 1
RBRAZ41 _generator | RO_RA_00111 | costly_ra | [19 empty] | 1 | 1 | 1
RBRZ241 _generator | RO_RA_00112 | costly_ra | [19 empty] | 1 | 1 | 1
RBRAZ22 _generator | RO_RA_00113 | costly_ra | [19 empty] | 1 | 1 | 1
RPDF222 _generator | RO_RA_00114 | costly_ra | [19 empty] | 580 | 463 | 515 | 196
RPDF212 _generator | RO_RA_00115 | costly_ra | [19 empty] | 83 | 0 | 0
RLOTR22 _generator | RO_RA_00131 | costly_ra | [19 empty] | 0 | 0 | 0
RLOT212 _generator | RO_RA_00132 | costly_ra | [19 empty] | 0 | 0 | 0
RBRDS25 _generator | RO_RA_00133 | costly_ra | [19 empty] | 0 | 0 | 0
RMARI22 _generator | RO_RA_00173 | costly_ra | [19 empty] | 0 | 0 | 0
RREME_5 _generator | RO_RA_00178 | costly_ra | [19 empty] | 0 | 0 | 0
RMUNT_5 _generator | RO_RA_00179 | costly_ra | [19 empty] | 0 | 0 | 0