## SRO borders-exports
SUBMISSION DATE: | 14.03.2026
BUSINESS DATE: | 16.03.2026
DA CC Remedial Actions
From Hour (CET) | To Hour (CET) | CO | CNE | Loading (%) | TTC South Romania | NTC South Romania | NTC RO-BG
00:00 | 01:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3307 | 3107 | 2175
01:00 | 02:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3454 | 3254 | 2278
02:00 | 03:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3637 | 3437 | 2406
03:00 | 04:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3533 | 3333 | 2333
04:00 | 05:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3487 | 3287 | 2301
05:00 | 06:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 97 | 3238 | 3038 | 2127
06:00 | 07:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 99 | 2879 | 2679 | 1875
07:00 | 08:00 | Fallback - Initial CC | Fallback - Initial CC | Fallback - Initial CC | Fallback - Initial CC | Fallback - Initial CC | 1900
08:00 | 09:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RO] [OPP] TRA 400/220 kV AT1 Portile de Fier | 99 | 449 | 249 | 174
09:00 | 10:00 | N-1 TRA 400/220 kV AT2 Portile de Fier | [RO-RO] [OPP] TRA 400/220 kV AT1 Portile de Fier | 99 | 695 | 495 | 346
10:00 | 11:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RO] [OPP] TRA 400/220 kV AT1 Portile de Fier | 99 | 872 | 672 | 470
11:00 | 12:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RO] [OPP] TRA 400/220 kV AT1 Portile de Fier | 99 | 649 | 449 | 314
12:00 | 13:00 | N-1 TRA 400/220 kV AT2 Portile de Fier | [RO-RO] [OPP] TRA 400/220 kV AT1 Portile de Fier | 100 | 346 | 146 | 102
13:00 | 14:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RO] [OPP] TRA 400/220 kV AT1 Portile de Fier | 99 | 15 | -185 | -130
14:00 | 15:00 | Fallback - Initial CC | Fallback - Initial CC | Fallback - Initial CC | Fallback - Initial CC | Fallback - Initial CC | 1900
15:00 | 16:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 2957 | 2757 | 1930
16:00 | 17:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 2536 | 2336 | 1635
17:00 | 18:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 2799 | 2599 | 1819
18:00 | 19:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 99 | 2388 | 2188 | 1532
19:00 | 20:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 2614 | 2414 | 1690
20:00 | 21:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 99 | 2654 | 2454 | 1718
21:00 | 22:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 2956 | 2756 | 1929
22:00 | 23:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3216 | 3016 | 2111
23:00 | 00:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3318 | 3118 | 2183

## SRO borders-imports
SUBMISSION DATE: | 14.03.2026
BUSINESS DATE: | 16.03.2026
DA CC Remedial Actions
From Hour (CET) | To Hour (CET) | CO | CNE | Loading (%) | TTC South Romania | NTC South Romania | NTC BG-RO
00:00 | 01:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3422 | 3222 | 2255
01:00 | 02:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3614 | 3414 | 2390
02:00 | 03:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 95 | 3827 | 3627 | 2539
03:00 | 04:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 95 | 3876 | 3676 | 2573
04:00 | 05:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 94 | 3862 | 3662 | 2563
05:00 | 06:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3869 | 3669 | 2568
06:00 | 07:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3676 | 3476 | 2433
07:00 | 08:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3243 | 3043 | 2130
08:00 | 09:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 96 | 3405 | 3205 | 2244
09:00 | 10:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 100 | 3155 | 2955 | 2068
10:00 | 11:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 100 | 3044 | 2844 | 1991
11:00 | 12:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 100 | 2844 | 2644 | 1851
12:00 | 13:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 100 | 2656 | 2456 | 1719
13:00 | 14:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 100 | 2598 | 2398 | 1679
14:00 | 15:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 100 | 2612 | 2412 | 1688
15:00 | 16:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 96 | 3199 | 2999 | 2099
16:00 | 17:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 96 | 3680 | 3480 | 2436
17:00 | 18:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 96 | 3805 | 3605 | 2524
18:00 | 19:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3571 | 3371 | 2360
19:00 | 20:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3613 | 3413 | 2389
20:00 | 21:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3307 | 3107 | 2175
21:00 | 22:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 3343 | 3143 | 2200
22:00 | 23:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3244 | 3044 | 2131
23:00 | 00:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3215 | 3015 | 2110

## SRO borders-exports RAs
SUBMISSION DATE: | 14.03.2026
BUSINESS DATE: | 16.03.2026
DA CC Remedial Actions
Initial CCC
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400/220kV AT3 Arad | RO_RA_00001 | pst | [9 empty] | helpful | helpful | helpful |  | helpful | [9 empty] | helpful
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst | [9 empty] | helpful | helpful | helpful |  | helpful | [9 empty] | helpful
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00010 | topological | [9 empty] | notApplied | notApplied | notApplied |  | notApplied | [9 empty] | helpful
PRA 400 kV Tantareni-Kozlodui 2 | RO_RA_00013 | topological | [9 empty] | notApplied | notApplied | notApplied |  | notApplied | [9 empty] | notApplied
PRA 400 kV Resita-Pancevo c1 | RO_RA_00016 | topological | [9 empty] | notApplied | notApplied | notApplied |  | notApplied | [9 empty] | notApplied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00015 | topological | [23 empty] | helpful
NonCostly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400 kV TINTARENI-KOZLODUI 1 | BG_RA_00001 | topological_ra | applied | applied | applied | applied | applied | applied | applied | [13 empty] | applied | applied | applied
PRA 110 kV S4 | RO_RA_00003 | topological_ra | applied | applied | applied | applied | applied | applied | applied | [14 empty] | applied | applied
PRA 110 kV Dobrogea | RO_RA_00006 | topological_ra | applied | applied | applied | applied | applied | applied | applied | [13 empty] | applied
PRA 110 kV Resita | RO_RA_00007 | topological_ra | applied |  | applied |  | applied | applied | [14 empty] | applied | applied | applied
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00010 | topological_ra | applied | applied | applied | applied | applied | applied | applied | [13 empty] | applied | applied | applied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological_ra | applied | applied | applied | applied | applied | applied | applied
TOP_CLOSE_400kV_Tantareni _ Kozlodui_c1 | RO_RA_00103 | topological_ra | applied | applied | applied | applied | applied | applied | applied | [13 empty] | applied | applied | applied
PRA 400/220kV AT3 Arad | RO_RA_00001 | pst_ra | applied | applied | applied | applied | applied | applied | applied | [13 empty] | applied | applied | applied
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst_ra | applied | applied | applied | applied | applied | applied | applied | [13 empty] | applied | applied | applied
PST_ARAD 400/220_3 | RO_RA_00101 | pst_ra | applied | applied | applied | applied | applied | applied | applied | [13 empty] | applied | applied | applied
PST_URECHESTI 400/220_1 | RO_RA_00102 | pst_ra | applied | applied | applied | applied | applied | applied | applied | [13 empty] | applied | applied | applied
PRA 110 kV Pelicanu | RO_RA_00005 | topological_ra | [6 empty] | applied | [14 empty] | applied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00015 | topological_ra | [20 empty] | applied | applied | applied
TOP_CLOSE_400kV_Resita_Pancevo_c2 | RO_RA_00104 | topological_ra | [20 empty] | applied | applied | applied
PRA 110 kV S5 | RO_RA_00004 | topological_ra | [21 empty] | applied
NonCostly Step 5
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
Costly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
RBRZ241 _generator | RO_RA_00112 | costly_ra | 12 | 1 | 1 | 1 | 1 | [10 empty] | 1 | 1 | 1 |  |  |  | 1 | 1 | 1
RVMAR_5 _generator | RO_RA_00116 | costly_ra | 50 | 50 | 50 | 0 | 50 | [10 empty] | 50 | 0 | 50 |  |  |  | 50 | 50 | 0
RGODI_5 _generator | RO_RA_00117 | costly_ra | 114 | 114 | 114 | 0 | 114 | [10 empty] | 114 | 0 | 114 |  |  |  | 114 | 114 | 0
RTOPV_5 _generator | RO_RA_00120 | costly_ra | 10 | 10 | 0 | 0 | 10 | [10 empty] | 10 | 0 | 0 |  |  |  | 10 | 10 | 10
RFMEP_5 _generator | RO_RA_00121 | costly_ra | 14 | 14 | 0 | 0 | 14 | [10 empty] | 14 | 0 | 0 |  |  |  | 14 | 14 | 14
RVLCE15 _generator | RO_RA_00122 | costly_ra | 55 | 55 | 0 | 47 | 55 | [10 empty] | 55 | 0 | 46 |  |  |  | 55 | 55 | 55
RVALD_5 _generator | RO_RA_00123 | costly_ra | 15 | 15 | 0 | 15 | 15 | [10 empty] | 15 | 0 | 15 |  |  |  | 15 | 15 | 15
RELAR_5 _generator | RO_RA_00124 | costly_ra | 10 | 10 | 0 | 10 | 10 | [10 empty] | 10 | 0 | 10 |  |  |  | 10 | 10 | 10
RAREF_5 _generator | RO_RA_00125 | costly_ra | 10 | 10 | 10 | 10 | 10 | [10 empty] | 10 | 0 | 10 |  |  |  | 10 | 10 | 10
RARGS_5 _generator | RO_RA_00126 | costly_ra | 31 | 31 | 0 | 31 | 31 | [10 empty] | 31 | 0 | 31 |  |  |  | 31 | 31 | 31
RALBE_5 _generator | RO_RA_00127 | costly_ra | 30 | 30 | 30 | 30 | 30 | [10 empty] | 30 | 0 | 30 |  |  |  | 30 | 30 | 30
RCERB_5 _generator | RO_RA_00128 | costly_ra | 15 | 15 | 15 | 15 | 15 | [10 empty] | 15 | 0 | 15 |  |  |  | 15 | 15 | 15
RVLCE25 _generator | RO_RA_00129 | costly_ra | 12 | 12 | 0 | 0 | 12 | [10 empty] | 12 | 0 | 12 |  |  |  | 12 | 12 | 12
RCLNG_5 _generator | RO_RA_00130 | costly_ra | 90 | 90 | 0 | 90 | 90 | [10 empty] | 90 | 0 | 90 |  |  |  | 90 | 90 | 90
RBRDS25 _generator | RO_RA_00133 | costly_ra | 118 | 118 | 118 | 118 | 118
RSTUP_5 _generator | RO_RA_00134 | costly_ra | 45 | 45 | 45 | 45 | 45 | [11 empty] | 0 | 45 |  |  |  | 45 | 45 | 45
RDAIES5 _generator | RO_RA_00135 | costly_ra | 37 | 37 |  | 37 | 37 | [11 empty] | 0 | 37 |  |  |  | 37 | 37 | 37
RVILN_5 _generator | RO_RA_00136 | costly_ra | 46 | 46 |  | 46 | 46 | [11 empty] | 0 | 46 |  |  |  | 46 | 46 | 46
RRIUR15 _generator | RO_RA_00137 | costly_ra | 48 | 48 | 48 | 48 | 48 | [11 empty] | 0 | 48 |  |  |  | 48 | 48 | 48
RMARC_5 _generator | RO_RA_00138 | costly_ra | 39 | 39 | 39 | 39 | 39 | [11 empty] | 0 | 39 |  |  |  | 39 | 39 | 39
RIONE_5 _generator | RO_RA_00139 | costly_ra | 38 | 38 | 38 | 38 | 38 | [11 empty] | 0 | 38 |  |  |  | 38 | 38 | 38
RJIBL_5 _generator | RO_RA_00140 | costly_ra | 38 | 38 |  | 38 | 38 | [11 empty] | 0 | 38 |  |  |  | 38 | 38 | 38
RZAVI_5 _generator | RO_RA_00141 | costly_ra | 38 | 38 | 29 | 38 | 38 | [11 empty] | 0 | 38 |  |  |  | 38 | 38 | 38
RCHTU_5 _generator | RO_RA_00142 | costly_ra | 74 | 74 |  | 74 | 74 | [11 empty] | 0 | 74 |  |  |  | 74 | 74 | 74
RTRAI_5 _generator | RO_RA_00143 | costly_ra | 45 | 45 |  | 45 | 45 | [11 empty] | 0 | 45 |  |  |  | 45 | 45 | 45
RHGLOT5 _generator | RO_RA_00144 | costly_ra | 25 | 25 |  | 25 | 25 | [11 empty] | 0 | 25 |  |  |  | 25 | 25 | 25
RCHESJ5 _generator | RO_RA_00145 | costly_ra | 50 | 50 | 50 | 0 | 50 | [10 empty] | 0 | 0 | 50 |  |  |  | 50 | 50 | 0
RCHEAC5 _generator | RO_RA_00146 | costly_ra | 0 | 0 | 38 | 0 | 0 | [10 empty] | 0 | 0 | 38 |  |  |  | 38 | 38 | 0
RCHEST5 _generator | RO_RA_00147 | costly_ra | 0 | 0 | 26 | 0 | 0 | [10 empty] | 0 | 0 | 26 |  |  |  | 26 | 26 | 0
RCHEIO5 _generator | RO_RA_00148 | costly_ra | 0 | 0 | 53 | 0 | 0 | [10 empty] | 0 | 0 | 53 |  |  |  | 53 | 53 | 0
RCHDO_5 _generator | RO_RA_00149 | costly_ra | 0 | 0 | 53 | 0 | 0 | [10 empty] | 0 | 0 | 53 |  |  |  | 53 | 53 | 0
RFRUN_5 _generator | RO_RA_00150 | costly_ra | 0 | 0 | 53 | 0 | 0 | [10 empty] | 0 | 0 | 53 |  |  |  | 53 | 53 | 0
RCIZBI5 _generator | RO_RA_00151 | costly_ra | 0 | 0 | 53 | 0 | 0 | [10 empty] | 0 | 0 | 53 |  |  |  | 53 | 53 | 0
RRUSA_5 _generator | RO_RA_00152 | costly_ra | 0 | 0 | 53 | 0 | 0 | [10 empty] | 0 | 0 | 53 |  |  |  | 53 | 53 | 0
RSTEJ_5 _generator | RO_RA_00158 | costly_ra | 0 | 0 | 0 |  | 0 | [10 empty] | 0 |  | 0 |  |  |  | 0 | 0
RVADU_5 _generator | RO_RA_00160 | costly_ra | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 67 | 0 |  |  |  | 0 | 0 | 67
RIZVO_5 _generator | RO_RA_00161 | costly_ra | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 9 | 0 |  |  |  | 0 | 0 | 9
RDUMB_5 _generator | RO_RA_00162 | costly_ra | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 23 | 0 |  |  |  | 0 | 0 | 23
RCOST_5 _generator | RO_RA_00163 | costly_ra | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 24 | 0 |  |  |  | 0 | 0 | 24
RBUHU_5 _generator | RO_RA_00164 | costly_ra | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 13 | 0 |  |  |  | 0 | 0 | 13
RRACO_5 _generator | RO_RA_00165 | costly_ra | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 23 | 0 |  |  |  | 0 | 0 | 23
RGARL_5 _generator | RO_RA_00166 | costly_ra | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 23 | 0 |  |  |  | 0 | 0 | 23
RLILI_5 _generator | RO_RA_00167 | costly_ra | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 23 | 0 |  |  |  | 0 | 0 | 23
RBACS_5 _generator | RO_RA_00168 | costly_ra | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 98 | 0 |  |  |  | 0 | 0 | 98
RFARA_5 _generator | RO_RA_00169 | costly_ra | 0 | 0 | 0 | 0 | 0 | [11 empty] | 30 |  |  |  |  | 0 | 0 | 30
RSISC_5 _generator | RO_RA_00170 | costly_ra | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0 |  |  |  | 0 | 0 | 44
RMARA_5 _generator | RO_RA_00171 | costly_ra | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0 |  |  |  | 0 | 0 | 46
RTECU_5 _generator | RO_RA_00172 | costly_ra | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0 |  |  |  | 0 | 0 | 34
RMARI22 _generator | RO_RA_00173 | costly_ra | 57 | [14 empty] | 217 | 217 | [5 empty] | 217 | 217
RSEBE_5 _generator | RO_RA_00176 | costly_ra | 0 | 0 | 55 | 55 | 0 | [10 empty] | 0 | 55 | 55 |  |  |  | 0 | 0 | 55
RIAZUA5 _generator | RO_RA_00177 | costly_ra | 71 | 71 | 15 | 71 | 71 | [10 empty] | 71 | 71 |  |  |  |  | 71 | 71 | 71
RRETE22 _generator | RO_RA_00180 | costly_ra | 0 | 0 |  | 0 | 0 | [11 empty] | 222 | 94
RRETE_5 _generator | RO_RA_00181 | costly_ra | 0 | 0 | 20 | 0 | 0 | [11 empty] | 20 | [6 empty] | 20
RCIRNA5 _generator | RO_RA_00182 | costly_ra | 0 | 0 | 29 | 25 | 0 | [11 empty] | 29 | [6 empty] | 29
RCIRNB5 _generator | RO_RA_00183 | costly_ra | 0 | 0 | 27 | 27 | 0 | [11 empty] | 27 | [6 empty] | 27
RHATE_5 _generator | RO_RA_00184 | costly_ra | 0 | 0 | 52 | 0 | 0 | [11 empty] | 52 | [6 empty] | 52
RBRAZ41 _generator | RO_RA_00111 | costly_ra |  | 105 | 1 | 1 | 38 | [10 empty] | 1 | 1 | 1 |  |  |  | 273 | 1 | 174
RSUGA22 _generator | RO_RA_00174 | costly_ra |  | 36 | 150 | 150 | 125 | [10 empty] | 43 | 150 | 150 |  |  |  | 0 | 103
RBRAZ22 _generator | RO_RA_00113 | costly_ra |  |  | 1 | 1 | [11 empty] | 120 | 1 | 1 |  |  |  |  | 218 | 1
RGILC22 _generator | RO_RA_00175 | costly_ra |  |  | 150 | 150 | [11 empty] | 150 | 150 | 150 | [5 empty] | 150
RFAGA_5 _generator | RO_RA_00154 | costly_ra |  |  |  | 20 | [11 empty] | 0 | 0 | 0 |  |  |  | 0 | 0 | 20
RUCEA25 _generator | RO_RA_00155 | costly_ra |  |  |  | 32 | [11 empty] | 0 | 0 | 0 |  |  |  | 0 | 0 | 32
RUCEA15 _generator | RO_RA_00156 | costly_ra |  |  |  | 49 | [11 empty] | 0 | 15 | 0 |  |  |  | 0 | 0 | 49
RCIRT_5 _generator | RO_RA_00157 | costly_ra |  |  |  | 54 | [11 empty] | 0 | 54 | 0 |  |  |  | 0 | 0 | 54
RLOTR22 _generator | RO_RA_00131 | costly_ra | [15 empty] | 170
RHCORN5 _generator | RO_RA_00153 | costly_ra | [15 empty] | 0 | 0 | 0 |  |  |  | 0 | 0 | 59
RREME_5 _generator | RO_RA_00178 | costly_ra | [15 empty] | 96 | 96 |  |  |  |  | 73
RMUNT_5 _generator | RO_RA_00179 | costly_ra | [15 empty] | 58 | 58 |  |  |  |  | 0
RSTEJ25 _generator | RO_RA_00159 | costly_ra | [16 empty] | 32 | [6 empty] | 32
RROVI31 _generator | RO_RA_00105 | costly_ra | [23 empty] | 1
RPDF212 _generator | RO_RA_00115 | costly_ra | [23 empty] | 34

## SRO borders-imports RAs
SUBMISSION DATE: | 14.03.2026
BUSINESS DATE: | 16.03.2026
DA CC Remedial Actions
Initial CCC
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400 kV TINTARENI-KOZLODUI 1 | BG_RA_00001 | topological | helpful | helpful | helpful | helpful | helpful | helpful | helpful |  | notApplied | [9 empty] | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400/220kV AT3 Arad | RO_RA_00001 | pst | helpful | helpful | helpful | notApplied | notApplied | helpful | helpful | helpful | helpful | [9 empty] | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst | helpful | helpful | helpful | notApplied | notApplied | helpful | helpful | helpful | helpful | [9 empty] | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00010 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | [9 empty] | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Tantareni-Kozlodui 2 | RO_RA_00013 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | [9 empty] | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Resita-Pancevo c1 | RO_RA_00016 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | [9 empty] | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV TINTARENI-KOZLODUI 2 | BG_RA_00002 | topological | [8 empty] | notApplied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00015 | topological | [18 empty] | helpful | helpful | helpful | helpful | helpful | helpful
NonCostly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
NonCostly Step 5
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
Costly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
RTOPV_5 _generator | RO_RA_00120 | costly_ra | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  |  | 0
RVLCE15 _generator | RO_RA_00122 | costly_ra | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  |  | 0
RCLNG_5 _generator | RO_RA_00130 | costly_ra | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  |  | 0
RSTUP_5 _generator | RO_RA_00134 | costly_ra | [9 empty] | 0 | [8 empty] | 0 | 0 | 0 |  |  | 0
RDAIES5 _generator | RO_RA_00135 | costly_ra | [9 empty] | 0 | [8 empty] | 0 | 0 | 0 |  |  | 0
RVILN_5 _generator | RO_RA_00136 | costly_ra | [9 empty] | 0 | [8 empty] | 0 | 0 | 0 |  |  | 0
RRIUR15 _generator | RO_RA_00137 | costly_ra | [9 empty] | 0 | [8 empty] | 0 | 0 | 0 |  |  | 0
RMARC_5 _generator | RO_RA_00138 | costly_ra | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  |  | 0
RIONE_5 _generator | RO_RA_00139 | costly_ra | [9 empty] | 0 | [8 empty] | 0 | 0 | 0 |  |  | 0
RJIBL_5 _generator | RO_RA_00140 | costly_ra | [9 empty] | 0 | [8 empty] | 0 | 0 | 0 |  |  | 0
RZAVI_5 _generator | RO_RA_00141 | costly_ra | [9 empty] | 0 | [8 empty] | 0 | 0 | 0 |  |  | 0
RCHTU_5 _generator | RO_RA_00142 | costly_ra | [9 empty] | 0 | [8 empty] | 0 | 0 | 0 |  |  | 0
RTRAI_5 _generator | RO_RA_00143 | costly_ra | [9 empty] | 0 | [8 empty] | 0 | 0 | 0 |  |  | 0
RHGLOT5 _generator | RO_RA_00144 | costly_ra | [9 empty] | 0 | [8 empty] | 0 | 0 | 0 |  |  | 0
RCHESJ5 _generator | RO_RA_00145 | costly_ra | [9 empty] | 50 | 0 | 0 | 0 | 18 | 47 |  |  |  | 0 | 0 | 0 |  |  | 0
RCHEAC5 _generator | RO_RA_00146 | costly_ra | [9 empty] | 18 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  |  | 0
RCHEST5 _generator | RO_RA_00147 | costly_ra | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  |  | 0
RCHEIO5 _generator | RO_RA_00148 | costly_ra | [9 empty] | 53 | 53 | 53 | 53 | 53 | 53 |  |  |  | 0 | 0 | 0 |  |  | 0
RCHDO_5 _generator | RO_RA_00149 | costly_ra | [9 empty] | 53 | 53 | 53 | 53 | 53 | 53 |  |  |  | 0 | 0 | 0 |  |  | 0
RFRUN_5 _generator | RO_RA_00150 | costly_ra | [9 empty] | 53 | 23 | 53 | 3 | 53 | 53 |  |  |  | 0 | 0 | 0 |  |  | 0
RCIZBI5 _generator | RO_RA_00151 | costly_ra | [9 empty] | 53 | 53 | 53 | 53 | 53 | 53 |  |  |  | 0 | 0 | 0 |  |  | 0
RRUSA_5 _generator | RO_RA_00152 | costly_ra | [9 empty] | 53 | 53 | 20 | 53 | 53 | 53 |  |  |  | 0 | 0 | 0 |  |  | 0
RHCORN5 _generator | RO_RA_00153 | costly_ra | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  |  | 0
RFAGA_5 _generator | RO_RA_00154 | costly_ra | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  |  | 0
RUCEA25 _generator | RO_RA_00155 | costly_ra | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  |  | 0
RUCEA15 _generator | RO_RA_00156 | costly_ra | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  |  | 0
RCIRT_5 _generator | RO_RA_00157 | costly_ra | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  |  | 0
RVADU_5 _generator | RO_RA_00160 | costly_ra | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  |  | 0
RIZVO_5 _generator | RO_RA_00161 | costly_ra | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  |  | 0
RDUMB_5 _generator | RO_RA_00162 | costly_ra | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  |  | 0
RCOST_5 _generator | RO_RA_00163 | costly_ra | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  |  | 0
RBUHU_5 _generator | RO_RA_00164 | costly_ra | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  |  | 0
RRACO_5 _generator | RO_RA_00165 | costly_ra | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  |  | 0
RGARL_5 _generator | RO_RA_00166 | costly_ra | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  |  | 0
RLILI_5 _generator | RO_RA_00167 | costly_ra | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  |  | 0
RBACS_5 _generator | RO_RA_00168 | costly_ra | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  |  | 0
RSISC_5 _generator | RO_RA_00170 | costly_ra | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  |  | 0
RMARA_5 _generator | RO_RA_00171 | costly_ra | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  |  | 0
RTECU_5 _generator | RO_RA_00172 | costly_ra | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  |  | 0
RSEBE_5 _generator | RO_RA_00176 | costly_ra | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 |  |  | 0
RVMAR_5 _generator | RO_RA_00116 | costly_ra | [13 empty] | 0 | 0 |  |  |  | 0 | 0 | 0 |  |  | 0
RGODI_5 _generator | RO_RA_00117 | costly_ra | [13 empty] | 0 | 0 |  |  |  | 0 | 0 | 0 |  |  | 0
RROVI31 _generator | RO_RA_00105 | costly_ra | [18 empty] | 310 |  | 310
RTURC11 _generator | RO_RA_00107 | costly_ra | [18 empty] | 302 |  | 302
RBRAZ41 _generator | RO_RA_00111 | costly_ra | [18 empty] | 1 |  | 1
RBRZ241 _generator | RO_RA_00112 | costly_ra | [18 empty] | 127 |  | 82
RBRAZ22 _generator | RO_RA_00113 | costly_ra | [18 empty] | 1 |  | 1
RPDF222 _generator | RO_RA_00114 | costly_ra | [18 empty] | 488 | 580 | 105 |  |  | 251
RPDF212 _generator | RO_RA_00115 | costly_ra | [18 empty] | 0 | 68 | 0
RFMEP_5 _generator | RO_RA_00121 | costly_ra | [18 empty] | 0 | 0 | 0 |  |  | 0
RVALD_5 _generator | RO_RA_00123 | costly_ra | [18 empty] | 0 | 0 | 0 |  |  | 0
RELAR_5 _generator | RO_RA_00124 | costly_ra | [18 empty] | 0 | 0 | 0 |  |  | 0
RAREF_5 _generator | RO_RA_00125 | costly_ra | [18 empty] | 0 | 0 | 0 |  |  | 0
RARGS_5 _generator | RO_RA_00126 | costly_ra | [18 empty] | 0 | 0 | 0 |  |  | 0
RALBE_5 _generator | RO_RA_00127 | costly_ra | [18 empty] | 0 | 0 | 0 |  |  | 0
RCERB_5 _generator | RO_RA_00128 | costly_ra | [18 empty] | 0 | 0 | 0 |  |  | 0
RVLCE25 _generator | RO_RA_00129 | costly_ra | [18 empty] | 0 | 0 | 0 |  |  | 0
RLOTR22 _generator | RO_RA_00131 | costly_ra | [18 empty] | 0 |  | 0 |  |  | 170
RLOT212 _generator | RO_RA_00132 | costly_ra | [18 empty] | 0 | 60 | 0 |  |  | 292
RBRDS25 _generator | RO_RA_00133 | costly_ra | [18 empty] | 0 | 118 | 0
RSTEJ_5 _generator | RO_RA_00158 | costly_ra | [18 empty] | 0 |  | 0
RMARI22 _generator | RO_RA_00173 | costly_ra | [18 empty] | 0
RIAZUA5 _generator | RO_RA_00177 | costly_ra | [18 empty] | 0 | 0
RREME_5 _generator | RO_RA_00178 | costly_ra | [18 empty] | 0 |  | 0
RMUNT_5 _generator | RO_RA_00179 | costly_ra | [18 empty] | 0 |  | 0
RFARA_5 _generator | RO_RA_00169 | costly_ra | [20 empty] | 0 |  |  | 0
RSUGA22 _generator | RO_RA_00174 | costly_ra | [20 empty] | 0
RRETE_5 _generator | RO_RA_00181 | costly_ra | [23 empty] | 0
RCIRNA5 _generator | RO_RA_00182 | costly_ra | [23 empty] | 0
RCIRNB5 _generator | RO_RA_00183 | costly_ra | [23 empty] | 0
RHATE_5 _generator | RO_RA_00184 | costly_ra | [23 empty] | 0