## SRO borders-exports
SUBMISSION DATE: | 28.04.2026
BUSINESS DATE: | 30.04.2026
DA CC Remedial Actions
From Hour (CET) | To Hour (CET) | CO | CNE | Loading (%) | TTC South Romania | NTC South Romania | NTC RO-BG
00:00 | 01:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 97 | 3643 | 3443 | 2410
01:00 | 02:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 4297 | 4097 | 2868
02:00 | 03:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3747 | 3547 | 2483
03:00 | 04:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3793 | 3593 | 2515
04:00 | 05:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 99 | 3683 | 3483 | 2438
05:00 | 06:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 101 | 3576 | 3376 | 2363
06:00 | 07:00 | N-1 TIE 400 kV DOBRUDJA- MEDGIDIA SUD | [RO-BG] [DIR] TIE 400 kV MEDGIDIA SUD - VARNA | 100 | 4180 | 3980 | 2786
07:00 | 08:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 96 | 3516 | 3316 | 2321
08:00 | 09:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 99 | 3264 | 3064 | 2145
09:00 | 10:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 88 | 3034 | 2834 | 1984
10:00 | 11:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 99 | 2555 | 2355 | 1648
11:00 | 12:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 99 | 2770 | 2570 | 1799
12:00 | 13:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 89 | 3197 | 2997 | 2098
13:00 | 14:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 99 | 3412 | 3212 | 2248
14:00 | 15:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 99 | 3521 | 3321 | 2325
15:00 | 16:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3511 | 3311 | 2318
16:00 | 17:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3403 | 3203 | 2242
17:00 | 18:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3619 | 3419 | 2393
18:00 | 19:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3493 | 3293 | 2305
19:00 | 20:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 98 | 3341 | 3141 | 2199
20:00 | 21:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3925 | 3725 | 2608
21:00 | 22:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3380 | 3180 | 2226
22:00 | 23:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3509 | 3309 | 2316
23:00 | 00:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 92 | 3643 | 3443 | 2410

## SRO borders-imports
SUBMISSION DATE: | 28.04.2026
BUSINESS DATE: | 30.04.2026
DA CC Remedial Actions
From Hour (CET) | To Hour (CET) | CO | CNE | Loading (%) | TTC South Romania | NTC South Romania | NTC BG-RO
00:00 | 01:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 2706 | 2506 | 1754
01:00 | 02:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 2768 | 2568 | 1798
02:00 | 03:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 89 | 3073 | 2873 | 2011
03:00 | 04:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 2852 | 2652 | 1856
04:00 | 05:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 88 | 3215 | 3015 | 2110
05:00 | 06:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 2653 | 2453 | 1717
06:00 | 07:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 2609 | 2409 | 1686
07:00 | 08:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 79 | 2469 | 2269 | 1588
08:00 | 09:00 | N-1 TIE 400 kV PORTILE DE FIER - DJERDAP | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 97 | 2699 | 2499 | 1749
09:00 | 10:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 87 | 2775 | 2575 | 1802
10:00 | 11:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 92 | 2946 | 2746 | 1922
11:00 | 12:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 92 | 3029 | 2829 | 1980
12:00 | 13:00 | N-1 TIE 400 kV Resita-Pancevo c2 | [RO-RO] [DIR] TRA 400/220 kV AT3 Arad | 96 | 2717 | 2517 | 1762
13:00 | 14:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 2547 | 2347 | 1643
14:00 | 15:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 2453 | 2253 | 1577
15:00 | 16:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 2596 | 2396 | 1677
16:00 | 17:00 | N-1 TIE 400 kV PORTILE DE FIER - DJERDAP | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 98 | 2751 | 2551 | 1786
17:00 | 18:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 102 | 2711 | 2511 | 1758
18:00 | 19:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 2888 | 2688 | 1882
19:00 | 20:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 92 | 3864 | 3664 | 2565
20:00 | 21:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 3676 | 3476 | 2433
21:00 | 22:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3812 | 3612 | 2528
22:00 | 23:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3586 | 3386 | 2370
23:00 | 00:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3274 | 3074 | 2152

## SRO borders-exports RAs
SUBMISSION DATE: | 28.04.2026
BUSINESS DATE: | 30.04.2026
DA CC Remedial Actions
Initial CCC
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400/220kV AT3 Arad | RO_RA_00001 | pst | notApplied | helpful | helpful | helpful | notApplied |  | helpful | helpful |  | notApplied | helpful | helpful | notApplied |  |  |  | notApplied | helpful | helpful |  |  |  |  | helpful
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst | notApplied | helpful | helpful | helpful | notApplied |  | notApplied | helpful |  | notApplied | helpful | helpful | notApplied |  |  |  | notApplied | helpful | helpful |  |  |  |  | helpful
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00010 | topological | helpful | notApplied | helpful | helpful | notApplied |  | notApplied | helpful |  | notApplied | helpful | notApplied | notApplied |  |  |  | notApplied | helpful | helpful |  |  |  |  | helpful
PRA 400 kV Tantareni-Kozlodui 2 | RO_RA_00013 | topological | notApplied | notApplied | notApplied | notApplied | notApplied |  | notApplied | notApplied |  | notApplied | notApplied | notApplied | notApplied |  |  |  | notApplied | notApplied | notApplied |  |  |  |  | notApplied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological | notApplied | helpful | notApplied | notApplied | helpful |  | helpful | notApplied |  | helpful | notApplied | notApplied | helpful |  |  |  | helpful | helpful | helpful |  |  |  |  | helpful
PRA 400 kV Resita-Pancevo c1 | RO_RA_00016 | topological | notApplied | notApplied | notApplied | notApplied | notApplied |  | notApplied | notApplied |  | notApplied | notApplied | notApplied | notApplied |  |  |  | notApplied | notApplied | notApplied |  |  |  |  | notApplied
NonCostly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400 kV TINTARENI-KOZLODUI 1 | BG_RA_00001 | topological_ra |  | applied |  |  |  |  | applied | [13 empty] | applied
PRA 110 kV S4 | RO_RA_00003 | topological_ra |  | applied | applied | applied |  |  | applied | [13 empty] | applied
PRA 110 kV Dobrogea | RO_RA_00006 | topological_ra |  | applied | applied | applied | [16 empty] | applied
PRA 110 kV Resita | RO_RA_00007 | topological_ra |  | applied | applied | applied |  |  | applied | [13 empty] | applied
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00010 | topological_ra |  | applied |  |  |  |  | applied | [13 empty] | applied
TOP_CLOSE_400kV_Tantareni _ Kozlodui_c1 | RO_RA_00103 | topological_ra |  | applied |  |  |  |  | applied | [13 empty] | applied
PRA 400/220kV AT3 Arad | RO_RA_00001 | pst_ra |  | applied | applied | applied |  |  | applied | [13 empty] | applied
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst_ra |  | applied | applied | applied |  |  | applied | [13 empty] | applied
PST_ARAD 400/220_3 | RO_RA_00101 | pst_ra |  | applied | applied | applied |  |  | applied | [13 empty] | applied
PST_URECHESTI 400/220_1 | RO_RA_00102 | pst_ra |  | applied | applied | applied |  |  | applied | [13 empty] | applied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological_ra |  |  | applied | applied | [16 empty] | applied
PRA 110 kV S5 | RO_RA_00004 | topological_ra | [6 empty] | applied
TOP_CLOSE_400kV_Resita_Pancevo_c2 | RO_RA_00104 | topological_ra | [20 empty] | applied
NonCostly Step 5
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
Costly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
RBRZ241 _generator | RO_RA_00112 | costly_ra |  | 207 |  |  |  |  | 1 | [10 empty] | 1 | 1 |  | 1
RBRAZ22 _generator | RO_RA_00113 | costly_ra |  | 1 |  |  |  |  | 1 | [10 empty] | 1 | 1 |  | 1
RPDF212 _generator | RO_RA_00115 | costly_ra |  | 178
RVMAR_5 _generator | RO_RA_00116 | costly_ra |  | 50 |  |  |  |  | 50 | [10 empty] | 0
RGODI_5 _generator | RO_RA_00117 | costly_ra |  | 114 |  |  |  |  | 114 | [10 empty] | 0 | 114 |  | 114
RVLCE15 _generator | RO_RA_00122 | costly_ra |  | 0 |  |  |  |  | 0 | [10 empty] | 0 | 0 |  | 55
RARGS_5 _generator | RO_RA_00126 | costly_ra |  | 0 |  |  |  |  | 0 | [10 empty] | 0 | 0 |  | 31
RALBE_5 _generator | RO_RA_00127 | costly_ra |  | 0 |  |  |  |  | 30 | [10 empty] | 0 | 30 |  | 30
RCLNG_5 _generator | RO_RA_00130 | costly_ra |  | 0 |  |  |  |  | 90 | [10 empty] | 0 | 18 |  | 90
RBRDS25 _generator | RO_RA_00133 | costly_ra |  | 118
RSTUP_5 _generator | RO_RA_00134 | costly_ra |  | 0 |  |  |  |  | 0 | [10 empty] | 0 | 0 |  | 45
RDAIES5 _generator | RO_RA_00135 | costly_ra |  | 0 |  |  |  |  | 0 | [10 empty] | 0 | 0 |  | 37
RVILN_5 _generator | RO_RA_00136 | costly_ra |  | 0 |  |  |  |  | 0 | [10 empty] | 0 | 0 |  | 46
RRIUR15 _generator | RO_RA_00137 | costly_ra |  | 0 |  |  |  |  | 25 | [10 empty] | 0 | 48 |  | 48
RMARC_5 _generator | RO_RA_00138 | costly_ra |  | 0 |  |  |  |  | 0 | [10 empty] | 0 | 0 |  | 39
RIONE_5 _generator | RO_RA_00139 | costly_ra |  | 0 |  |  |  |  | 0 | [10 empty] | 0 | 0 |  | 38
RJIBL_5 _generator | RO_RA_00140 | costly_ra |  | 0 |  |  |  |  | 0 | [10 empty] | 0 | 0 |  | 38
RZAVI_5 _generator | RO_RA_00141 | costly_ra |  | 0 |  |  |  |  | 0 | [10 empty] | 0 | 0 |  | 38
RCHTU_5 _generator | RO_RA_00142 | costly_ra |  | 0 |  |  |  |  | 0 | [10 empty] | 0 | 0 |  | 74
RTRAI_5 _generator | RO_RA_00143 | costly_ra |  | 0 |  |  |  |  | 0 | [10 empty] | 0 | 0 |  | 45
RHGLOT5 _generator | RO_RA_00144 | costly_ra |  | 0 |  |  |  |  | 0 | [10 empty] | 0 | 0 |  | 25
RCHESJ5 _generator | RO_RA_00145 | costly_ra |  | 50 |  |  |  |  | 0 | [10 empty] | 0 | 0 |  | 50
RCHEAC5 _generator | RO_RA_00146 | costly_ra |  | 38 |  |  |  |  | 0 | [10 empty] | 0 | 0 |  | 38
RCHEST5 _generator | RO_RA_00147 | costly_ra |  | 26 |  |  |  |  | 0 | [10 empty] | 0 | 0 |  | 17
RCHEIO5 _generator | RO_RA_00148 | costly_ra |  | 53 |  |  |  |  | 0 | [10 empty] | 0 | 0 |  | 53
RCHDO_5 _generator | RO_RA_00149 | costly_ra |  | 53 |  |  |  |  | 0 | [10 empty] | 0 | 0 |  | 53
RFRUN_5 _generator | RO_RA_00150 | costly_ra |  | 53 |  |  |  |  | 0 | [10 empty] | 0 | 45 |  | 53
RCIZBI5 _generator | RO_RA_00151 | costly_ra |  | 53 |  |  |  |  | 0 | [10 empty] | 0 | 53 |  | 53
RRUSA_5 _generator | RO_RA_00152 | costly_ra |  | 53 |  |  |  |  | 0 | [10 empty] | 0 | 53 |  | 53
RHCORN5 _generator | RO_RA_00153 | costly_ra |  | 0 |  |  |  |  | 0 | [10 empty] | 0 | 0 |  | 59
RFAGA_5 _generator | RO_RA_00154 | costly_ra |  | 0 |  |  |  |  | 20 | [10 empty] | 0 | 20 |  | 20
RUCEA25 _generator | RO_RA_00155 | costly_ra |  | 0 |  |  |  |  | 32 | [10 empty] | 0 | 32 |  | 32
RUCEA15 _generator | RO_RA_00156 | costly_ra |  | 0 |  |  |  |  | 49 | [10 empty] | 43 | 49 |  | 49
RCIRT_5 _generator | RO_RA_00157 | costly_ra |  | 0 |  |  |  |  | 54 | [10 empty] | 54 | 54 |  | 54
RSTEJ_5 _generator | RO_RA_00158 | costly_ra |  | 0 |  |  |  |  | 46 | [13 empty] | 0
RVADU_5 _generator | RO_RA_00160 | costly_ra |  | 0 |  |  |  |  | 0 | [10 empty] | 67 | 67 |  | 0
RIZVO_5 _generator | RO_RA_00161 | costly_ra |  | 0 |  |  |  |  | 0 | [10 empty] | 9 | 9 |  | 0
RDUMB_5 _generator | RO_RA_00162 | costly_ra |  | 0 |  |  |  |  | 0 | [10 empty] | 23 | 23 |  | 0
RCOST_5 _generator | RO_RA_00163 | costly_ra |  | 0 |  |  |  |  | 0 | [10 empty] | 24 | 24 |  | 0
RBUHU_5 _generator | RO_RA_00164 | costly_ra |  | 0 |  |  |  |  | 0 | [10 empty] | 13 | 13 |  | 0
RRACO_5 _generator | RO_RA_00165 | costly_ra |  | 0 |  |  |  |  | 0 | [10 empty] | 23 | 23 |  | 0
RGARL_5 _generator | RO_RA_00166 | costly_ra |  | 0 |  |  |  |  | 0 | [10 empty] | 23 | 23 |  | 0
RLILI_5 _generator | RO_RA_00167 | costly_ra |  | 0 |  |  |  |  | 0 | [10 empty] | 23 | 23 |  | 0
RBACS_5 _generator | RO_RA_00168 | costly_ra |  | 0 |  |  |  |  | 0 | [10 empty] | 98 | 98 |  | 0
RFARA_5 _generator | RO_RA_00169 | costly_ra |  | 0 |  |  |  |  | 0 | [10 empty] | 30 | 30 |  | 0
RSISC_5 _generator | RO_RA_00170 | costly_ra |  | 0 |  |  |  |  | 0 | [10 empty] | 44 | 44 |  | 0
RMARA_5 _generator | RO_RA_00171 | costly_ra |  | 0 |  |  |  |  | 0 | [10 empty] | 46 | 46 |  | 0
RTECU_5 _generator | RO_RA_00172 | costly_ra |  | 0 |  |  |  |  | 0 | [10 empty] | 34 | 34 |  | 0
RMARI22 _generator | RO_RA_00173 | costly_ra |  | 217 |  |  |  |  | 217 | [10 empty] | 217
RSUGA22 _generator | RO_RA_00174 | costly_ra |  | 150
RGILC22 _generator | RO_RA_00175 | costly_ra |  | 150
RSEBE_5 _generator | RO_RA_00176 | costly_ra |  | 55 |  |  |  |  | 55 | [10 empty] | 55 | 55 |  | 55
RREME_5 _generator | RO_RA_00178 | costly_ra |  | 0
RMUNT_5 _generator | RO_RA_00179 | costly_ra |  | 0
RRETE_5 _generator | RO_RA_00181 | costly_ra |  | 20 |  |  |  |  | 20 | [10 empty] | 20 | 20 |  | 0
RCIRNA5 _generator | RO_RA_00182 | costly_ra |  | 29 |  |  |  |  | 29 | [10 empty] | 29 | 29 |  | 0
RCIRNB5 _generator | RO_RA_00183 | costly_ra |  | 27 |  |  |  |  | 27 | [10 empty] | 27 | 27 |  | 0
RHATE_5 _generator | RO_RA_00184 | costly_ra |  | 52 |  |  |  |  | 52 | [10 empty] | 52 | 52 |  | 0
RTOPV_5 _generator | RO_RA_00120 | costly_ra | [6 empty] | 0 | [10 empty] | 0 | 0 |  | 10
RVALD_5 _generator | RO_RA_00123 | costly_ra | [6 empty] | 15 | [10 empty] | 0 | 15 |  | 15
RELAR_5 _generator | RO_RA_00124 | costly_ra | [6 empty] | 10 | [11 empty] | 10 |  | 10
RAREF_5 _generator | RO_RA_00125 | costly_ra | [6 empty] | 10 | [10 empty] | 0 | 10 |  | 10
RCERB_5 _generator | RO_RA_00128 | costly_ra | [6 empty] | 15 | [10 empty] | 0 | 15 |  | 15
RSTEJ25 _generator | RO_RA_00159 | costly_ra | [6 empty] | 32 | [10 empty] | 32 | 32
RIAZUA5 _generator | RO_RA_00177 | costly_ra | [6 empty] | 71 | [10 empty] | 71 | 71 |  | 71
RRETE22 _generator | RO_RA_00180 | costly_ra | [6 empty] | 222 | [10 empty] | 222 |  |  | 77
RFMEP_5 _generator | RO_RA_00121 | costly_ra | [17 empty] | 0 | 0 |  | 14
RVLCE25 _generator | RO_RA_00129 | costly_ra | [17 empty] | 0 | 0 |  | 12

## SRO borders-imports RAs
SUBMISSION DATE: | 28.04.2026
BUSINESS DATE: | 30.04.2026
DA CC Remedial Actions
Initial CCC
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400/220kV AT3 Arad | RO_RA_00001 | pst | helpful | helpful | notApplied | helpful | notApplied | helpful | helpful | notApplied | [5 empty] | helpful | helpful | helpful |  | helpful |  | notApplied | helpful | helpful | helpful | helpful
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst | helpful | helpful | notApplied | helpful | notApplied | helpful | helpful | notApplied | [5 empty] | helpful | helpful | helpful |  | helpful |  | notApplied | helpful | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00010 | topological | notApplied | notApplied | helpful | notApplied | helpful | notApplied | notApplied | helpful | [5 empty] | notApplied | notApplied | notApplied |  | notApplied |  | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 2 | RO_RA_00013 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | [5 empty] | notApplied | notApplied | notApplied |  | notApplied |  | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological | notApplied | notApplied | notApplied | helpful | notApplied | notApplied | notApplied | helpful | [5 empty] | notApplied | notApplied | notApplied |  | notApplied |  | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Resita-Pancevo c1 | RO_RA_00016 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | [5 empty] | notApplied | notApplied | notApplied |  | notApplied |  | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV TINTARENI-KOZLODUI 1 | BG_RA_00001 | topological |  |  | notApplied |  | notApplied | [14 empty] | notApplied | notApplied | notApplied | notApplied | notApplied
NonCostly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400 kV TINTARENI-KOZLODUI 1 | BG_RA_00001 | topological_ra | [9 empty] | applied |  | applied | applied
PRA 110 kV S5 | RO_RA_00004 | topological_ra | [9 empty] | applied | applied | applied | applied
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00010 | topological_ra | [9 empty] | applied |  | applied | applied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological_ra | [9 empty] | applied | applied | applied | applied
TOP_CLOSE_400kV_Tantareni _ Kozlodui_c1 | RO_RA_00103 | topological_ra | [9 empty] | applied |  | applied | applied
PRA 400/220kV AT3 Arad | RO_RA_00001 | pst_ra | [9 empty] | applied | applied | applied | applied
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst_ra | [9 empty] | applied | applied | applied | applied
PST_ARAD 400/220_3 | RO_RA_00101 | pst_ra | [9 empty] | applied | applied | applied | applied
PST_URECHESTI 400/220_1 | RO_RA_00102 | pst_ra | [9 empty] | applied | applied | applied | applied
PRA 110 kV Resita | RO_RA_00007 | topological_ra | [11 empty] | applied
NonCostly Step 5
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400 kV TINTARENI-KOZLODUI 1 | BG_RA_00001 | topological_ra | [10 empty] | applied
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00010 | topological_ra | [10 empty] | applied
Costly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
RVMAR_5 _generator | RO_RA_00116 | costly_ra | [10 empty] | 50
RGODI_5 _generator | RO_RA_00117 | costly_ra | [10 empty] | 114
RTOPV_5 _generator | RO_RA_00120 | costly_ra | [10 empty] | 0
RVLCE15 _generator | RO_RA_00122 | costly_ra | [10 empty] | 0
RARGS_5 _generator | RO_RA_00126 | costly_ra | [10 empty] | 0
RALBE_5 _generator | RO_RA_00127 | costly_ra | [10 empty] | 0
RCLNG_5 _generator | RO_RA_00130 | costly_ra | [10 empty] | 0
RSTUP_5 _generator | RO_RA_00134 | costly_ra | [10 empty] | 0
RDAIES5 _generator | RO_RA_00135 | costly_ra | [10 empty] | 0
RVILN_5 _generator | RO_RA_00136 | costly_ra | [10 empty] | 0
RRIUR15 _generator | RO_RA_00137 | costly_ra | [10 empty] | 0
RMARC_5 _generator | RO_RA_00138 | costly_ra | [10 empty] | 0
RIONE_5 _generator | RO_RA_00139 | costly_ra | [10 empty] | 0
RJIBL_5 _generator | RO_RA_00140 | costly_ra | [10 empty] | 0
RZAVI_5 _generator | RO_RA_00141 | costly_ra | [10 empty] | 0
RCHTU_5 _generator | RO_RA_00142 | costly_ra | [10 empty] | 0
RTRAI_5 _generator | RO_RA_00143 | costly_ra | [10 empty] | 38
RHGLOT5 _generator | RO_RA_00144 | costly_ra | [10 empty] | 0
RCHESJ5 _generator | RO_RA_00145 | costly_ra | [10 empty] | 50
RCHEAC5 _generator | RO_RA_00146 | costly_ra | [10 empty] | 38
RCHEST5 _generator | RO_RA_00147 | costly_ra | [10 empty] | 26
RCHEIO5 _generator | RO_RA_00148 | costly_ra | [10 empty] | 53
RCHDO_5 _generator | RO_RA_00149 | costly_ra | [10 empty] | 53
RFRUN_5 _generator | RO_RA_00150 | costly_ra | [10 empty] | 0
RCIZBI5 _generator | RO_RA_00151 | costly_ra | [10 empty] | 0
RRUSA_5 _generator | RO_RA_00152 | costly_ra | [10 empty] | 0
RHCORN5 _generator | RO_RA_00153 | costly_ra | [10 empty] | 0
RFAGA_5 _generator | RO_RA_00154 | costly_ra | [10 empty] | 0
RUCEA25 _generator | RO_RA_00155 | costly_ra | [10 empty] | 0
RUCEA15 _generator | RO_RA_00156 | costly_ra | [10 empty] | 0
RCIRT_5 _generator | RO_RA_00157 | costly_ra | [10 empty] | 0
RVADU_5 _generator | RO_RA_00160 | costly_ra | [10 empty] | 0
RIZVO_5 _generator | RO_RA_00161 | costly_ra | [10 empty] | 0
RDUMB_5 _generator | RO_RA_00162 | costly_ra | [10 empty] | 0
RCOST_5 _generator | RO_RA_00163 | costly_ra | [10 empty] | 0
RBUHU_5 _generator | RO_RA_00164 | costly_ra | [10 empty] | 0
RRACO_5 _generator | RO_RA_00165 | costly_ra | [10 empty] | 0
RGARL_5 _generator | RO_RA_00166 | costly_ra | [10 empty] | 0
RLILI_5 _generator | RO_RA_00167 | costly_ra | [10 empty] | 0
RBACS_5 _generator | RO_RA_00168 | costly_ra | [10 empty] | 0
RFARA_5 _generator | RO_RA_00169 | costly_ra | [10 empty] | 0
RSISC_5 _generator | RO_RA_00170 | costly_ra | [10 empty] | 0
RMARA_5 _generator | RO_RA_00171 | costly_ra | [10 empty] | 0
RTECU_5 _generator | RO_RA_00172 | costly_ra | [10 empty] | 0
RSEBE_5 _generator | RO_RA_00176 | costly_ra | [10 empty] | 0