## SRO borders-exports
SUBMISSION DATE: | 30.04.2026
BUSINESS DATE: | 02.05.2026
DA CC Remedial Actions
From Hour (CET) | To Hour (CET) | CO | CNE | Loading (%) | TTC South Romania | NTC South Romania | NTC RO-BG
00:00 | 01:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 94 | 3597 | 3397 | 2378
01:00 | 02:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3912 | 3712 | 2598
02:00 | 03:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 95 | 3666 | 3466 | 2426
03:00 | 04:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 96 | 3661 | 3461 | 2423
04:00 | 05:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 98 | 3611 | 3411 | 2388
05:00 | 06:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3499 | 3299 | 2309
06:00 | 07:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2285 | 2085 | 1460
07:00 | 08:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 99 | 1708 | 1508 | 1056
08:00 | 09:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2424 | 2224 | 1557
09:00 | 10:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2789 | 2589 | 1812
10:00 | 11:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3460 | 3260 | 2282
11:00 | 12:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 99 | 3260 | 3060 | 2142
12:00 | 13:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 99 | 3187 | 2987 | 2091
13:00 | 14:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 99 | 2954 | 2754 | 1928
14:00 | 15:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 99 | 2896 | 2696 | 1887
15:00 | 16:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 99 | 3002 | 2802 | 1961
16:00 | 17:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 99 | 3642 | 3442 | 2409
17:00 | 18:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 99 | 3549 | 3349 | 2344
18:00 | 19:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 99 | 3431 | 3231 | 2262
19:00 | 20:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 97 | 3343 | 3143 | 2200
20:00 | 21:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 96 | 3357 | 3157 | 2210
21:00 | 22:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 98 | 3392 | 3192 | 2234
22:00 | 23:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3665 | 3465 | 2426
23:00 | 00:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3630 | 3430 | 2401

## SRO borders-imports
SUBMISSION DATE: | 30.04.2026
BUSINESS DATE: | 02.05.2026
DA CC Remedial Actions
From Hour (CET) | To Hour (CET) | CO | CNE | Loading (%) | TTC South Romania | NTC South Romania | NTC BG-RO
00:00 | 01:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3551 | 3351 | 2346
01:00 | 02:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3587 | 3387 | 2371
02:00 | 03:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3505 | 3305 | 2314
03:00 | 04:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 3556 | 3356 | 2349
04:00 | 05:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 97 | 3513 | 3313 | 2319
05:00 | 06:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 98 | 3375 | 3175 | 2222
06:00 | 07:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 100 | 2652 | 2452 | 1716
07:00 | 08:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 100 | 2458 | 2258 | 1581
08:00 | 09:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 100 | 2756 | 2556 | 1789
09:00 | 10:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 100 | 3041 | 2841 | 1989
10:00 | 11:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3658 | 3458 | 2421
11:00 | 12:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3526 | 3326 | 2328
12:00 | 13:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3629 | 3429 | 2400
13:00 | 14:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 3546 | 3346 | 2342
14:00 | 15:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 3544 | 3344 | 2341
15:00 | 16:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 3554 | 3354 | 2348
16:00 | 17:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 3479 | 3279 | 2295
17:00 | 18:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 3645 | 3445 | 2412
18:00 | 19:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3442 | 3242 | 2269
19:00 | 20:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3582 | 3382 | 2367
20:00 | 21:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3433 | 3233 | 2263
21:00 | 22:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3247 | 3047 | 2133
22:00 | 23:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3184 | 2984 | 2089
23:00 | 00:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3206 | 3006 | 2104

## SRO borders-exports RAs
SUBMISSION DATE: | 30.04.2026
BUSINESS DATE: | 02.05.2026
DA CC Remedial Actions
Initial CCC
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400/220kV AT3 Arad | RO_RA_00001 | pst | helpful | helpful | helpful | helpful | helpful | helpful | notApplied | notApplied | helpful | helpful | notApplied | helpful | helpful |  |  |  | helpful | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst | helpful | helpful | helpful | helpful | helpful | helpful | notApplied | notApplied | helpful | helpful | notApplied | helpful | helpful |  |  |  | helpful | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00010 | topological | helpful | helpful | helpful | helpful | helpful | helpful | notApplied | notApplied | notApplied | notApplied | helpful | helpful | helpful |  |  |  | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 2 | RO_RA_00013 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied |  |  |  | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful |  |  |  | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Resita-Pancevo c1 | RO_RA_00016 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied |  |  |  | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
NonCostly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
NonCostly Step 5
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
Costly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
RROV641 _generator | RO_RA_00106 | costly_ra |  | 467 |  |  |  |  | 428
RBRAZ41 _generator | RO_RA_00111 | costly_ra |  | 1
RBRZ241 _generator | RO_RA_00112 | costly_ra |  | 1
RVLCE15 _generator | RO_RA_00122 | costly_ra |  | 0 |  |  |  |  | 55 | [15 empty] | 0 | 0
RARGS_5 _generator | RO_RA_00126 | costly_ra |  | 0 |  |  |  |  | 31 | [15 empty] | 0 | 0
RALBE_5 _generator | RO_RA_00127 | costly_ra |  | 0 |  |  |  |  | 30 | [15 empty] | 0 | 0
RCLNG_5 _generator | RO_RA_00130 | costly_ra |  | 0 |  |  |  |  | 90 | [15 empty] | 0 | 0
RSTUP_5 _generator | RO_RA_00134 | costly_ra |  | 0 |  |  |  |  | 45 | [15 empty] | 0 | 0
RDAIES5 _generator | RO_RA_00135 | costly_ra |  | 0 |  |  |  |  | 37 | [15 empty] | 0 | 0
RVILN_5 _generator | RO_RA_00136 | costly_ra |  | 0 |  |  |  |  | 46 | [15 empty] | 0 | 0
RRIUR15 _generator | RO_RA_00137 | costly_ra |  | 0 |  |  |  |  | 48 | [15 empty] | 0 | 0
RMARC_5 _generator | RO_RA_00138 | costly_ra |  | 0 |  |  |  |  | 39 | [15 empty] | 0 | 0
RIONE_5 _generator | RO_RA_00139 | costly_ra |  | 0 |  |  |  |  | 38 | [15 empty] | 0 | 0
RJIBL_5 _generator | RO_RA_00140 | costly_ra |  | 0 |  |  |  |  | 0 | [15 empty] | 0 | 0
RZAVI_5 _generator | RO_RA_00141 | costly_ra |  | 0 |  |  |  |  | 38 | [15 empty] | 0 | 0
RCHTU_5 _generator | RO_RA_00142 | costly_ra |  | 0 |  |  |  |  | 0 | [15 empty] | 0 | 0
RTRAI_5 _generator | RO_RA_00143 | costly_ra |  | 0 |  |  |  |  | 45 | [15 empty] | 0 | 0
RHGLOT5 _generator | RO_RA_00144 | costly_ra |  | 0 |  |  |  |  | 0 | [15 empty] | 0 | 0
RCHESJ5 _generator | RO_RA_00145 | costly_ra |  | 0 |  |  |  |  | 0 | [15 empty] | 0 | 0
RCHEAC5 _generator | RO_RA_00146 | costly_ra |  | 0 |  |  |  |  | 0 | [15 empty] | 0 | 0
RCHEST5 _generator | RO_RA_00147 | costly_ra |  | 0 |  |  |  |  | 0 | [15 empty] | 0 | 0
RCHEIO5 _generator | RO_RA_00148 | costly_ra |  | 0 |  |  |  |  | 0 | [15 empty] | 0 | 0
RCHDO_5 _generator | RO_RA_00149 | costly_ra |  | 0 |  |  |  |  | 0 | [15 empty] | 0 | 0
RFRUN_5 _generator | RO_RA_00150 | costly_ra |  | 0 |  |  |  |  | 0 | [15 empty] | 0 | 0
RCIZBI5 _generator | RO_RA_00151 | costly_ra |  | 0 |  |  |  |  | 0 | [15 empty] | 0 | 0
RRUSA_5 _generator | RO_RA_00152 | costly_ra |  | 0 |  |  |  |  | 0 | [15 empty] | 0 | 0
RHCORN5 _generator | RO_RA_00153 | costly_ra |  | 0 |  |  |  |  | 0 | [15 empty] | 0 | 0
RFAGA_5 _generator | RO_RA_00154 | costly_ra |  | 0 |  |  |  |  | 20 | [15 empty] | 20 | 20
RUCEA25 _generator | RO_RA_00155 | costly_ra |  | 0 |  |  |  |  | 32 | [15 empty] | 32 | 32
RUCEA15 _generator | RO_RA_00156 | costly_ra |  | 47 |  |  |  |  | 49 | [15 empty] | 49 | 49
RCIRT_5 _generator | RO_RA_00157 | costly_ra |  | 0 |  |  |  |  | 54 | [15 empty] | 54 | 54
RSTEJ25 _generator | RO_RA_00159 | costly_ra |  | 32 | [20 empty] | 32 | 32
RVADU_5 _generator | RO_RA_00160 | costly_ra |  | 67 |  |  |  |  | 0 | [15 empty] | 67 | 67
RIZVO_5 _generator | RO_RA_00161 | costly_ra |  | 9 |  |  |  |  | 0 | [15 empty] | 9 | 9
RDUMB_5 _generator | RO_RA_00162 | costly_ra |  | 23 |  |  |  |  | 0 | [15 empty] | 23 | 23
RCOST_5 _generator | RO_RA_00163 | costly_ra |  | 24 |  |  |  |  | 0 | [15 empty] | 24 | 24
RBUHU_5 _generator | RO_RA_00164 | costly_ra |  | 13 |  |  |  |  | 0 | [15 empty] | 13 | 13
RRACO_5 _generator | RO_RA_00165 | costly_ra |  | 23 |  |  |  |  | 0 | [15 empty] | 23 | 23
RGARL_5 _generator | RO_RA_00166 | costly_ra |  | 23 |  |  |  |  | 0 | [15 empty] | 23 | 23
RLILI_5 _generator | RO_RA_00167 | costly_ra |  | 23 |  |  |  |  | 0 | [15 empty] | 23 | 23
RBACS_5 _generator | RO_RA_00168 | costly_ra |  | 98 |  |  |  |  | 0 | [15 empty] | 98 | 98
RFARA_5 _generator | RO_RA_00169 | costly_ra |  | 30 |  |  |  |  | 0 | [15 empty] | 30 | 30
RSISC_5 _generator | RO_RA_00170 | costly_ra |  | 44 |  |  |  |  | 0 | [15 empty] | 44 | 44
RMARA_5 _generator | RO_RA_00171 | costly_ra |  | 0 |  |  |  |  | 0 | [15 empty] | 0 | 0
RTECU_5 _generator | RO_RA_00172 | costly_ra |  | 0 |  |  |  |  | 0 | [15 empty] | 0 | 0
RMARI22 _generator | RO_RA_00173 | costly_ra |  | 217 | [20 empty] | 217 | 217
RSUGA22 _generator | RO_RA_00174 | costly_ra |  | 150
RGILC22 _generator | RO_RA_00175 | costly_ra |  | 150 | [20 empty] | 150 | 150
RSEBE_5 _generator | RO_RA_00176 | costly_ra |  | 55 |  |  |  |  | 0 | [15 empty] | 55 | 55
RIAZUA5 _generator | RO_RA_00177 | costly_ra |  | 71 | [20 empty] | 71 | 71
RRETE_5 _generator | RO_RA_00181 | costly_ra |  | 20 | [20 empty] | 20 | 20
RCIRNA5 _generator | RO_RA_00182 | costly_ra |  | 29 | [20 empty] | 29 | 29
RCIRNB5 _generator | RO_RA_00183 | costly_ra |  | 27 | [20 empty] | 27 | 27
RHATE_5 _generator | RO_RA_00184 | costly_ra |  | 52 | [20 empty] | 52 | 52
RVMAR_5 _generator | RO_RA_00116 | costly_ra | [6 empty] | 50 | [15 empty] | 0 | 0
RGODI_5 _generator | RO_RA_00117 | costly_ra | [6 empty] | 114 | [15 empty] | 0 | 0
RTOPV_5 _generator | RO_RA_00120 | costly_ra | [6 empty] | 10 | [15 empty] | 0 | 0
RFMEP_5 _generator | RO_RA_00121 | costly_ra | [6 empty] | 14 | [15 empty] | 0 | 0
RVALD_5 _generator | RO_RA_00123 | costly_ra | [6 empty] | 15 | [15 empty] | 0 | 0
RELAR_5 _generator | RO_RA_00124 | costly_ra | [6 empty] | 10 | [15 empty] | 0 | 0
RAREF_5 _generator | RO_RA_00125 | costly_ra | [6 empty] | 10 | [15 empty] | 0 | 0
RCERB_5 _generator | RO_RA_00128 | costly_ra | [6 empty] | 15 | [15 empty] | 0 | 0
RVLCE25 _generator | RO_RA_00129 | costly_ra | [6 empty] | 12 | [15 empty] | 0 | 0
RSTEJ_5 _generator | RO_RA_00158 | costly_ra | [6 empty] | 0
RREME_5 _generator | RO_RA_00178 | costly_ra | [6 empty] | 6
RROVI31 _generator | RO_RA_00105 | costly_ra | [22 empty] | 1 | 1
RLOTR22 _generator | RO_RA_00131 | costly_ra | [22 empty] | 48
RBRDS25 _generator | RO_RA_00133 | costly_ra | [23 empty] | 1

## SRO borders-imports RAs
SUBMISSION DATE: | 30.04.2026
BUSINESS DATE: | 02.05.2026
DA CC Remedial Actions
Initial CCC
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400 kV TINTARENI-KOZLODUI 1 | BG_RA_00001 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied |  |  | notApplied | notApplied
PRA 400/220kV AT3 Arad | RO_RA_00001 | pst | helpful | helpful | helpful | helpful | helpful | helpful |  |  |  |  | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst | helpful | helpful | helpful | helpful | helpful | helpful |  |  |  |  | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00010 | topological | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 2 | RO_RA_00013 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied |  |  |  |  | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological | helpful | helpful | helpful | helpful | helpful | helpful |  |  |  |  | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | notApplied | notApplied | notApplied
PRA 400 kV Resita-Pancevo c1 | RO_RA_00016 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied |  |  |  |  | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
NonCostly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 110 kV S5 | RO_RA_00004 | topological_ra | [21 empty] | applied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological_ra | [21 empty] | applied
TOP_CLOSE_400kV_Resita_Pancevo_c2 | RO_RA_00104 | topological_ra | [21 empty] | applied
PRA 400/220kV AT3 Arad | RO_RA_00001 | pst_ra | [21 empty] | applied
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst_ra | [21 empty] | applied
PST_ARAD 400/220_3 | RO_RA_00101 | pst_ra | [21 empty] | applied
PST_URECHESTI 400/220_1 | RO_RA_00102 | pst_ra | [21 empty] | applied
NonCostly Step 5
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
Costly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
RVMAR_5 _generator | RO_RA_00116 | costly_ra | [6 empty] | 0 |  | 0 | [11 empty] | 0 | 0 | 50 | 0
RGODI_5 _generator | RO_RA_00117 | costly_ra | [6 empty] | 0 |  | 0 | [11 empty] | 0 | 0 | 114 | 0
RTOPV_5 _generator | RO_RA_00120 | costly_ra | [6 empty] | 0 |  | 0 |  | 0 | [9 empty] | 0 | 0 | 0 | 0
RVLCE15 _generator | RO_RA_00122 | costly_ra | [6 empty] | 0 |  | 0 |  | 0 | [9 empty] | 0 | 0 | 0 | 0
RAREF_5 _generator | RO_RA_00125 | costly_ra | [6 empty] | 10 |  | 0 | [11 empty] | 0 | 0 | 0 | 0
RARGS_5 _generator | RO_RA_00126 | costly_ra | [6 empty] | 0 |  | 0 |  | 0 | [9 empty] | 0 | 0 | 0 | 0
RALBE_5 _generator | RO_RA_00127 | costly_ra | [6 empty] | 0 |  | 0 |  | 0 | [9 empty] | 0 | 0 | 0 | 0
RCLNG_5 _generator | RO_RA_00130 | costly_ra | [6 empty] | 0 |  | 0 |  | 0 | [9 empty] | 0 | 0 | 0 | 0
RSTUP_5 _generator | RO_RA_00134 | costly_ra | [6 empty] | 45 | [13 empty] | 0 | 0 | 0 | 0
RDAIES5 _generator | RO_RA_00135 | costly_ra | [6 empty] | 0 |  | 0 | [11 empty] | 0 | 0 | 0 | 0
RVILN_5 _generator | RO_RA_00136 | costly_ra | [6 empty] | 0 | [13 empty] | 0 | 0 | 0 | 0
RRIUR15 _generator | RO_RA_00137 | costly_ra | [6 empty] | 48 |  | 0 | [11 empty] | 0 | 0 | 0 | 0
RMARC_5 _generator | RO_RA_00138 | costly_ra | [6 empty] | 39 |  | 0 |  | 0 | [9 empty] | 0 | 0 | 0 | 0
RIONE_5 _generator | RO_RA_00139 | costly_ra | [6 empty] | 38 |  | 0 | [11 empty] | 0 | 0 | 0 | 0
RJIBL_5 _generator | RO_RA_00140 | costly_ra | [6 empty] | 0 | [13 empty] | 0 | 0 | 0 | 0
RZAVI_5 _generator | RO_RA_00141 | costly_ra | [6 empty] | 38 |  | 0 | [11 empty] | 0 | 0 | 0 | 0
RCHTU_5 _generator | RO_RA_00142 | costly_ra | [6 empty] | 0 |  | 0 | [11 empty] | 0 | 0 | 0 | 0
RTRAI_5 _generator | RO_RA_00143 | costly_ra | [6 empty] | 27 |  | 0 | [11 empty] | 0 | 0 | 0 | 0
RHGLOT5 _generator | RO_RA_00144 | costly_ra | [6 empty] | 0 | [13 empty] | 0 | 0 | 0 | 0
RCHESJ5 _generator | RO_RA_00145 | costly_ra | [6 empty] | 50 |  | 50 |  | 0 | [9 empty] | 0 | 0 | 0 | 0
RCHEAC5 _generator | RO_RA_00146 | costly_ra | [6 empty] | 38 |  | 38 |  | 0 | [9 empty] | 0 | 2 | 0 | 0
RCHEST5 _generator | RO_RA_00147 | costly_ra | [6 empty] | 26 |  | 22 |  | 0 | [9 empty] | 0 | 0 | 0 | 0
RCHEIO5 _generator | RO_RA_00148 | costly_ra | [6 empty] | 53 |  | 53 |  | 0 | [9 empty] | 0 | 53 | 0 | 0
RCHDO_5 _generator | RO_RA_00149 | costly_ra | [6 empty] | 53 |  | 53 |  | 50 | [9 empty] | 0 | 53 | 53 | 49
RFRUN_5 _generator | RO_RA_00150 | costly_ra | [6 empty] | 53 |  | 53 |  | 53 | [9 empty] | 0 | 53 | 14 | 0
RCIZBI5 _generator | RO_RA_00151 | costly_ra | [6 empty] | 53 |  | 53 |  | 53 | [9 empty] | 0 | 53 | 53 | 0
RRUSA_5 _generator | RO_RA_00152 | costly_ra | [6 empty] | 53 |  | 53 |  | 0 | [9 empty] | 0 | 53 | 0 | 0
RHCORN5 _generator | RO_RA_00153 | costly_ra | [6 empty] | 0 |  | 0 |  | 0 | [9 empty] | 0 | 0 | 0 | 0
RFAGA_5 _generator | RO_RA_00154 | costly_ra | [6 empty] | 0 |  | 0 |  | 0 | [9 empty] | 0 | 0 | 0 | 0
RUCEA25 _generator | RO_RA_00155 | costly_ra | [6 empty] | 0 |  | 0 |  | 0 | [9 empty] | 0 | 0 | 0 | 0
RUCEA15 _generator | RO_RA_00156 | costly_ra | [6 empty] | 0 |  | 0 |  | 0 | [9 empty] | 0 | 0 | 0 | 0
RCIRT_5 _generator | RO_RA_00157 | costly_ra | [6 empty] | 0 |  | 0 |  | 0 | [9 empty] | 0 | 0 | 0 | 0
RVADU_5 _generator | RO_RA_00160 | costly_ra | [6 empty] | 0 | [13 empty] | 0 | 0 | 0 | 0
RIZVO_5 _generator | RO_RA_00161 | costly_ra | [6 empty] | 0 | [13 empty] | 0 | 0 | 0 | 0
RDUMB_5 _generator | RO_RA_00162 | costly_ra | [6 empty] | 0 |  | 0 |  | 0 | [9 empty] | 0 | 0 | 0 | 0
RCOST_5 _generator | RO_RA_00163 | costly_ra | [6 empty] | 0 |  | 0 |  | 0 | [9 empty] | 0 | 0 | 0 | 0
RBUHU_5 _generator | RO_RA_00164 | costly_ra | [6 empty] | 0 |  | 0 |  | 0 | [9 empty] | 0 | 0 | 0 | 0
RRACO_5 _generator | RO_RA_00165 | costly_ra | [6 empty] | 0 |  | 0 |  | 0 | [9 empty] | 0 | 0 | 0 | 0
RGARL_5 _generator | RO_RA_00166 | costly_ra | [6 empty] | 0 |  | 0 |  | 0 | [9 empty] | 0 | 0 | 0 | 0
RLILI_5 _generator | RO_RA_00167 | costly_ra | [6 empty] | 0 |  | 0 |  | 0 | [9 empty] | 0 | 0 | 0 | 0
RBACS_5 _generator | RO_RA_00168 | costly_ra | [6 empty] | 0 |  | 0 |  | 0 | [9 empty] | 0 | 0 | 0 | 0
RFARA_5 _generator | RO_RA_00169 | costly_ra | [6 empty] | 0 |  | 0 |  | 0 | [9 empty] | 0 | 0 | 0 | 0
RSISC_5 _generator | RO_RA_00170 | costly_ra | [6 empty] | 0 |  | 0 |  | 0 | [9 empty] | 0 | 0 | 0 | 0
RMARA_5 _generator | RO_RA_00171 | costly_ra | [6 empty] | 0 |  | 0 |  | 0 | [9 empty] | 0 | 0 | 0 | 0
RTECU_5 _generator | RO_RA_00172 | costly_ra | [6 empty] | 0 |  | 0 |  | 0 | [9 empty] | 0 | 0 | 0 | 0
RSEBE_5 _generator | RO_RA_00176 | costly_ra | [6 empty] | 0 |  | 0 |  | 0 | [9 empty] | 0 | 0 | 0 | 0
RFMEP_5 _generator | RO_RA_00121 | costly_ra | [8 empty] | 0 | [11 empty] | 0 | 0 | 0 | 0
RVALD_5 _generator | RO_RA_00123 | costly_ra | [8 empty] | 0 | [11 empty] | 0 | 0 | 0 | 0
RCERB_5 _generator | RO_RA_00128 | costly_ra | [8 empty] | 0 | [11 empty] | 0 | 0 | 0 | 0
RVLCE25 _generator | RO_RA_00129 | costly_ra | [8 empty] | 0 | [11 empty] | 0 | 0 | 0 | 0
RPDF222 _generator | RO_RA_00114 | costly_ra | [20 empty] | 580 | 548 | 407 | 580
RPDF212 _generator | RO_RA_00115 | costly_ra | [20 empty] | 227 |  |  | 130
RELAR_5 _generator | RO_RA_00124 | costly_ra | [20 empty] | 0 | 0 | 0 | 0
RRETE_5 _generator | RO_RA_00181 | costly_ra | [20 empty] | 0 | 0 | 20 | 0
RCIRNA5 _generator | RO_RA_00182 | costly_ra | [20 empty] | 0 | 0 | 0 | 0
RCIRNB5 _generator | RO_RA_00183 | costly_ra | [20 empty] | 0 | 0 | 0 | 0
RHATE_5 _generator | RO_RA_00184 | costly_ra | [20 empty] | 0 | 0 | 0 | 0
RRETE22 _generator | RO_RA_00180 | costly_ra | [22 empty] | 42