## SRO borders-exports
SUBMISSION DATE: | 16.05.2026
BUSINESS DATE: | 18.05.2026
DA CC Remedial Actions
From Hour (CET) | To Hour (CET) | CO | CNE | Loading (%) | TTC South Romania | NTC South Romania | NTC RO-BG
00:00 | 01:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 83 | 3466 | 3266 | 2286
01:00 | 02:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 83 | 3462 | 3262 | 2283
02:00 | 03:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 84 | 3474 | 3274 | 2292
03:00 | 04:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 86 | 3479 | 3279 | 2295
04:00 | 05:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 86 | 3445 | 3245 | 2272
05:00 | 06:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 84 | 3380 | 3180 | 2226
06:00 | 07:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 84 | 3313 | 3113 | 2179
07:00 | 08:00 | N-1 TIE 400 kV Isaccea - Vulcanesti | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 85 | 3168 | 2968 | 2078
08:00 | 09:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 97 | 3151 | 2951 | 2066
09:00 | 10:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2877 | 2677 | 1874
10:00 | 11:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2757 | 2557 | 1790
11:00 | 12:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3211 | 3011 | 2108
12:00 | 13:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 98 | 3416 | 3216 | 2251
13:00 | 14:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 98 | 3490 | 3290 | 2303
14:00 | 15:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 91 | 3519 | 3319 | 2323
15:00 | 16:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 89 | 3455 | 3255 | 2278
16:00 | 17:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3213 | 3013 | 2109
17:00 | 18:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 98 | 3417 | 3217 | 2252
18:00 | 19:00 | N-1 TRA 400/220 kV AT2 Portile de Fier | [RO-RO] [OPP] TRA 400/220 kV AT1 Portile de Fier | 90 | 3318 | 3118 | 2183
19:00 | 20:00 | N-1 TIE 400 kV Isaccea - Vulcanesti | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 93 | 3212 | 3012 | 2108
20:00 | 21:00 | N-1 TIE 400 kV Isaccea - Vulcanesti | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 94 | 3170 | 2970 | 2079
21:00 | 22:00 | N-1 TIE 400 kV Isaccea - Vulcanesti | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 96 | 3232 | 3032 | 2122
22:00 | 23:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 83 | 3258 | 3058 | 2141
23:00 | 00:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 80 | 3372 | 3172 | 2220

## SRO borders-imports
SUBMISSION DATE: | 16.05.2026
BUSINESS DATE: | 18.05.2026
DA CC Remedial Actions
From Hour (CET) | To Hour (CET) | CO | CNE | Loading (%) | TTC South Romania | NTC South Romania | NTC BG-RO
00:00 | 01:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 99 | 3855 | 3655 | 2558
01:00 | 02:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 98 | 3852 | 3652 | 2556
02:00 | 03:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 97 | 3804 | 3604 | 2523
03:00 | 04:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 95 | 3739 | 3539 | 2477
04:00 | 05:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 95 | 3798 | 3598 | 2519
05:00 | 06:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 95 | 3859 | 3659 | 2561
06:00 | 07:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 87 | 3866 | 3666 | 2566
07:00 | 08:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 97 | 3485 | 3285 | 2300
08:00 | 09:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 98 | 3173 | 2973 | 2081
09:00 | 10:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 100 | 3538 | 3338 | 2337
10:00 | 11:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 100 | 3454 | 3254 | 2278
11:00 | 12:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 100 | 3696 | 3496 | 2447
12:00 | 13:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 100 | 3883 | 3683 | 2578
13:00 | 14:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 98 | 3891 | 3691 | 2584
14:00 | 15:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 92 | 3852 | 3652 | 2556
15:00 | 16:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 99 | 4250 | 4050 | 2835
16:00 | 17:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 4328 | 4128 | 2890
17:00 | 18:00 | N-1 OHL 220 kV Resita-Timisoara c2 | [RO-RO] [DIR] OHL 220 kV Resita-Timisoara c1 | 100 | 3875 | 3675 | 2572
18:00 | 19:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3853 | 3653 | 2557
19:00 | 20:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 93 | 3955 | 3755 | 2628
20:00 | 21:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3870 | 3670 | 2569
21:00 | 22:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 4147 | 3947 | 2763
22:00 | 23:00 | N-1 OHL 220 kV Resita-Timisoara c2 | [RO-RO] [DIR] OHL 220 kV Resita-Timisoara c1 | 101 | 3762 | 3562 | 2493
23:00 | 00:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 99 | 3807 | 3607 | 2525

## SRO borders-exports RAs
SUBMISSION DATE: | 16.05.2026
BUSINESS DATE: | 18.05.2026
DA CC Remedial Actions
Initial CCC
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst | helpful | helpful | helpful | helpful | helpful | helpful | notApplied | notApplied | helpful | helpful | helpful | helpful | helpful | helpful | helpful | notApplied | helpful | helpful | notApplied | notApplied | helpful | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00010 | topological | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 2 | RO_RA_00013 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Resita-Pancevo c1 | RO_RA_00016 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
NonCostly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
NonCostly Step 5
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
Costly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30

## SRO borders-imports RAs
SUBMISSION DATE: | 16.05.2026
BUSINESS DATE: | 18.05.2026
DA CC Remedial Actions
Initial CCC
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400 kV TINTARENI-KOZLODUI 1 | BG_RA_00001 | topological | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst | helpful | helpful | helpful | helpful | helpful | helpful | notApplied | notApplied | [5 empty] | notApplied | notApplied | notApplied | notApplied | helpful | helpful | notApplied | helpful | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00010 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Tantareni-Kozlodui 2 | RO_RA_00013 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | [5 empty] | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | [5 empty] | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Resita-Pancevo c1 | RO_RA_00016 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | [5 empty] | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
NonCostly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst_ra | [17 empty] | applied |  |  |  | applied
PST_ARAD 400/220_3 | RO_RA_00101 | pst_ra | [17 empty] | applied |  |  |  | applied
PST_URECHESTI 400/220_1 | RO_RA_00102 | pst_ra | [17 empty] | applied |  |  |  | applied
PRA 110 kV S5 | RO_RA_00004 | topological_ra | [21 empty] | applied
PRA 110 kV Dobrogea | RO_RA_00006 | topological_ra | [21 empty] | applied
NonCostly Step 5
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
Costly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
RPDF222 _generator | RO_RA_00114 | costly_ra | [17 empty] | 252 |  |  |  | 580
RPDF212 _generator | RO_RA_00115 | costly_ra | [17 empty] | 389 |  |  |  | 278
RVMAR_5 _generator | RO_RA_00116 | costly_ra | [17 empty] | 0 |  |  |  | 0
RGODI_5 _generator | RO_RA_00117 | costly_ra | [17 empty] | 0 |  |  |  | 0
RTOPV_5 _generator | RO_RA_00120 | costly_ra | [17 empty] | 0 |  |  |  | 0
RFMEP_5 _generator | RO_RA_00121 | costly_ra | [17 empty] | 0 |  |  |  | 0
RVLCE15 _generator | RO_RA_00122 | costly_ra | [17 empty] | 0 |  |  |  | 0
RVALD_5 _generator | RO_RA_00123 | costly_ra | [17 empty] | 0 |  |  |  | 0
RAREF_5 _generator | RO_RA_00125 | costly_ra | [17 empty] | 0 |  |  |  | 0
RARGS_5 _generator | RO_RA_00126 | costly_ra | [17 empty] | 0 |  |  |  | 0
RALBE_5 _generator | RO_RA_00127 | costly_ra | [17 empty] | 0 |  |  |  | 0
RCERB_5 _generator | RO_RA_00128 | costly_ra | [17 empty] | 0 |  |  |  | 0
RVLCE25 _generator | RO_RA_00129 | costly_ra | [17 empty] | 0 |  |  |  | 0
RCLNG_5 _generator | RO_RA_00130 | costly_ra | [17 empty] | 0 |  |  |  | 0
RSTUP_5 _generator | RO_RA_00134 | costly_ra | [17 empty] | 0 |  |  |  | 0
RDAIES5 _generator | RO_RA_00135 | costly_ra | [17 empty] | 0 |  |  |  | 0
RVILN_5 _generator | RO_RA_00136 | costly_ra | [17 empty] | 0 |  |  |  | 0
RRIUR15 _generator | RO_RA_00137 | costly_ra | [17 empty] | 0 |  |  |  | 0
RMARC_5 _generator | RO_RA_00138 | costly_ra | [17 empty] | 0 |  |  |  | 0
RIONE_5 _generator | RO_RA_00139 | costly_ra | [17 empty] | 0 |  |  |  | 0
RJIBL_5 _generator | RO_RA_00140 | costly_ra | [17 empty] | 0 |  |  |  | 0
RZAVI_5 _generator | RO_RA_00141 | costly_ra | [17 empty] | 0 |  |  |  | 0
RCHTU_5 _generator | RO_RA_00142 | costly_ra | [17 empty] | 0 |  |  |  | 0
RTRAI_5 _generator | RO_RA_00143 | costly_ra | [17 empty] | 0 |  |  |  | 0
RHGLOT5 _generator | RO_RA_00144 | costly_ra | [17 empty] | 0 |  |  |  | 0
RCHESJ5 _generator | RO_RA_00145 | costly_ra | [17 empty] | 0 |  |  |  | 0
RCHEAC5 _generator | RO_RA_00146 | costly_ra | [17 empty] | 0 |  |  |  | 0
RCHEST5 _generator | RO_RA_00147 | costly_ra | [17 empty] | 0 |  |  |  | 0
RCHEIO5 _generator | RO_RA_00148 | costly_ra | [17 empty] | 0 |  |  |  | 0
RCHDO_5 _generator | RO_RA_00149 | costly_ra | [17 empty] | 0 |  |  |  | 0
RFRUN_5 _generator | RO_RA_00150 | costly_ra | [17 empty] | 0 |  |  |  | 0
RCIZBI5 _generator | RO_RA_00151 | costly_ra | [17 empty] | 0 |  |  |  | 0
RHCORN5 _generator | RO_RA_00153 | costly_ra | [17 empty] | 0 |  |  |  | 0
RFAGA_5 _generator | RO_RA_00154 | costly_ra | [17 empty] | 0 |  |  |  | 0
RUCEA25 _generator | RO_RA_00155 | costly_ra | [17 empty] | 0 |  |  |  | 0
RUCEA15 _generator | RO_RA_00156 | costly_ra | [17 empty] | 0 |  |  |  | 0
RCIRT_5 _generator | RO_RA_00157 | costly_ra | [17 empty] | 0 |  |  |  | 0
RRACO_5 _generator | RO_RA_00165 | costly_ra | [17 empty] | 0 |  |  |  | 0
RGARL_5 _generator | RO_RA_00166 | costly_ra | [17 empty] | 0 |  |  |  | 0
RLILI_5 _generator | RO_RA_00167 | costly_ra | [17 empty] | 0 |  |  |  | 0
RBACS_5 _generator | RO_RA_00168 | costly_ra | [17 empty] | 0 |  |  |  | 0
RFARA_5 _generator | RO_RA_00169 | costly_ra | [17 empty] | 0 |  |  |  | 0
RSISC_5 _generator | RO_RA_00170 | costly_ra | [17 empty] | 0 |  |  |  | 0
RMARA_5 _generator | RO_RA_00171 | costly_ra | [17 empty] | 0 |  |  |  | 0
RTECU_5 _generator | RO_RA_00172 | costly_ra | [17 empty] | 0 |  |  |  | 0
RSEBE_5 _generator | RO_RA_00176 | costly_ra | [17 empty] | 0 |  |  |  | 0
RRETE22 _generator | RO_RA_00180 | costly_ra | [17 empty] | 163 |  |  |  | 0
RRETE_5 _generator | RO_RA_00181 | costly_ra | [17 empty] | 0 |  |  |  | 0
RCIRNA5 _generator | RO_RA_00182 | costly_ra | [17 empty] | 0 |  |  |  | 0
RCIRNB5 _generator | RO_RA_00183 | costly_ra | [17 empty] | 0 |  |  |  | 0
RHATE_5 _generator | RO_RA_00184 | costly_ra | [17 empty] | 0 |  |  |  | 0
RROVI31 _generator | RO_RA_00105 | costly_ra | [21 empty] | 1
RTURC51 _generator | RO_RA_00108 | costly_ra | [21 empty] | 38
RBRZ241 _generator | RO_RA_00112 | costly_ra | [21 empty] | 1
RBRAZ22 _generator | RO_RA_00113 | costly_ra | [21 empty] | 1
RELAR_5 _generator | RO_RA_00124 | costly_ra | [21 empty] | 0
RLOTR22 _generator | RO_RA_00131 | costly_ra | [21 empty] | 0
RLOT212 _generator | RO_RA_00132 | costly_ra | [21 empty] | 0
RBRDS25 _generator | RO_RA_00133 | costly_ra | [21 empty] | 0
RRUSA_5 _generator | RO_RA_00152 | costly_ra | [21 empty] | 0
RSUGA22 _generator | RO_RA_00174 | costly_ra | [21 empty] | 0
RGILC22 _generator | RO_RA_00175 | costly_ra | [21 empty] | 0
RREME_5 _generator | RO_RA_00178 | costly_ra | [21 empty] | 0
RMUNT_5 _generator | RO_RA_00179 | costly_ra | [21 empty] | 0