## SRO borders-exports
SUBMISSION DATE: | 20.05.2026
BUSINESS DATE: | 22.05.2026
DA CC Remedial Actions
From Hour (CET) | To Hour (CET) | CO | CNE | Loading (%) | TTC South Romania | NTC South Romania | NTC RO-BG
00:00 | 01:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 94 | 3618 | 3418 | 2393
01:00 | 02:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 94 | 3561 | 3361 | 2353
02:00 | 03:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 96 | 3569 | 3369 | 2358
03:00 | 04:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 96 | 3554 | 3354 | 2348
04:00 | 05:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 96 | 3537 | 3337 | 2336
05:00 | 06:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 95 | 3488 | 3288 | 2302
06:00 | 07:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 96 | 3395 | 3195 | 2236
07:00 | 08:00 | N-1 TIE 400 kV Portile de Fier-Djerdap | [RO-RO] [OPP] TRA 400/220 kV AT2 Portile de Fier | 98 | 1796 | 1596 | 1117
08:00 | 09:00 | N-1 TRA 400/220 kV AT3 Portile de Fier | [RO-RO] [OPP] TRA 400/220 kV AT1 Portile de Fier | 99 | 1962 | 1762 | 1233
09:00 | 10:00 | N-1 TRA 400/220 kV AT3 Portile de Fier | [RO-RO] [OPP] TRA 400/220 kV AT1 Portile de Fier | 100 | 1881 | 1681 | 1177
10:00 | 11:00 | N-1 TRA 400/220 kV AT3 Portile de Fier | [RO-RO] [OPP] TRA 400/220 kV AT1 Portile de Fier | 98 | 1688 | 1488 | 1042
11:00 | 12:00 | N-1 TRA 400/220 kV AT3 Portile de Fier | [RO-RO] [OPP] TRA 400/220 kV AT1 Portile de Fier | 100 | 1909 | 1709 | 1196
12:00 | 13:00 | N-1 TIE 400 kV Portile de Fier-Djerdap | [RO-RO] [OPP] TRA 400/220 kV AT2 Portile de Fier | 99 | 1630 | 1430 | 1001
13:00 | 14:00 | N-1 TRA 400/220 kV AT3 Portile de Fier | [RO-RO] [OPP] TRA 400/220 kV AT1 Portile de Fier | 100 | 1746 | 1546 | 1082
14:00 | 15:00 | N-1 TIE 400 kV Portile de Fier-Djerdap | [RO-RO] [OPP] TRA 400/220 kV AT2 Portile de Fier | 99 | 1747 | 1547 | 1083
15:00 | 16:00 | N-1 TIE 400 kV Portile de Fier-Djerdap | [RO-RO] [OPP] TRA 400/220 kV AT2 Portile de Fier | 98 | 1322 | 1122 | 785
16:00 | 17:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 95 | 3408 | 3208 | 2246
17:00 | 18:00 | N-1 TRA 400/220 kV AT2 Portile de Fier | [RO-RO] [OPP] TRA 400/220 kV AT1 Portile de Fier | 92 | 3531 | 3331 | 2332
18:00 | 19:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 94 | 3389 | 3189 | 2232
19:00 | 20:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 95 | 3292 | 3092 | 2164
20:00 | 21:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 95 | 3253 | 3053 | 2138
21:00 | 22:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 96 | 3269 | 3069 | 2148
22:00 | 23:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 94 | 3433 | 3233 | 2263
23:00 | 00:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 91 | 3577 | 3377 | 2364

## SRO borders-imports
SUBMISSION DATE: | 20.05.2026
BUSINESS DATE: | 22.05.2026
DA CC Remedial Actions
From Hour (CET) | To Hour (CET) | CO | CNE | Loading (%) | TTC South Romania | NTC South Romania | NTC BG-RO
00:00 | 01:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 98 | 3554 | 3354 | 2348
01:00 | 02:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 98 | 3803 | 3603 | 2522
02:00 | 03:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 96 | 3731 | 3531 | 2472
03:00 | 04:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 94 | 3709 | 3509 | 2456
04:00 | 05:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 94 | 3707 | 3507 | 2455
05:00 | 06:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 93 | 3468 | 3268 | 2288
06:00 | 07:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 98 | 3830 | 3630 | 2541
07:00 | 08:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 96 | 3949 | 3749 | 2624
08:00 | 09:00 | N-1 OHL 400 kV Arefu-Sibiu Sud | [RO-RO] [DIR] OHL 220 kV Resita-Timisoara c1 | 95 | 3996 | 3796 | 2657
09:00 | 10:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 100 | 3798 | 3598 | 2519
10:00 | 11:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 100 | 3859 | 3659 | 2561
11:00 | 12:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 100 | 4087 | 3887 | 2721
12:00 | 13:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 86 | 3880 | 3680 | 2576
13:00 | 14:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 87 | 3863 | 3663 | 2564
14:00 | 15:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 82 | 3857 | 3657 | 2560
15:00 | 16:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 95 | 4025 | 3825 | 2678
16:00 | 17:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 92 | 3912 | 3712 | 2598
17:00 | 18:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3209 | 3009 | 2106
18:00 | 19:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 99 | 3552 | 3352 | 2346
19:00 | 20:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 99 | 3802 | 3602 | 2521
20:00 | 21:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3655 | 3455 | 2418
21:00 | 22:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3788 | 3588 | 2512
22:00 | 23:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3258 | 3058 | 2141
23:00 | 00:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 2930 | 2730 | 1911

## SRO borders-exports RAs
SUBMISSION DATE: | 20.05.2026
BUSINESS DATE: | 22.05.2026
DA CC Remedial Actions
Initial CCC
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | notApplied | notApplied | notApplied | notApplied | helpful | helpful | helpful | helpful | helpful | notApplied | notApplied | notApplied | helpful | notApplied | notApplied | notApplied
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00010 | topological | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 2 | RO_RA_00013 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Resita-Pancevo c1 | RO_RA_00016 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
NonCostly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
NonCostly Step 5
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
Costly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30

## SRO borders-imports RAs
SUBMISSION DATE: | 20.05.2026
BUSINESS DATE: | 22.05.2026
DA CC Remedial Actions
Initial CCC
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400 kV TINTARENI-KOZLODUI 1 | BG_RA_00001 | topological | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst | helpful | helpful | helpful | helpful | helpful | helpful | notApplied | notApplied | notApplied | helpful | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00010 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 2 | RO_RA_00013 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Resita-Pancevo c1 | RO_RA_00016 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
NonCostly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 110 kV S5 | RO_RA_00004 | topological_ra | [8 empty] | applied | [12 empty] | applied
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst_ra | [8 empty] | applied | [12 empty] | applied
PST_ARAD 400/220_3 | RO_RA_00101 | pst_ra | [8 empty] | applied | [12 empty] | applied
PST_URECHESTI 400/220_1 | RO_RA_00102 | pst_ra | [8 empty] | applied | [12 empty] | applied
NonCostly Step 5
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
Costly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
RPDF222 _generator | RO_RA_00114 | costly_ra | [17 empty] | 249 |  |  |  | 580 |  | 0
RVMAR_5 _generator | RO_RA_00116 | costly_ra | [17 empty] | 50 |  |  |  | 0
RGODI_5 _generator | RO_RA_00117 | costly_ra | [17 empty] | 114 |  |  |  | 0
RTOPV_5 _generator | RO_RA_00120 | costly_ra | [17 empty] | 0 |  |  |  | 0 |  | 0
RFMEP_5 _generator | RO_RA_00121 | costly_ra | [17 empty] | 0 |  |  |  | 0 |  | 0
RVLCE15 _generator | RO_RA_00122 | costly_ra | [17 empty] | 0 |  |  |  | 0 |  | 0
RVALD_5 _generator | RO_RA_00123 | costly_ra | [17 empty] | 0 |  |  |  | 0 |  | 0
RELAR_5 _generator | RO_RA_00124 | costly_ra | [17 empty] | 0 |  |  |  | 0 |  | 0
RAREF_5 _generator | RO_RA_00125 | costly_ra | [17 empty] | 0 |  |  |  | 0 |  | 0
RARGS_5 _generator | RO_RA_00126 | costly_ra | [17 empty] | 0 |  |  |  | 0 |  | 0
RALBE_5 _generator | RO_RA_00127 | costly_ra | [17 empty] | 0 |  |  |  | 0 |  | 0
RCERB_5 _generator | RO_RA_00128 | costly_ra | [17 empty] | 0 |  |  |  | 0 |  | 0
RVLCE25 _generator | RO_RA_00129 | costly_ra | [17 empty] | 0 |  |  |  | 0 |  | 0
RCLNG_5 _generator | RO_RA_00130 | costly_ra | [17 empty] | 0 |  |  |  | 0 |  | 0
RSTUP_5 _generator | RO_RA_00134 | costly_ra | [17 empty] | 0 |  |  |  | 0 |  | 0
RDAIES5 _generator | RO_RA_00135 | costly_ra | [17 empty] | 0 |  |  |  | 0 |  | 0
RVILN_5 _generator | RO_RA_00136 | costly_ra | [17 empty] | 0 |  |  |  | 0 |  | 0
RRIUR15 _generator | RO_RA_00137 | costly_ra | [17 empty] | 0 |  |  |  | 0 |  | 0
RMARC_5 _generator | RO_RA_00138 | costly_ra | [17 empty] | 0 |  |  |  | 0 |  | 0
RIONE_5 _generator | RO_RA_00139 | costly_ra | [17 empty] | 0 |  |  |  | 0 |  | 0
RJIBL_5 _generator | RO_RA_00140 | costly_ra | [17 empty] | 0 |  |  |  | 0 |  | 0
RZAVI_5 _generator | RO_RA_00141 | costly_ra | [17 empty] | 0 |  |  |  | 0 |  | 0
RCHTU_5 _generator | RO_RA_00142 | costly_ra | [17 empty] | 0 |  |  |  | 0 |  | 0
RTRAI_5 _generator | RO_RA_00143 | costly_ra | [17 empty] | 0 |  |  |  | 0 |  | 0
RHGLOT5 _generator | RO_RA_00144 | costly_ra | [17 empty] | 0 |  |  |  | 0 |  | 0
RCHESJ5 _generator | RO_RA_00145 | costly_ra | [17 empty] | 0 |  |  |  | 0 |  | 0
RCHEAC5 _generator | RO_RA_00146 | costly_ra | [17 empty] | 0 |  |  |  | 0 |  | 0
RCHEST5 _generator | RO_RA_00147 | costly_ra | [17 empty] | 0 |  |  |  | 0 |  | 0
RCHEIO5 _generator | RO_RA_00148 | costly_ra | [17 empty] | 0 |  |  |  | 0 |  | 0
RCHDO_5 _generator | RO_RA_00149 | costly_ra | [17 empty] | 0 |  |  |  | 0 |  | 0
RFRUN_5 _generator | RO_RA_00150 | costly_ra | [17 empty] | 0 |  |  |  | 0 |  | 0
RCIZBI5 _generator | RO_RA_00151 | costly_ra | [17 empty] | 0 |  |  |  | 0 |  | 0
RRUSA_5 _generator | RO_RA_00152 | costly_ra | [17 empty] | 0 |  |  |  | 0 |  | 0
RHCORN5 _generator | RO_RA_00153 | costly_ra | [17 empty] | 0 |  |  |  | 0 |  | 0
RFAGA_5 _generator | RO_RA_00154 | costly_ra | [17 empty] | 0 |  |  |  | 0 |  | 0
RUCEA25 _generator | RO_RA_00155 | costly_ra | [17 empty] | 0 |  |  |  | 0 |  | 0
RUCEA15 _generator | RO_RA_00156 | costly_ra | [17 empty] | 0 |  |  |  | 0 |  | 0
RCIRT_5 _generator | RO_RA_00157 | costly_ra | [17 empty] | 0 |  |  |  | 0 |  | 0
RDUMB_5 _generator | RO_RA_00162 | costly_ra | [17 empty] | 0 |  |  |  | 0 |  | 0
RCOST_5 _generator | RO_RA_00163 | costly_ra | [17 empty] | 0 |  |  |  | 0 |  | 0
RBUHU_5 _generator | RO_RA_00164 | costly_ra | [17 empty] | 0 |  |  |  | 13 |  | 0
RRACO_5 _generator | RO_RA_00165 | costly_ra | [17 empty] | 0 |  |  |  | 23 |  | 0
RGARL_5 _generator | RO_RA_00166 | costly_ra | [17 empty] | 0 |  |  |  | 23 |  | 0
RLILI_5 _generator | RO_RA_00167 | costly_ra | [17 empty] | 0 |  |  |  | 23 |  | 0
RBACS_5 _generator | RO_RA_00168 | costly_ra | [17 empty] | 0 |  |  |  | 98 |  | 0
RFARA_5 _generator | RO_RA_00169 | costly_ra | [17 empty] | 0 |  |  |  | 30 |  | 0
RSISC_5 _generator | RO_RA_00170 | costly_ra | [17 empty] | 0 |  |  |  | 44 |  | 0
RMARA_5 _generator | RO_RA_00171 | costly_ra | [17 empty] | 0 |  |  |  | 46 |  | 0
RTECU_5 _generator | RO_RA_00172 | costly_ra | [17 empty] | 0 |  |  |  | 0 |  | 0
RSEBE_5 _generator | RO_RA_00176 | costly_ra | [17 empty] | 0 |  |  |  | 0 |  | 0
RRETE22 _generator | RO_RA_00180 | costly_ra | [17 empty] | 222 |  |  |  | 0
RRETE_5 _generator | RO_RA_00181 | costly_ra | [17 empty] | 20 |  |  |  | 0 |  | 0
RCIRNA5 _generator | RO_RA_00182 | costly_ra | [17 empty] | 29 |  |  |  | 0 |  | 0
RCIRNB5 _generator | RO_RA_00183 | costly_ra | [17 empty] | 27 |  |  |  | 0 |  | 0
RHATE_5 _generator | RO_RA_00184 | costly_ra | [17 empty] | 52 |  |  |  | 0 |  | 0
RROVI31 _generator | RO_RA_00105 | costly_ra | [21 empty] | 1 |  | 288
RTURC51 _generator | RO_RA_00108 | costly_ra | [21 empty] | 1 |  | 300
RBRZ241 _generator | RO_RA_00112 | costly_ra | [21 empty] | 313 |  | 1
RBRAZ22 _generator | RO_RA_00113 | costly_ra | [21 empty] | 1 |  | 1
RPDF212 _generator | RO_RA_00115 | costly_ra | [21 empty] | 65 |  | 0
RLOTR22 _generator | RO_RA_00131 | costly_ra | [21 empty] | 0 |  | 0
RLOT212 _generator | RO_RA_00132 | costly_ra | [21 empty] | 0 |  | 0
RBRDS25 _generator | RO_RA_00133 | costly_ra | [21 empty] | 0 |  | 0
RSTEJ_5 _generator | RO_RA_00158 | costly_ra | [21 empty] | 0 |  | 0
RSTEJ25 _generator | RO_RA_00159 | costly_ra | [21 empty] | 32
RVADU_5 _generator | RO_RA_00160 | costly_ra | [21 empty] | 19
RSUGA22 _generator | RO_RA_00174 | costly_ra | [21 empty] | 0
RREME_5 _generator | RO_RA_00178 | costly_ra | [21 empty] | 0 |  | 96
RMUNT_5 _generator | RO_RA_00179 | costly_ra | [21 empty] | 0 |  | 19
RIZVO_5 _generator | RO_RA_00161 | costly_ra | [23 empty] | 0