## SRO borders-exports
SUBMISSION DATE: | 05.06.2026
BUSINESS DATE: | 07.06.2026
DA CC Remedial Actions
From Hour (CET) | To Hour (CET) | CO | CNE | Loading (%) | TTC South Romania | NTC South Romania | NTC RO-BG
00:00 | 01:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 98 | 3722 | 3522 | 2465
01:00 | 02:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 98 | 3715 | 3515 | 2460
02:00 | 03:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 97 | 3699 | 3499 | 2449
03:00 | 04:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 98 | 3759 | 3559 | 2491
04:00 | 05:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 99 | 3688 | 3488 | 2442
05:00 | 06:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3642 | 3442 | 2409
06:00 | 07:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 101 | 3045 | 2845 | 1992
07:00 | 08:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3401 | 3201 | 2241
08:00 | 09:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3140 | 2940 | 2058
09:00 | 10:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3466 | 3266 | 2286
10:00 | 11:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 92 | 3683 | 3483 | 2438
11:00 | 12:00 | N-1 TRA 400/220 kV AT2 Portile de Fier | [RO-RO] [OPP] TRA 400/220 kV AT1 Portile de Fier | 88 | 3855 | 3655 | 2558
12:00 | 13:00 | N-1 TRA 400/220 kV AT2 Portile de Fier | [RO-RO] [OPP] TRA 400/220 kV AT1 Portile de Fier | 92 | 3827 | 3627 | 2539
13:00 | 14:00 | N-1 TRA 400/220 kV AT2 Portile de Fier | [RO-RO] [OPP] TRA 400/220 kV AT1 Portile de Fier | 93 | 3870 | 3670 | 2569
14:00 | 15:00 | N-1 TRA 400/220 kV AT2 Portile de Fier | [RO-RO] [OPP] TRA 400/220 kV AT1 Portile de Fier | 94 | 3959 | 3759 | 2631
15:00 | 16:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 87 | 3639 | 3439 | 2407
16:00 | 17:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 87 | 3570 | 3370 | 2359
17:00 | 18:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 93 | 3525 | 3325 | 2328
18:00 | 19:00 | N-1 TRA 400/220 kV AT2 Portile de Fier | [RO-RO] [OPP] TRA 400/220 kV AT1 Portile de Fier | 92 | 3482 | 3282 | 2297
19:00 | 20:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3184 | 2984 | 2089
20:00 | 21:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3135 | 2935 | 2054
21:00 | 22:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 99 | 3195 | 2995 | 2096
22:00 | 23:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3453 | 3253 | 2277
23:00 | 00:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 96 | 3733 | 3533 | 2473

## SRO borders-imports
SUBMISSION DATE: | 05.06.2026
BUSINESS DATE: | 07.06.2026
DA CC Remedial Actions
From Hour (CET) | To Hour (CET) | CO | CNE | Loading (%) | TTC South Romania | NTC South Romania | NTC BG-RO
00:00 | 01:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 3502 | 3302 | 2311
01:00 | 02:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 3483 | 3283 | 2298
02:00 | 03:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 3660 | 3460 | 2422
03:00 | 04:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 3604 | 3404 | 2383
04:00 | 05:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 3784 | 3584 | 2509
05:00 | 06:00 | N-1 TIE 400 kV Rosiori-Mukacevo | [RO-RO] [DIR] TRA 400/220 kV AT2 Iernut | 96 | 3852 | 3652 | 2556
06:00 | 07:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 95 | 3863 | 3663 | 2564
07:00 | 08:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 100 | 3492 | 3292 | 2304
08:00 | 09:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 100 | 3387 | 3187 | 2231
09:00 | 10:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 100 | 3559 | 3359 | 2351
10:00 | 11:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 97 | 3947 | 3747 | 2623
11:00 | 12:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3479 | 3279 | 2295
12:00 | 13:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3353 | 3153 | 2207
13:00 | 14:00 | N-1 OHL 400 kV Mintia-Arad | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3203 | 3003 | 2102
14:00 | 15:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 3283 | 3083 | 2158
15:00 | 16:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 90 | 3821 | 3621 | 2535
16:00 | 17:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 99 | 3969 | 3769 | 2638
17:00 | 18:00 | N-1 OHL 400 kV Iernut-Sibiu Sud | [RO-RO] [DIR] TRA 400/220 kV AT Rosiori | 92 | 3988 | 3788 | 2652
18:00 | 19:00 | N-1 OHL 400 kV Iernut-Sibiu Sud | [RO-RO] [DIR] TRA 400/220 kV AT Rosiori | 100 | 3844 | 3644 | 2551
19:00 | 20:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 98 | 3926 | 3726 | 2608
20:00 | 21:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3771 | 3571 | 2500
21:00 | 22:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3571 | 3371 | 2360
22:00 | 23:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3485 | 3285 | 2300
23:00 | 00:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 2948 | 2748 | 1924

## SRO borders-exports RAs
SUBMISSION DATE: | 05.06.2026
BUSINESS DATE: | 07.06.2026
DA CC Remedial Actions
Initial CCC
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst | notApplied | notApplied | notApplied | notApplied | notApplied | helpful | helpful | helpful | helpful | helpful | helpful | helpful |  |  |  | notApplied | notApplied |  |  | helpful | helpful | helpful | helpful | notApplied
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00010 | topological | helpful | helpful | helpful | helpful | helpful | helpful | helpful | notApplied | notApplied | notApplied | notApplied | notApplied |  |  |  | notApplied | notApplied |  |  | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 2 | RO_RA_00013 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied |  |  |  | notApplied | notApplied |  |  | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful |  |  |  | helpful | helpful |  |  | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Resita-Pancevo c1 | RO_RA_00016 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied |  |  |  | notApplied | notApplied |  |  | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV TINTARENI-KOZLODUI 1 | BG_RA_00001 | topological |  |  |  | notApplied
NonCostly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
NonCostly Step 5
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
Costly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30

## SRO borders-imports RAs
SUBMISSION DATE: | 05.06.2026
BUSINESS DATE: | 07.06.2026
DA CC Remedial Actions
Initial CCC
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400 kV TINTARENI-KOZLODUI 1 | BG_RA_00001 | topological | notApplied | notApplied | notApplied |  | notApplied | notApplied | notApplied | [12 empty] | notApplied | notApplied | notApplied
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst | notApplied | helpful | notApplied | notApplied | notApplied | notApplied | notApplied |  |  |  |  | helpful | helpful | helpful | notApplied |  |  |  | notApplied | notApplied | helpful | helpful | notApplied | helpful
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00010 | topological | helpful | helpful | helpful | helpful | helpful | helpful | helpful |  |  |  |  | notApplied | notApplied | notApplied | notApplied |  |  |  | notApplied | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 2 | RO_RA_00013 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied |  |  |  |  | notApplied | notApplied | notApplied | notApplied |  |  |  | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological | helpful | helpful | helpful | helpful | helpful | helpful | helpful |  |  |  |  | helpful | helpful | helpful | helpful |  |  |  | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Resita-Pancevo c1 | RO_RA_00016 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied |  |  |  |  | notApplied | notApplied | notApplied | notApplied |  |  |  | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
NonCostly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 110 kV S5 | RO_RA_00004 | topological_ra | [7 empty] | applied | [9 empty] | applied | applied
PRA 110 kV Dobrogea | RO_RA_00006 | topological_ra | [7 empty] | applied | [9 empty] | applied |  |  |  | applied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological_ra | [7 empty] | applied | [9 empty] | applied
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst_ra | [7 empty] | applied | [9 empty] | applied | applied |  |  | applied
PST_ARAD 400/220_3 | RO_RA_00101 | pst_ra | [7 empty] | applied | [9 empty] | applied | applied |  |  | applied
PST_URECHESTI 400/220_1 | RO_RA_00102 | pst_ra | [7 empty] | applied | [9 empty] | applied | applied |  |  | applied
PRA 110 kV S4 | RO_RA_00003 | topological_ra | [17 empty] | applied
TOP_CLOSE_400kV_Resita_Pancevo_c2 | RO_RA_00104 | topological_ra | [17 empty] | applied
NonCostly Step 5
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
Costly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
RVMAR_5 _generator | RO_RA_00116 | costly_ra | [8 empty] | 50 | [9 empty] | 0 |  |  | 0
RGODI_5 _generator | RO_RA_00117 | costly_ra | [8 empty] | 114 | [9 empty] | 0 |  |  | 0
RTOPV_5 _generator | RO_RA_00120 | costly_ra | [8 empty] | 0 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RFMEP_5 _generator | RO_RA_00121 | costly_ra | [8 empty] | 0 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RVLCE15 _generator | RO_RA_00122 | costly_ra | [8 empty] | 0 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RVALD_5 _generator | RO_RA_00123 | costly_ra | [8 empty] | 0 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RELAR_5 _generator | RO_RA_00124 | costly_ra | [8 empty] | 0 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RAREF_5 _generator | RO_RA_00125 | costly_ra | [8 empty] | 10 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RARGS_5 _generator | RO_RA_00126 | costly_ra | [8 empty] | 0 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RALBE_5 _generator | RO_RA_00127 | costly_ra | [8 empty] | 30 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RCERB_5 _generator | RO_RA_00128 | costly_ra | [8 empty] | 15 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RVLCE25 _generator | RO_RA_00129 | costly_ra | [8 empty] | 0 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RCLNG_5 _generator | RO_RA_00130 | costly_ra | [8 empty] | 0 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RSTUP_5 _generator | RO_RA_00134 | costly_ra | [8 empty] | 0 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RDAIES5 _generator | RO_RA_00135 | costly_ra | [8 empty] | 0 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RVILN_5 _generator | RO_RA_00136 | costly_ra | [8 empty] | 0 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RRIUR15 _generator | RO_RA_00137 | costly_ra | [8 empty] | 48 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RMARC_5 _generator | RO_RA_00138 | costly_ra | [8 empty] | 3 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RIONE_5 _generator | RO_RA_00139 | costly_ra | [8 empty] | 0 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RJIBL_5 _generator | RO_RA_00140 | costly_ra | [8 empty] | 0 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RZAVI_5 _generator | RO_RA_00141 | costly_ra | [8 empty] | 38 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RCHTU_5 _generator | RO_RA_00142 | costly_ra | [8 empty] | 0 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RTRAI_5 _generator | RO_RA_00143 | costly_ra | [8 empty] | 0 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RHGLOT5 _generator | RO_RA_00144 | costly_ra | [8 empty] | 0 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RCHESJ5 _generator | RO_RA_00145 | costly_ra | [8 empty] | 50 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RCHEAC5 _generator | RO_RA_00146 | costly_ra | [8 empty] | 38 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RCHEST5 _generator | RO_RA_00147 | costly_ra | [8 empty] | 26 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RCHEIO5 _generator | RO_RA_00148 | costly_ra | [8 empty] | 53 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RCHDO_5 _generator | RO_RA_00149 | costly_ra | [8 empty] | 53 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RFRUN_5 _generator | RO_RA_00150 | costly_ra | [8 empty] | 53 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RCIZBI5 _generator | RO_RA_00151 | costly_ra | [8 empty] | 53 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RRUSA_5 _generator | RO_RA_00152 | costly_ra | [8 empty] | 53 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RHCORN5 _generator | RO_RA_00153 | costly_ra | [8 empty] | 0 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RFAGA_5 _generator | RO_RA_00154 | costly_ra | [8 empty] | 0 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RUCEA25 _generator | RO_RA_00155 | costly_ra | [8 empty] | 0 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RUCEA15 _generator | RO_RA_00156 | costly_ra | [8 empty] | 0 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RCIRT_5 _generator | RO_RA_00157 | costly_ra | [8 empty] | 0 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RIZVO_5 _generator | RO_RA_00161 | costly_ra | [8 empty] | 0 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RDUMB_5 _generator | RO_RA_00162 | costly_ra | [8 empty] | 0 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RCOST_5 _generator | RO_RA_00163 | costly_ra | [8 empty] | 0 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RBUHU_5 _generator | RO_RA_00164 | costly_ra | [8 empty] | 0 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RRACO_5 _generator | RO_RA_00165 | costly_ra | [8 empty] | 0 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RGARL_5 _generator | RO_RA_00166 | costly_ra | [8 empty] | 0 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RLILI_5 _generator | RO_RA_00167 | costly_ra | [8 empty] | 0 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RBACS_5 _generator | RO_RA_00168 | costly_ra | [8 empty] | 0 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RFARA_5 _generator | RO_RA_00169 | costly_ra | [8 empty] | 0 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RSISC_5 _generator | RO_RA_00170 | costly_ra | [8 empty] | 0 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RMARA_5 _generator | RO_RA_00171 | costly_ra | [8 empty] | 0 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RTECU_5 _generator | RO_RA_00172 | costly_ra | [8 empty] | 0 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RSEBE_5 _generator | RO_RA_00176 | costly_ra | [8 empty] | 0 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  | 0
RPDF212 _generator | RO_RA_00115 | costly_ra | [12 empty] | 341 | 347 |  |  |  |  | 117
RPDF222 _generator | RO_RA_00114 | costly_ra | [18 empty] | 580 |  |  | 216
RVADU_5 _generator | RO_RA_00160 | costly_ra | [18 empty] | 0 |  |  | 0
RMARI22 _generator | RO_RA_00173 | costly_ra | [18 empty] | 92
RLOTR22 _generator | RO_RA_00131 | costly_ra | [21 empty] | 170
RLOT212 _generator | RO_RA_00132 | costly_ra | [21 empty] | 241
RBRDS25 _generator | RO_RA_00133 | costly_ra | [21 empty] | 118