## SRO borders-exports
SUBMISSION DATE: | 06.06.2026
BUSINESS DATE: | 08.06.2026
DA CC Remedial Actions
From Hour (CET) | To Hour (CET) | CO | CNE | Loading (%) | TTC South Romania | NTC South Romania | NTC RO-BG
00:00 | 01:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3833 | 3633 | 2543
01:00 | 02:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3837 | 3637 | 2546
02:00 | 03:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3829 | 3629 | 2540
03:00 | 04:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3836 | 3636 | 2545
04:00 | 05:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3837 | 3637 | 2546
05:00 | 06:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 101 | 2482 | 2282 | 1597
06:00 | 07:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [DIR] TIE 400 kV TINTARENI-KOZLODUI 2 | 97 | 3706 | 3506 | 2454
07:00 | 08:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [DIR] TIE 400 kV TINTARENI-KOZLODUI 2 | 97 | 3706 | 3506 | 2454
08:00 | 09:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 97 | 3757 | 3557 | 2490
09:00 | 10:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [DIR] TIE 400 kV TINTARENI-KOZLODUI 2 | 94 | 3853 | 3653 | 2557
10:00 | 11:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [DIR] TIE 400 kV TINTARENI-KOZLODUI 2 | 99 | 3762 | 3562 | 2493
11:00 | 12:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [DIR] TIE 400 kV TINTARENI-KOZLODUI 2 | 99 | 3762 | 3562 | 2493
12:00 | 13:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [DIR] TIE 400 kV TINTARENI-KOZLODUI 1 | 99 | 3762 | 3562 | 2493
13:00 | 14:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [DIR] TIE 400 kV TINTARENI-KOZLODUI 2 | 99 | 3762 | 3562 | 2493
14:00 | 15:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [DIR] TIE 400 kV TINTARENI-KOZLODUI 1 | 99 | 3762 | 3562 | 2493
15:00 | 16:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 99 | 1623 | 1423 | 996
16:00 | 17:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2333 | 2133 | 1493
17:00 | 18:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 99 | 3353 | 3153 | 2207
18:00 | 19:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 92 | 3371 | 3171 | 2220
19:00 | 20:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 92 | 3371 | 3171 | 2220
20:00 | 21:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 94 | 3338 | 3138 | 2197
21:00 | 22:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 97 | 3295 | 3095 | 2166
22:00 | 23:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 95 | 3328 | 3128 | 2190
23:00 | 00:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 92 | 3632 | 3432 | 2402

## SRO borders-imports
SUBMISSION DATE: | 06.06.2026
BUSINESS DATE: | 08.06.2026
DA CC Remedial Actions
From Hour (CET) | To Hour (CET) | CO | CNE | Loading (%) | TTC South Romania | NTC South Romania | NTC BG-RO
00:00 | 01:00 | N-1 TIE 400 kV Rosiori-Mukacevo | [RO-RO] [DIR] TRA 400/220 kV AT2 Iernut | 99 | 3316 | 3116 | 2181
01:00 | 02:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 3296 | 3096 | 2167
02:00 | 03:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 3197 | 2997 | 2098
03:00 | 04:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 3318 | 3118 | 2183
04:00 | 05:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 3285 | 3085 | 2160
05:00 | 06:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 2393 | 2193 | 1535
06:00 | 07:00 | N-1 TIE 400 kV Rosiori-Mukacevo | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3108 | 2908 | 2036
07:00 | 08:00 | N-1 TIE 400 kV Rosiori-Mukacevo | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3164 | 2964 | 2075
08:00 | 09:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3467 | 3267 | 2287
09:00 | 10:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3372 | 3172 | 2220
10:00 | 11:00 | N-1 TIE 400 kV Rosiori-Mukacevo | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 2726 | 2526 | 1768
11:00 | 12:00 | N-1 TIE 400 kV Rosiori-Mukacevo | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 2726 | 2526 | 1768
12:00 | 13:00 | N-1 TIE 400 kV Rosiori-Mukacevo | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 2726 | 2526 | 1768
13:00 | 14:00 | N-1 TIE 400 kV Rosiori-Mukacevo | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 2726 | 2526 | 1768
14:00 | 15:00 | N-1 TIE 400 kV Rosiori-Mukacevo | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 2726 | 2526 | 1768
15:00 | 16:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 100 | 3593 | 3393 | 2375
16:00 | 17:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 100 | 3747 | 3547 | 2483
17:00 | 18:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3675 | 3475 | 2432
18:00 | 19:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3801 | 3601 | 2521
19:00 | 20:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3863 | 3663 | 2564
20:00 | 21:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 4027 | 3827 | 2679
21:00 | 22:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 4090 | 3890 | 2723
22:00 | 23:00 | N-1 OHL 220 kV Resita-Timisoara c2 | [RO-RO] [DIR] OHL 220 kV Resita-Timisoara c1 | 100 | 3745 | 3545 | 2482
23:00 | 00:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3121 | 2921 | 2045

## SRO borders-exports RAs
SUBMISSION DATE: | 06.06.2026
BUSINESS DATE: | 08.06.2026
DA CC Remedial Actions
Initial CCC
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400 kV TINTARENI-KOZLODUI 1 | BG_RA_00001 | topological | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst | notApplied | helpful | notApplied | notApplied | notApplied | helpful |  |  |  | helpful | [5 empty] | helpful | helpful | helpful | notApplied | notApplied | notApplied | helpful | helpful | notApplied
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00010 | topological | helpful | helpful | helpful | helpful | helpful | notApplied |  |  |  | notApplied | [5 empty] | notApplied | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 2 | RO_RA_00013 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied |  |  |  | notApplied | [5 empty] | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological | helpful | helpful | helpful | helpful | helpful | notApplied |  |  |  | helpful | [5 empty] | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Resita-Pancevo c1 | RO_RA_00016 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied |  |  |  | notApplied | [5 empty] | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
NonCostly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
NonCostly Step 5
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
Costly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30

## SRO borders-imports RAs
SUBMISSION DATE: | 06.06.2026
BUSINESS DATE: | 08.06.2026
DA CC Remedial Actions
Initial CCC
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst | notApplied | helpful | helpful | helpful | helpful |  | notApplied | notApplied | notApplied | helpful | helpful | helpful | helpful | helpful | helpful |  | notApplied | helpful | notApplied | notApplied | notApplied | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00010 | topological | helpful | helpful | helpful | helpful | helpful |  | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied |  | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 2 | RO_RA_00013 | topological | notApplied | notApplied | notApplied | notApplied | notApplied |  | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied |  | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological | helpful | helpful | helpful | helpful | helpful |  | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful |  | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Resita-Pancevo c1 | RO_RA_00016 | topological | notApplied | notApplied | notApplied | notApplied | notApplied |  | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied |  | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV TINTARENI-KOZLODUI 1 | BG_RA_00001 | topological | [16 empty] | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
NonCostly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 110 kV S4 | RO_RA_00003 | topological_ra | [7 empty] | applied
PRA 110 kV S5 | RO_RA_00004 | topological_ra | [7 empty] | applied | [9 empty] | applied
PRA 110 kV Resita | RO_RA_00007 | topological_ra | [7 empty] | applied | applied
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst_ra | [7 empty] | applied | applied | [8 empty] | applied |  |  | applied | applied | applied | applied
PST_ARAD 400/220_3 | RO_RA_00101 | pst_ra | [7 empty] | applied | applied | [8 empty] | applied |  |  | applied | applied | applied | applied
PST_URECHESTI 400/220_1 | RO_RA_00102 | pst_ra | [7 empty] | applied | applied | [8 empty] | applied |  |  | applied | applied | applied | applied
PRA 110 kV Pelicanu | RO_RA_00005 | topological_ra | [17 empty] | applied
PRA 110 kV Dobrogea | RO_RA_00006 | topological_ra | [17 empty] | applied |  |  |  | applied |  | applied
NonCostly Step 5
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
Costly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
RPDF222 _generator | RO_RA_00114 | costly_ra | [7 empty] | 404 | 268 | [8 empty] | 580 |  | 220 | 484 | 305 | 580 | 580
RTOPV_5 _generator | RO_RA_00120 | costly_ra | [7 empty] | 0 | 0 | [6 empty] | 10 | 10 | 0 |  | 0 | 0 | 0
RFMEP_5 _generator | RO_RA_00121 | costly_ra | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 14 | 0 |  | 0 | 0 | 0 | 0 | 0
RVLCE15 _generator | RO_RA_00122 | costly_ra | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 55 | 55 | 0 |  | 0 | 0 | 0 | 0 | 0
RVALD_5 _generator | RO_RA_00123 | costly_ra | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 15 | 0 |  | 0 | 0 | 0 | 0 | 0
RAREF_5 _generator | RO_RA_00125 | costly_ra | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
RARGS_5 _generator | RO_RA_00126 | costly_ra | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31 | 31 | 0 |  | 0 | 0 | 0 | 0 | 0
RALBE_5 _generator | RO_RA_00127 | costly_ra | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
RCERB_5 _generator | RO_RA_00128 | costly_ra | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 |  | 0 | 0 | 0 | 0 | 0
RVLCE25 _generator | RO_RA_00129 | costly_ra | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 12 | 0 |  | 0 | 0 | 0 | 0 | 0
RCLNG_5 _generator | RO_RA_00130 | costly_ra | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 0 |  | 0 | 0 | 0 | 0 | 0
RSTUP_5 _generator | RO_RA_00134 | costly_ra | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 45 | 0 |  | 0 | 0 | 0 | 0 | 0
RDAIES5 _generator | RO_RA_00135 | costly_ra | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 37 | 0 |  | 0 | 0 | 0 | 0 | 0
RVILN_5 _generator | RO_RA_00136 | costly_ra | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | 0 |  | 0 | 0 | 0 | 0 | 0
RRIUR15 _generator | RO_RA_00137 | costly_ra | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 48 | 0 |  | 0 | 0 | 0 | 0 | 0
RMARC_5 _generator | RO_RA_00138 | costly_ra | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 39 | 0 |  | 0 | 0 | 0 | 0 | 0
RIONE_5 _generator | RO_RA_00139 | costly_ra | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38 | 0 |  | 0 | 0 | 0 | 0 | 0
RJIBL_5 _generator | RO_RA_00140 | costly_ra | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38 | 0 |  | 0 | 0 | 0 | 0 | 0
RZAVI_5 _generator | RO_RA_00141 | costly_ra | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38 | 0 |  | 0 | 0 | 0 | 0 | 0
RCHTU_5 _generator | RO_RA_00142 | costly_ra | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40 | 74 | 0 |  | 0 | 0 | 0 | 0 | 0
RTRAI_5 _generator | RO_RA_00143 | costly_ra | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 45 | 0 |  | 0 | 0 | 0 | 0 | 0
RHGLOT5 _generator | RO_RA_00144 | costly_ra | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25 | 25 | 0 |  | 0 | 0 | 0 | 0 | 0
RCHESJ5 _generator | RO_RA_00145 | costly_ra | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
RCHEAC5 _generator | RO_RA_00146 | costly_ra | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
RCHEST5 _generator | RO_RA_00147 | costly_ra | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
RCHEIO5 _generator | RO_RA_00148 | costly_ra | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 53 | 0 | 0 |  | 0 | 0 | 53 | 53 | 0
RCHDO_5 _generator | RO_RA_00149 | costly_ra | [7 empty] | 0 | 53 | 53 | 0 | 0 | 0 | 0 | 0 | 53 | 0 | 0 |  | 0 | 0 | 53 | 53 | 0
RFRUN_5 _generator | RO_RA_00150 | costly_ra | [7 empty] | 0 | 53 | 53 | 0 | 0 | 0 | 0 | 0 | 53 | 0 | 0 |  | 0 | 0 | 53 | 53 | 0
RCIZBI5 _generator | RO_RA_00151 | costly_ra | [7 empty] | 0 | 6 | 11 | 0 | 0 | 0 | 0 | 0 | 53 | 0 | 0 |  | 0 | 0 | 0 | 6 | 0
RRUSA_5 _generator | RO_RA_00152 | costly_ra | [7 empty] | 0 | 53 | 53 | 0 | 0 | 0 | 0 | 0 | 53 | 0 | 0 |  | 0 | 0 | 27 | 53 | 0
RHCORN5 _generator | RO_RA_00153 | costly_ra | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 59 | 59 | 0 |  | 0 | 0 | 0 | 0 | 0
RFAGA_5 _generator | RO_RA_00154 | costly_ra | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
RUCEA25 _generator | RO_RA_00155 | costly_ra | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
RUCEA15 _generator | RO_RA_00156 | costly_ra | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
RCIRT_5 _generator | RO_RA_00157 | costly_ra | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
RIZVO_5 _generator | RO_RA_00161 | costly_ra | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
RDUMB_5 _generator | RO_RA_00162 | costly_ra | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 23 | 0 | 0 | 0 | 0
RCOST_5 _generator | RO_RA_00163 | costly_ra | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
RBUHU_5 _generator | RO_RA_00164 | costly_ra | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
RRACO_5 _generator | RO_RA_00165 | costly_ra | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
RGARL_5 _generator | RO_RA_00166 | costly_ra | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
RLILI_5 _generator | RO_RA_00167 | costly_ra | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
RBACS_5 _generator | RO_RA_00168 | costly_ra | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
RFARA_5 _generator | RO_RA_00169 | costly_ra | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
RSISC_5 _generator | RO_RA_00170 | costly_ra | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
RMARA_5 _generator | RO_RA_00171 | costly_ra | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
RTECU_5 _generator | RO_RA_00172 | costly_ra | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
RSUGA22 _generator | RO_RA_00174 | costly_ra | [7 empty] | 72 | [11 empty] | 150
RGILC22 _generator | RO_RA_00175 | costly_ra | [7 empty] | 150 | [11 empty] | 121
RSEBE_5 _generator | RO_RA_00176 | costly_ra | [7 empty] | 55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
RRETE_5 _generator | RO_RA_00181 | costly_ra | [7 empty] | 0 | [8 empty] | 0 | 0
RCIRNA5 _generator | RO_RA_00182 | costly_ra | [7 empty] | 0 | [8 empty] | 0 | 0
RCIRNB5 _generator | RO_RA_00183 | costly_ra | [7 empty] | 0 | [8 empty] | 0 | 0
RHATE_5 _generator | RO_RA_00184 | costly_ra | [7 empty] | 0 | [8 empty] | 0 | 0
RELAR_5 _generator | RO_RA_00124 | costly_ra | [8 empty] | 0 | [7 empty] | 10 |  |  |  | 0 | 0
RMARI22 _generator | RO_RA_00173 | costly_ra | [8 empty] | 26 | 28 | 27 | 27 | 27 | 27 | 27 |  |  | 19 |  | 217 | 3 |  |  | 64
RPDF212 _generator | RO_RA_00115 | costly_ra | [9 empty] | 273 | 294 | 294 | 294 | 294 | 294 |  |  | 307 |  |  | 389 | 389 | 37 | 174
RGODI_5 _generator | RO_RA_00117 | costly_ra | [10 empty] | 107 | 107 | 107 | 107 | 107 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
RVMAR_5 _generator | RO_RA_00116 | costly_ra | [15 empty] | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
RVADU_5 _generator | RO_RA_00160 | costly_ra | [17 empty] | 0 |  | 0 | 0 | 0 | 0 | 0
RSTEJ_5 _generator | RO_RA_00158 | costly_ra | [19 empty] | 137