## SRO borders-exports
SUBMISSION DATE: | 15.06.2026
BUSINESS DATE: | 15.06.2026
2nd ID CC Results
From Hour (CET) | To Hour (CET) | CO | CNE | Loading (%) | TTC South Romania | NTC South Romania | NTC RO-BG
12:00 | 13:00 | N-1 TIE 400 kV Resita-Pancevo c2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2985 | 2785 | 1949
13:00 | 14:00 | N-1 TIE 400 kV Resita-Pancevo c2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3067 | 2867 | 2006
14:00 | 15:00 | N-1 TIE 400 kV Resita-Pancevo c2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3089 | 2889 | 2022
15:00 | 16:00 | N-1 TIE 400 kV Resita-Pancevo c2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2647 | 2447 | 1712
16:00 | 17:00 | N-1 TIE 400 kV Resita-Pancevo c2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2604 | 2404 | 1682
17:00 | 18:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 95 | 3620 | 3420 | 2394
18:00 | 19:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 94 | 3456 | 3256 | 2278
19:00 | 20:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3251 | 3051 | 2135
20:00 | 21:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2978 | 2778 | 1944
21:00 | 22:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3138 | 2938 | 2056
22:00 | 23:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 98 | 3430 | 3230 | 2260
23:00 | 00:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 98 | 3471 | 3271 | 2290

## SRO borders-imports
SUBMISSION DATE: | 15.06.2026
BUSINESS DATE: | 15.06.2026
2nd ID CC Results
From Hour (CET) | To Hour (CET) | CO | CNE | Loading (%) | TTC South Romania | NTC South Romania | NTC BG-RO
12:00 | 13:00 | N-1 TIE 400 kV Resita-Pancevo c2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 2675 | 2475 | 1732
13:00 | 14:00 | N-1 TIE 400 kV Resita-Pancevo c2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 2653 | 2453 | 1717
14:00 | 15:00 | N-1 TIE 400 kV Resita-Pancevo c2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 2618 | 2418 | 1692
15:00 | 16:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3344 | 3144 | 2200
16:00 | 17:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 99 | 3378 | 3178 | 2224
17:00 | 18:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3130 | 2930 | 2051
18:00 | 19:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3424 | 3224 | 2256
19:00 | 20:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 99 | 3809 | 3609 | 2526
20:00 | 21:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3682 | 3482 | 2437
21:00 | 22:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3476 | 3276 | 2293
22:00 | 23:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3443 | 3243 | 2269
23:00 | 00:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3583 | 3383 | 2368

## SRO borders-exports RAs
SUBMISSION DATE: | 15.06.2026
BUSINESS DATE: | 15.06.2026
2nd ID CC Remedial Actions
Name of the RA | RA ID | Type | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst | helpful | helpful | helpful | helpful | helpful | notApplied | notApplied | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00010 | topological | helpful | helpful | helpful | helpful | helpful | notApplied | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 2 | RO_RA_00013 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV TINTARENI-KOZLODUI 1 | BG_RA_00001 | topological | [5 empty] | helpful
PRA 400 kV Resita-Pancevo c1 | RO_RA_00017 | topological | [5 empty] | helpful | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied

## SRO borders-imports RAs
SUBMISSION DATE: | 15.06.2026
BUSINESS DATE: | 15.06.2026
2nd ID CC Remedial Actions
Name of the RA | RA ID | Type | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst | helpful | helpful | helpful | helpful | helpful | helpful | helpful | notApplied | helpful | helpful | helpful | notApplied
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00010 | topological | helpful | helpful | helpful | helpful | helpful | helpful | helpful | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Tantareni-Kozlodui 2 | RO_RA_00013 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | helpful | helpful | notApplied | notApplied | helpful | helpful
PRA 400 kV Resita-Pancevo c1 | RO_RA_00017 | topological | [5 empty] | helpful | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV TINTARENI-KOZLODUI 1 | BG_RA_00001 | topological | [7 empty] | helpful | helpful | helpful | helpful | helpful