## SRO borders-exports
SUBMISSION DATE: | 14.06.2026
BUSINESS DATE: | 16.06.2026
DA CC Remedial Actions
From Hour (CET) | To Hour (CET) | CO | CNE | Loading (%) | TTC South Romania | NTC South Romania | NTC RO-BG
00:00 | 01:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 97 | 3859 | 3659 | 2561
01:00 | 02:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 99 | 3885 | 3685 | 2580
02:00 | 03:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 97 | 3854 | 3654 | 2558
03:00 | 04:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 99 | 3906 | 3706 | 2594
04:00 | 05:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 99 | 4005 | 3805 | 2664
05:00 | 06:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 99 | 3763 | 3563 | 2494
06:00 | 07:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 99 | 3505 | 3305 | 2314
07:00 | 08:00 | N-1 TIE 400 kV Resita-Pancevo c2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 1796 | 1596 | 1117
08:00 | 09:00 | N-1 TIE 400 kV Resita-Pancevo c2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 101 | 926 | 726 | 508
09:00 | 10:00 | N-1 TIE 400 kV Resita-Pancevo c2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 101 | 723 | 523 | 366
10:00 | 11:00 | N-1 TIE 400 kV Resita-Pancevo c2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 1314 | 1114 | 780
11:00 | 12:00 | N-1 TIE 400 kV Resita-Pancevo c2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2186 | 1986 | 1390
12:00 | 13:00 | N-1 TIE 400 kV Resita-Pancevo c2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2420 | 2220 | 1554
13:00 | 14:00 | N-1 TIE 400 kV Resita-Pancevo c2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2907 | 2707 | 1895
14:00 | 15:00 | N-1 TIE 400 kV Resita-Pancevo c2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2922 | 2722 | 1905
15:00 | 16:00 | N-1 TIE 400 kV Resita-Pancevo c2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2416 | 2216 | 1551
16:00 | 17:00 | N-1 TIE 400 kV Resita-Pancevo c2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2504 | 2304 | 1613
17:00 | 18:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 92 | 3760 | 3560 | 2492
18:00 | 19:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 90 | 3633 | 3433 | 2403
19:00 | 20:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 97 | 3403 | 3203 | 2242
20:00 | 21:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3274 | 3074 | 2152
21:00 | 22:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3226 | 3026 | 2118
22:00 | 23:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 97 | 3486 | 3286 | 2300
23:00 | 00:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 95 | 3645 | 3445 | 2412

## SRO borders-imports
SUBMISSION DATE: | 14.06.2026
BUSINESS DATE: | 16.06.2026
DA CC Remedial Actions
From Hour (CET) | To Hour (CET) | CO | CNE | Loading (%) | TTC South Romania | NTC South Romania | NTC BG-RO
00:00 | 01:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3205 | 3005 | 2104
01:00 | 02:00 | N-1 TIE 400 kV Rosiori-Mukacevo | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 2976 | 2776 | 1943
02:00 | 03:00 | N-1 TIE 400 kV Rosiori-Mukacevo | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 2811 | 2611 | 1828
03:00 | 04:00 | N-1 TIE 400 kV Rosiori-Mukacevo | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 3069 | 2869 | 2008
04:00 | 05:00 | N-1 TIE 400 kV Rosiori-Mukacevo | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 3116 | 2916 | 2041
05:00 | 06:00 | N-1 TIE 400 kV Rosiori-Mukacevo | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3344 | 3144 | 2201
06:00 | 07:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3430 | 3230 | 2261
07:00 | 08:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3639 | 3439 | 2407
08:00 | 09:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 98 | 3478 | 3278 | 2295
09:00 | 10:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 100 | 3299 | 3099 | 2169
10:00 | 11:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3720 | 3520 | 2464
11:00 | 12:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3189 | 2989 | 2092
12:00 | 13:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3031 | 2831 | 1982
13:00 | 14:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 2772 | 2572 | 1800
14:00 | 15:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 2805 | 2605 | 1824
15:00 | 16:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3302 | 3102 | 2171
16:00 | 17:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3213 | 3013 | 2109
17:00 | 18:00 | N-1 TIE 400 kV Rosiori-Mukacevo | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 2876 | 2676 | 1873
18:00 | 19:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 2711 | 2511 | 1758
19:00 | 20:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3541 | 3341 | 2339
20:00 | 21:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3617 | 3417 | 2392
21:00 | 22:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3586 | 3386 | 2370
22:00 | 23:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3463 | 3263 | 2284
23:00 | 00:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3059 | 2859 | 2001

## SRO borders-exports RAs
SUBMISSION DATE: | 14.06.2026
BUSINESS DATE: | 16.06.2026
DA CC Remedial Actions
Initial CCC
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400 kV TINTARENI-KOZLODUI 1 | BG_RA_00001 | topological | helpful | helpful | helpful | helpful | helpful | helpful | [11 empty] | helpful
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst | notApplied | notApplied | notApplied | notApplied | notApplied | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | notApplied | notApplied | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00010 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | helpful | helpful | notApplied | notApplied | helpful | helpful | helpful | helpful | helpful | helpful | helpful | notApplied | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 2 | RO_RA_00013 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Resita-Pancevo c1 | RO_RA_00016 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Resita-Pancevo c1 | RO_RA_00017 | topological | [17 empty] | helpful | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
NonCostly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 110 kV S5 | RO_RA_00004 | topological_ra |  |  |  |  | applied
PRA 110 kV Pelicanu | RO_RA_00005 | topological_ra |  |  |  |  | applied
PRA 110 kV Dobrogea | RO_RA_00006 | topological_ra |  |  |  |  | applied
PRA 110 kV Resita | RO_RA_00007 | topological_ra |  |  |  |  | applied
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst_ra |  |  |  |  | applied
NonCostly Step 5
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
Costly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
RPDF212 _generator | RO_RA_00115 | costly_ra | [7 empty] | 295
RVMAR_5 _generator | RO_RA_00116 | costly_ra | [7 empty] | 50
RGODI_5 _generator | RO_RA_00117 | costly_ra | [7 empty] | 114
RTOPV_5 _generator | RO_RA_00120 | costly_ra | [7 empty] | 10
RFMEP_5 _generator | RO_RA_00121 | costly_ra | [7 empty] | 14
RVLCE15 _generator | RO_RA_00122 | costly_ra | [7 empty] | 55
RVALD_5 _generator | RO_RA_00123 | costly_ra | [7 empty] | 15
RELAR_5 _generator | RO_RA_00124 | costly_ra | [7 empty] | 10
RAREF_5 _generator | RO_RA_00125 | costly_ra | [7 empty] | 10
RARGS_5 _generator | RO_RA_00126 | costly_ra | [7 empty] | 31
RALBE_5 _generator | RO_RA_00127 | costly_ra | [7 empty] | 30
RCERB_5 _generator | RO_RA_00128 | costly_ra | [7 empty] | 15
RVLCE25 _generator | RO_RA_00129 | costly_ra | [7 empty] | 12
RCLNG_5 _generator | RO_RA_00130 | costly_ra | [7 empty] | 90
RSTUP_5 _generator | RO_RA_00134 | costly_ra | [7 empty] | 45
RDAIES5 _generator | RO_RA_00135 | costly_ra | [7 empty] | 37
RVILN_5 _generator | RO_RA_00136 | costly_ra | [7 empty] | 46
RRIUR15 _generator | RO_RA_00137 | costly_ra | [7 empty] | 48
RMARC_5 _generator | RO_RA_00138 | costly_ra | [7 empty] | 39
RIONE_5 _generator | RO_RA_00139 | costly_ra | [7 empty] | 38
RJIBL_5 _generator | RO_RA_00140 | costly_ra | [7 empty] | 38
RZAVI_5 _generator | RO_RA_00141 | costly_ra | [7 empty] | 38
RTRAI_5 _generator | RO_RA_00143 | costly_ra | [7 empty] | 0
RHGLOT5 _generator | RO_RA_00144 | costly_ra | [7 empty] | 0
RCHESJ5 _generator | RO_RA_00145 | costly_ra | [7 empty] | 0
RCHEAC5 _generator | RO_RA_00146 | costly_ra | [7 empty] | 0
RCHEST5 _generator | RO_RA_00147 | costly_ra | [7 empty] | 0
RCHEIO5 _generator | RO_RA_00148 | costly_ra | [7 empty] | 0
RFRUN_5 _generator | RO_RA_00150 | costly_ra | [7 empty] | 0
RCIZBI5 _generator | RO_RA_00151 | costly_ra | [7 empty] | 0
RRUSA_5 _generator | RO_RA_00152 | costly_ra | [7 empty] | 0
RHCORN5 _generator | RO_RA_00153 | costly_ra | [7 empty] | 0
RFAGA_5 _generator | RO_RA_00154 | costly_ra | [7 empty] | 0
RUCEA25 _generator | RO_RA_00155 | costly_ra | [7 empty] | 0
RUCEA15 _generator | RO_RA_00156 | costly_ra | [7 empty] | 0
RCIRT_5 _generator | RO_RA_00157 | costly_ra | [7 empty] | 0
RSTEJ_5 _generator | RO_RA_00158 | costly_ra | [7 empty] | 0
RVADU_5 _generator | RO_RA_00160 | costly_ra | [7 empty] | 0
RDUMB_5 _generator | RO_RA_00162 | costly_ra | [7 empty] | 0
RCOST_5 _generator | RO_RA_00163 | costly_ra | [7 empty] | 0
RBUHU_5 _generator | RO_RA_00164 | costly_ra | [7 empty] | 0
RRACO_5 _generator | RO_RA_00165 | costly_ra | [7 empty] | 0
RGARL_5 _generator | RO_RA_00166 | costly_ra | [7 empty] | 0
RLILI_5 _generator | RO_RA_00167 | costly_ra | [7 empty] | 0
RBACS_5 _generator | RO_RA_00168 | costly_ra | [7 empty] | 0
RFARA_5 _generator | RO_RA_00169 | costly_ra | [7 empty] | 0
RSISC_5 _generator | RO_RA_00170 | costly_ra | [7 empty] | 0
RMARA_5 _generator | RO_RA_00171 | costly_ra | [7 empty] | 0
RTECU_5 _generator | RO_RA_00172 | costly_ra | [7 empty] | 0
RSEBE_5 _generator | RO_RA_00176 | costly_ra | [7 empty] | 0
RREME_5 _generator | RO_RA_00178 | costly_ra | [7 empty] | 45
RRETE_5 _generator | RO_RA_00181 | costly_ra | [7 empty] | 0
RCIRNA5 _generator | RO_RA_00182 | costly_ra | [7 empty] | 0
RCIRNB5 _generator | RO_RA_00183 | costly_ra | [7 empty] | 0
RHATE_5 _generator | RO_RA_00184 | costly_ra | [7 empty] | 0

## SRO borders-imports RAs
SUBMISSION DATE: | 14.06.2026
BUSINESS DATE: | 16.06.2026
DA CC Remedial Actions
Initial CCC
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | notApplied | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00010 | topological | helpful | helpful | helpful | helpful | helpful | helpful | helpful | notApplied | notApplied | notApplied | notApplied | helpful | helpful | helpful | helpful | notApplied | helpful | helpful | helpful | notApplied | notApplied | notApplied | notApplied | helpful
PRA 400 kV Tantareni-Kozlodui 2 | RO_RA_00013 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Resita-Pancevo c1 | RO_RA_00016 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV TINTARENI-KOZLODUI 1 | BG_RA_00001 | topological | [7 empty] | helpful | helpful | helpful | helpful |  |  |  |  | helpful |  |  |  | helpful | helpful | helpful | helpful
PRA 400 kV Resita-Pancevo c1 | RO_RA_00017 | topological | [17 empty] | helpful | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
NonCostly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
NonCostly Step 5
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
Costly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
RPDF222 _generator | RO_RA_00114 | costly_ra | [21 empty] | 186
RVMAR_5 _generator | RO_RA_00116 | costly_ra | [21 empty] | 50
RGODI_5 _generator | RO_RA_00117 | costly_ra | [21 empty] | 114
RTOPV_5 _generator | RO_RA_00120 | costly_ra | [21 empty] | 0
RFMEP_5 _generator | RO_RA_00121 | costly_ra | [21 empty] | 0
RVLCE15 _generator | RO_RA_00122 | costly_ra | [21 empty] | 0
RVALD_5 _generator | RO_RA_00123 | costly_ra | [21 empty] | 0
RELAR_5 _generator | RO_RA_00124 | costly_ra | [21 empty] | 0
RAREF_5 _generator | RO_RA_00125 | costly_ra | [21 empty] | 0
RARGS_5 _generator | RO_RA_00126 | costly_ra | [21 empty] | 0
RALBE_5 _generator | RO_RA_00127 | costly_ra | [21 empty] | 0
RCERB_5 _generator | RO_RA_00128 | costly_ra | [21 empty] | 0
RVLCE25 _generator | RO_RA_00129 | costly_ra | [21 empty] | 0
RCLNG_5 _generator | RO_RA_00130 | costly_ra | [21 empty] | 0
RSTUP_5 _generator | RO_RA_00134 | costly_ra | [21 empty] | 0
RDAIES5 _generator | RO_RA_00135 | costly_ra | [21 empty] | 0
RVILN_5 _generator | RO_RA_00136 | costly_ra | [21 empty] | 0
RRIUR15 _generator | RO_RA_00137 | costly_ra | [21 empty] | 0
RMARC_5 _generator | RO_RA_00138 | costly_ra | [21 empty] | 0
RIONE_5 _generator | RO_RA_00139 | costly_ra | [21 empty] | 0
RJIBL_5 _generator | RO_RA_00140 | costly_ra | [21 empty] | 0
RZAVI_5 _generator | RO_RA_00141 | costly_ra | [21 empty] | 0
RCHTU_5 _generator | RO_RA_00142 | costly_ra | [21 empty] | 0
RTRAI_5 _generator | RO_RA_00143 | costly_ra | [21 empty] | 0
RHGLOT5 _generator | RO_RA_00144 | costly_ra | [21 empty] | 0
RCHESJ5 _generator | RO_RA_00145 | costly_ra | [21 empty] | 0
RCHEAC5 _generator | RO_RA_00146 | costly_ra | [21 empty] | 0
RCHEST5 _generator | RO_RA_00147 | costly_ra | [21 empty] | 0
RCHEIO5 _generator | RO_RA_00148 | costly_ra | [21 empty] | 0
RCHDO_5 _generator | RO_RA_00149 | costly_ra | [21 empty] | 0
RFRUN_5 _generator | RO_RA_00150 | costly_ra | [21 empty] | 0
RCIZBI5 _generator | RO_RA_00151 | costly_ra | [21 empty] | 0
RRUSA_5 _generator | RO_RA_00152 | costly_ra | [21 empty] | 0
RHCORN5 _generator | RO_RA_00153 | costly_ra | [21 empty] | 0
RFAGA_5 _generator | RO_RA_00154 | costly_ra | [21 empty] | 0
RUCEA25 _generator | RO_RA_00155 | costly_ra | [21 empty] | 0
RUCEA15 _generator | RO_RA_00156 | costly_ra | [21 empty] | 0
RCIRT_5 _generator | RO_RA_00157 | costly_ra | [21 empty] | 0
RVADU_5 _generator | RO_RA_00160 | costly_ra | [21 empty] | 0
RIZVO_5 _generator | RO_RA_00161 | costly_ra | [21 empty] | 0
RDUMB_5 _generator | RO_RA_00162 | costly_ra | [21 empty] | 0
RCOST_5 _generator | RO_RA_00163 | costly_ra | [21 empty] | 0
RBUHU_5 _generator | RO_RA_00164 | costly_ra | [21 empty] | 0
RRACO_5 _generator | RO_RA_00165 | costly_ra | [21 empty] | 0
RGARL_5 _generator | RO_RA_00166 | costly_ra | [21 empty] | 0
RLILI_5 _generator | RO_RA_00167 | costly_ra | [21 empty] | 0
RBACS_5 _generator | RO_RA_00168 | costly_ra | [21 empty] | 0
RFARA_5 _generator | RO_RA_00169 | costly_ra | [21 empty] | 0
RSISC_5 _generator | RO_RA_00170 | costly_ra | [21 empty] | 0
RMARA_5 _generator | RO_RA_00171 | costly_ra | [21 empty] | 0
RTECU_5 _generator | RO_RA_00172 | costly_ra | [21 empty] | 0
RSUGA22 _generator | RO_RA_00174 | costly_ra | [21 empty] | 150
RGILC22 _generator | RO_RA_00175 | costly_ra | [21 empty] | 150
RSEBE_5 _generator | RO_RA_00176 | costly_ra | [21 empty] | 0
RRETE22 _generator | RO_RA_00180 | costly_ra | [21 empty] | 75
RRETE_5 _generator | RO_RA_00181 | costly_ra | [21 empty] | 20
RCIRNA5 _generator | RO_RA_00182 | costly_ra | [21 empty] | 29
RCIRNB5 _generator | RO_RA_00183 | costly_ra | [21 empty] | 27
RHATE_5 _generator | RO_RA_00184 | costly_ra | [21 empty] | 52