## SRO borders-exports
SUBMISSION DATE: | 10.07.2026
BUSINESS DATE: | 12.07.2026
DA CC Remedial Actions
From Hour (CET) | To Hour (CET) | CO | CNE | Loading (%) | TTC South Romania | NTC South Romania | NTC RO-BG
00:00 | 01:00 | N-1 TIE 400 kV MEDGIDIA SUD - DOBRUDJA | [BG-RO] [DIR] TIE 400 kV MEDGIDIA SUD - VARNA | 100 | 3786 | 3586 | 2510
01:00 | 02:00 | N-1 TIE 400 kV MEDGIDIA SUD - DOBRUDJA | [BG-RO] [DIR] TIE 400 kV MEDGIDIA SUD - VARNA | 96 | 3860 | 3660 | 2562
02:00 | 03:00 | N-1 TIE 400 kV MEDGIDIA SUD - DOBRUDJA | [BG-RO] [DIR] TIE 400 kV MEDGIDIA SUD - VARNA | 96 | 3842 | 3642 | 2549
03:00 | 04:00 | N-1 TIE 400 kV MEDGIDIA SUD - DOBRUDJA | [BG-RO] [DIR] TIE 400 kV MEDGIDIA SUD - VARNA | 95 | 3846 | 3646 | 2552
04:00 | 05:00 | N-1 TIE 400 kV DOBRUDJA- MEDGIDIA SUD | [RO-BG] [DIR] TIE 400 kV MEDGIDIA SUD - VARNA | 95 | 3840 | 3640 | 2548
05:00 | 06:00 | N-1 TIE 400 kV MEDGIDIA SUD - DOBRUDJA | [BG-RO] [DIR] TIE 400 kV MEDGIDIA SUD - VARNA | 100 | 3916 | 3716 | 2601
06:00 | 07:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3550 | 3350 | 2345
07:00 | 08:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 101 | 2434 | 2234 | 1564
08:00 | 09:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 101 | 1401 | 1201 | 841
09:00 | 10:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 101 | 1591 | 1391 | 974
10:00 | 11:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3377 | 3177 | 2224
11:00 | 12:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 99 | 3888 | 3688 | 2582
12:00 | 13:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 99 | 3949 | 3749 | 2624
13:00 | 14:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 97 | 3931 | 3731 | 2612
14:00 | 15:00 | N-1 OHL 400 kV Constanta Nord- Cernavoda | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 96 | 3906 | 3706 | 2594
15:00 | 16:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 96 | 3849 | 3649 | 2554
16:00 | 17:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 97 | 3711 | 3511 | 2458
17:00 | 18:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 92 | 3628 | 3428 | 2400
18:00 | 19:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 89 | 3590 | 3390 | 2373
19:00 | 20:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 99 | 3366 | 3166 | 2216
20:00 | 21:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3137 | 2937 | 2056
21:00 | 22:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3201 | 3001 | 2101
22:00 | 23:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3442 | 3242 | 2269
23:00 | 00:00 | N-1 OHL 400 kV Isaccea - Tulcea Vest | [RO-RO] [OPP] OHL 400 kV Medgidia Sud- Cernavoda | 100 | 3883 | 3683 | 2578

## SRO borders-imports
SUBMISSION DATE: | 10.07.2026
BUSINESS DATE: | 12.07.2026
DA CC Remedial Actions
From Hour (CET) | To Hour (CET) | CO | CNE | Loading (%) | TTC South Romania | NTC South Romania | NTC BG-RO
00:00 | 01:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3533 | 3333 | 2333
01:00 | 02:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 101 | 3417 | 3217 | 2252
02:00 | 03:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3645 | 3445 | 2412
03:00 | 04:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 97 | 3768 | 3568 | 2498
04:00 | 05:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 98 | 3768 | 3568 | 2498
05:00 | 06:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 97 | 3767 | 3567 | 2497
06:00 | 07:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 97 | 3668 | 3468 | 2428
07:00 | 08:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 100 | 3275 | 3075 | 2152
08:00 | 09:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 100 | 2702 | 2502 | 1751
09:00 | 10:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 100 | 2671 | 2471 | 1730
10:00 | 11:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 97 | 3497 | 3297 | 2308
11:00 | 12:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3456 | 3256 | 2279
12:00 | 13:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3194 | 2994 | 2096
13:00 | 14:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3276 | 3076 | 2153
14:00 | 15:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3363 | 3163 | 2214
15:00 | 16:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 92 | 3705 | 3505 | 2454
16:00 | 17:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 96 | 3828 | 3628 | 2540
17:00 | 18:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 94 | 3869 | 3669 | 2568
18:00 | 19:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 96 | 3877 | 3677 | 2574
19:00 | 20:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 96 | 3617 | 3417 | 2392
20:00 | 21:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 97 | 3332 | 3132 | 2192
21:00 | 22:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 96 | 3389 | 3189 | 2232
22:00 | 23:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 96 | 3503 | 3303 | 2312
23:00 | 00:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3770 | 3570 | 2499

## SRO borders-exports RAs
SUBMISSION DATE: | 10.07.2026
BUSINESS DATE: | 12.07.2026
DA CC Remedial Actions
Initial CCC
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400 kV TINTARENI-KOZLODUI 1 | BG_RA_00001 | topological | helpful | helpful | helpful | helpful | helpful | [7 empty] | helpful | helpful | helpful
PRA 400 kV TINTARENI-KOZLODUI 2 | BG_RA_00002 | topological | notApplied | notApplied | notApplied | notApplied
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00008 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | helpful | helpful | helpful | notApplied | notApplied | helpful | helpful | notApplied | notApplied | notApplied | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 2 | RO_RA_00009 | topological | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Resita-Pancevo c1 | RO_RA_00017 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
NonCostly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
NonCostly Step 5
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
Costly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
RIERN22 _generator | RO_RA_00110 | costly_ra | 1 |  |  |  |  | 19
RBRZ241 _generator | RO_RA_00112 | costly_ra | 1 |  |  |  |  | 1 | [17 empty] | 1
RBRAZ22 _generator | RO_RA_00113 | costly_ra | 1 |  |  |  |  | 1 | [17 empty] | 1
RPDF212 _generator | RO_RA_00115 | costly_ra | 53 |  |  |  |  | 29 | [17 empty] | 306
RVMAR_5 _generator | RO_RA_00116 | costly_ra | 50 |  |  |  |  | 50 | [17 empty] | 0
RGODI_5 _generator | RO_RA_00117 | costly_ra | 114 |  |  |  |  | 114 | [17 empty] | 0
RVLCE15 _generator | RO_RA_00122 | costly_ra | 0 |  |  |  |  | 0 | [17 empty] | 0
RARGS_5 _generator | RO_RA_00126 | costly_ra | 0 |  |  |  |  | 0 | [17 empty] | 0
RALBE_5 _generator | RO_RA_00127 | costly_ra | 0 |  |  |  |  | 0 | [17 empty] | 0
RCLNG_5 _generator | RO_RA_00130 | costly_ra | 0 |  |  |  |  | 0 | [17 empty] | 0
RLOTR22 _generator | RO_RA_00131 | costly_ra | 170 |  |  |  |  | 170
RLOT212 _generator | RO_RA_00132 | costly_ra | 322 | [22 empty] | 259
RSTUP_5 _generator | RO_RA_00134 | costly_ra | 0 |  |  |  |  | 0 | [17 empty] | 0
RDAIES5 _generator | RO_RA_00135 | costly_ra | 0 |  |  |  |  | 0 | [17 empty] | 0
RVILN_5 _generator | RO_RA_00136 | costly_ra | 0 |  |  |  |  | 0 | [17 empty] | 0
RRIUR15 _generator | RO_RA_00137 | costly_ra | 0 |  |  |  |  | 0 | [17 empty] | 0
RMARC_5 _generator | RO_RA_00138 | costly_ra | 0 |  |  |  |  | 0 | [17 empty] | 0
RIONE_5 _generator | RO_RA_00139 | costly_ra | 0 |  |  |  |  | 0 | [17 empty] | 0
RJIBL_5 _generator | RO_RA_00140 | costly_ra | 0 |  |  |  |  | 0 | [17 empty] | 0
RZAVI_5 _generator | RO_RA_00141 | costly_ra | 0 |  |  |  |  | 0 | [17 empty] | 0
RCHTU_5 _generator | RO_RA_00142 | costly_ra | 0 |  |  |  |  | 0 | [17 empty] | 0
RTRAI_5 _generator | RO_RA_00143 | costly_ra | 0 |  |  |  |  | 0 | [17 empty] | 0
RHGLOT5 _generator | RO_RA_00144 | costly_ra | 0 |  |  |  |  | 0 | [17 empty] | 0
RCHESJ5 _generator | RO_RA_00145 | costly_ra | 0 |  |  |  |  | 0 | [17 empty] | 0
RCHEAC5 _generator | RO_RA_00146 | costly_ra | 0 |  |  |  |  | 0 | [17 empty] | 0
RCHEST5 _generator | RO_RA_00147 | costly_ra | 0 |  |  |  |  | 0 | [17 empty] | 0
RCHEIO5 _generator | RO_RA_00148 | costly_ra | 0 |  |  |  |  | 0 | [17 empty] | 0
RCHDO_5 _generator | RO_RA_00149 | costly_ra | 0 |  |  |  |  | 0 | [17 empty] | 0
RFRUN_5 _generator | RO_RA_00150 | costly_ra | 0 |  |  |  |  | 0 | [17 empty] | 0
RCIZBI5 _generator | RO_RA_00151 | costly_ra | 0 |  |  |  |  | 0 | [17 empty] | 0
RRUSA_5 _generator | RO_RA_00152 | costly_ra | 0 |  |  |  |  | 0 | [17 empty] | 0
RHCORN5 _generator | RO_RA_00153 | costly_ra | 0 |  |  |  |  | 0 | [17 empty] | 0
RFAGA_5 _generator | RO_RA_00154 | costly_ra | 0 |  |  |  |  | 20 | [17 empty] | 0
RUCEA25 _generator | RO_RA_00155 | costly_ra | 0 |  |  |  |  | 32 | [17 empty] | 0
RUCEA15 _generator | RO_RA_00156 | costly_ra | 0 |  |  |  |  | 49 | [17 empty] | 0
RCIRT_5 _generator | RO_RA_00157 | costly_ra | 0 |  |  |  |  | 54 | [17 empty] | 0
RSTEJ_5 _generator | RO_RA_00158 | costly_ra | 0 |  |  |  |  | 0
RVADU_5 _generator | RO_RA_00160 | costly_ra | 0 |  |  |  |  | 0 | [17 empty] | 67
RIZVO_5 _generator | RO_RA_00161 | costly_ra | 0 |  |  |  |  | 0 | [17 empty] | 9
RDUMB_5 _generator | RO_RA_00162 | costly_ra | 0 |  |  |  |  | 0 | [17 empty] | 23
RCOST_5 _generator | RO_RA_00163 | costly_ra | 0 |  |  |  |  | 0 | [17 empty] | 24
RBUHU_5 _generator | RO_RA_00164 | costly_ra | 0 |  |  |  |  | 0 | [17 empty] | 13
RRACO_5 _generator | RO_RA_00165 | costly_ra | 0 |  |  |  |  | 0 | [17 empty] | 23
RGARL_5 _generator | RO_RA_00166 | costly_ra | 0 |  |  |  |  | 0 | [17 empty] | 23
RLILI_5 _generator | RO_RA_00167 | costly_ra | 0 |  |  |  |  | 0 | [17 empty] | 23
RBACS_5 _generator | RO_RA_00168 | costly_ra | 0 |  |  |  |  | 0 | [17 empty] | 98
RFARA_5 _generator | RO_RA_00169 | costly_ra | 0 |  |  |  |  | 0 | [17 empty] | 30
RSISC_5 _generator | RO_RA_00170 | costly_ra | 0 |  |  |  |  | 0 | [17 empty] | 44
RMARA_5 _generator | RO_RA_00171 | costly_ra | 0 |  |  |  |  | 0 | [17 empty] | 0
RTECU_5 _generator | RO_RA_00172 | costly_ra | 0 |  |  |  |  | 0 | [17 empty] | 0
RMARI22 _generator | RO_RA_00173 | costly_ra | 217 |  |  |  |  | 217
RGILC22 _generator | RO_RA_00175 | costly_ra | 150 | [22 empty] | 150
RSEBE_5 _generator | RO_RA_00176 | costly_ra | 55 |  |  |  |  | 55 | [17 empty] | 55
RIAZUA5 _generator | RO_RA_00177 | costly_ra | 71 |  |  |  |  | 71 | [17 empty] | 71
RREME_5 _generator | RO_RA_00178 | costly_ra | 96 |  |  |  |  | 96 | [17 empty] | 96
RMUNT_5 _generator | RO_RA_00179 | costly_ra | 58 |  |  |  |  | 58 | [17 empty] | 58
RRETE22 _generator | RO_RA_00180 | costly_ra | 222 |  |  |  |  | 222 | [17 empty] | 222
RRETE_5 _generator | RO_RA_00181 | costly_ra | 20 |  |  |  |  | 20
RCIRNA5 _generator | RO_RA_00182 | costly_ra | 29 |  |  |  |  | 29 | [17 empty] | 29
RCIRNB5 _generator | RO_RA_00183 | costly_ra | 27 |  |  |  |  | 27 | [17 empty] | 27
RHATE_5 _generator | RO_RA_00184 | costly_ra | 52 |  |  |  |  | 52 | [17 empty] | 52
RTOPV_5 _generator | RO_RA_00120 | costly_ra | [5 empty] | 0
RBRDS25 _generator | RO_RA_00133 | costly_ra | [5 empty] | 28 | [17 empty] | 0
RROVI31 _generator | RO_RA_00105 | costly_ra | [23 empty] | 1
RSTEJ25 _generator | RO_RA_00159 | costly_ra | [23 empty] | 32
RSUGA22 _generator | RO_RA_00174 | costly_ra | [23 empty] | 150

## SRO borders-imports RAs
SUBMISSION DATE: | 10.07.2026
BUSINESS DATE: | 12.07.2026
DA CC Remedial Actions
Initial CCC
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400 kV TINTARENI-KOZLODUI 1 | BG_RA_00001 | topological | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful |  |  | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst | helpful | helpful | helpful | helpful | helpful | helpful | notApplied |  |  |  | notApplied | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | notApplied | notApplied | notApplied | notApplied | helpful
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00008 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | helpful | helpful | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Tantareni-Kozlodui 2 | RO_RA_00009 | topological | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological | helpful | helpful | helpful | helpful | helpful | helpful | helpful |  |  |  | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Resita-Pancevo c1 | RO_RA_00017 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied |  |  |  | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
NonCostly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
NonCostly Step 5
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
Costly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
RVMAR_5 _generator | RO_RA_00116 | costly_ra | [7 empty] | 38 | 33
RTOPV_5 _generator | RO_RA_00120 | costly_ra | [7 empty] | 0 | 0
RFMEP_5 _generator | RO_RA_00121 | costly_ra | [7 empty] | 0 | 0
RVLCE15 _generator | RO_RA_00122 | costly_ra | [7 empty] | 0 | 0
RVALD_5 _generator | RO_RA_00123 | costly_ra | [7 empty] | 0 | 0
RELAR_5 _generator | RO_RA_00124 | costly_ra | [7 empty] | 0 | 0
RAREF_5 _generator | RO_RA_00125 | costly_ra | [7 empty] | 0 | 0
RARGS_5 _generator | RO_RA_00126 | costly_ra | [7 empty] | 0 | 0
RALBE_5 _generator | RO_RA_00127 | costly_ra | [7 empty] | 0 | 0
RCERB_5 _generator | RO_RA_00128 | costly_ra | [7 empty] | 0 | 0
RVLCE25 _generator | RO_RA_00129 | costly_ra | [7 empty] | 0 | 0
RCLNG_5 _generator | RO_RA_00130 | costly_ra | [7 empty] | 0 | 0
RSTUP_5 _generator | RO_RA_00134 | costly_ra | [7 empty] | 0 | 0
RDAIES5 _generator | RO_RA_00135 | costly_ra | [7 empty] | 0 | 0
RVILN_5 _generator | RO_RA_00136 | costly_ra | [7 empty] | 0 | 0
RRIUR15 _generator | RO_RA_00137 | costly_ra | [7 empty] | 0 | 0
RMARC_5 _generator | RO_RA_00138 | costly_ra | [7 empty] | 0 | 0
RIONE_5 _generator | RO_RA_00139 | costly_ra | [7 empty] | 0 | 0
RJIBL_5 _generator | RO_RA_00140 | costly_ra | [7 empty] | 0 | 0
RZAVI_5 _generator | RO_RA_00141 | costly_ra | [7 empty] | 0 | 0
RCHTU_5 _generator | RO_RA_00142 | costly_ra | [7 empty] | 0 | 0
RTRAI_5 _generator | RO_RA_00143 | costly_ra | [7 empty] | 0 | 0
RHGLOT5 _generator | RO_RA_00144 | costly_ra | [7 empty] | 0 | 0
RCHESJ5 _generator | RO_RA_00145 | costly_ra | [7 empty] | 50 | 50
RCHEAC5 _generator | RO_RA_00146 | costly_ra | [7 empty] | 38 | 38
RCHEST5 _generator | RO_RA_00147 | costly_ra | [7 empty] | 26 | 26
RCHEIO5 _generator | RO_RA_00148 | costly_ra | [7 empty] | 53 | 53
RCHDO_5 _generator | RO_RA_00149 | costly_ra | [7 empty] | 53 | 53
RFRUN_5 _generator | RO_RA_00150 | costly_ra | [7 empty] | 53 | 53
RCIZBI5 _generator | RO_RA_00151 | costly_ra | [7 empty] | 53 | 53
RRUSA_5 _generator | RO_RA_00152 | costly_ra | [7 empty] | 53 | 53
RHCORN5 _generator | RO_RA_00153 | costly_ra | [7 empty] | 0 | 0
RFAGA_5 _generator | RO_RA_00154 | costly_ra | [7 empty] | 0 | 0
RUCEA25 _generator | RO_RA_00155 | costly_ra | [7 empty] | 0 | 0
RUCEA15 _generator | RO_RA_00156 | costly_ra | [7 empty] | 0 | 0
RCIRT_5 _generator | RO_RA_00157 | costly_ra | [7 empty] | 0 | 0
RVADU_5 _generator | RO_RA_00160 | costly_ra | [7 empty] | 0 | 0
RIZVO_5 _generator | RO_RA_00161 | costly_ra | [7 empty] | 0 | 0
RDUMB_5 _generator | RO_RA_00162 | costly_ra | [7 empty] | 0 | 0
RCOST_5 _generator | RO_RA_00163 | costly_ra | [7 empty] | 0 | 0
RBUHU_5 _generator | RO_RA_00164 | costly_ra | [7 empty] | 0 | 0
RRACO_5 _generator | RO_RA_00165 | costly_ra | [7 empty] | 0 | 0
RGARL_5 _generator | RO_RA_00166 | costly_ra | [7 empty] | 0 | 0
RLILI_5 _generator | RO_RA_00167 | costly_ra | [7 empty] | 0 | 0
RBACS_5 _generator | RO_RA_00168 | costly_ra | [7 empty] | 0 | 0
RFARA_5 _generator | RO_RA_00169 | costly_ra | [7 empty] | 0 | 0
RSISC_5 _generator | RO_RA_00170 | costly_ra | [7 empty] | 0 | 0
RMARA_5 _generator | RO_RA_00171 | costly_ra | [7 empty] | 0 | 0
RTECU_5 _generator | RO_RA_00172 | costly_ra | [7 empty] | 0 | 0
RSEBE_5 _generator | RO_RA_00176 | costly_ra | [7 empty] | 0 | 0
RRETE_5 _generator | RO_RA_00181 | costly_ra | [7 empty] | 0
RCIRNA5 _generator | RO_RA_00182 | costly_ra | [7 empty] | 0
RCIRNB5 _generator | RO_RA_00183 | costly_ra | [7 empty] | 0
RHATE_5 _generator | RO_RA_00184 | costly_ra | [7 empty] | 0