## SRO borders-exports
SUBMISSION DATE: | 14.07.2026
BUSINESS DATE: | 16.07.2026
DA CC Remedial Actions
From Hour (CET) | To Hour (CET) | CO | CNE | Loading (%) | TTC South Romania | NTC South Romania | NTC RO-BG
00:00 | 01:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 96 | 3624 | 3424 | 2397
01:00 | 02:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 97 | 3621 | 3421 | 2395
02:00 | 03:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 95 | 3641 | 3441 | 2409
03:00 | 04:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 95 | 3623 | 3423 | 2396
04:00 | 05:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 97 | 3631 | 3431 | 2402
05:00 | 06:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3457 | 3257 | 2280
06:00 | 07:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2132 | 1932 | 1352
07:00 | 08:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 887 | 687 | 481
08:00 | 09:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 101 | 650 | 450 | 315
09:00 | 10:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 1122 | 922 | 645
10:00 | 11:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 1154 | 954 | 668
11:00 | 12:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 1308 | 1108 | 776
12:00 | 13:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 1376 | 1176 | 823
13:00 | 14:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 1255 | 1055 | 738
14:00 | 15:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 1432 | 1232 | 862
15:00 | 16:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 1414 | 1214 | 850
16:00 | 17:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2238 | 2038 | 1427
17:00 | 18:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 99 | 3540 | 3340 | 2338
18:00 | 19:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3262 | 3062 | 2143
19:00 | 20:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2211 | 2011 | 1408
20:00 | 21:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 1888 | 1688 | 1182
21:00 | 22:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 1964 | 1764 | 1235
22:00 | 23:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2276 | 2076 | 1453
23:00 | 00:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 99 | 3396 | 3196 | 2237

## SRO borders-imports
SUBMISSION DATE: | 14.07.2026
BUSINESS DATE: | 16.07.2026
DA CC Remedial Actions
From Hour (CET) | To Hour (CET) | CO | CNE | Loading (%) | TTC South Romania | NTC South Romania | NTC BG-RO
00:00 | 01:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3497 | 3297 | 2308
01:00 | 02:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 99 | 3675 | 3475 | 2432
02:00 | 03:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3709 | 3509 | 2456
03:00 | 04:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 97 | 3646 | 3446 | 2412
04:00 | 05:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 97 | 3692 | 3492 | 2444
05:00 | 06:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 97 | 3580 | 3380 | 2366
06:00 | 07:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 100 | 3395 | 3195 | 2236
07:00 | 08:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 100 | 3099 | 2899 | 2029
08:00 | 09:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 100 | 2736 | 2536 | 1775
09:00 | 10:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 100 | 3108 | 2908 | 2036
10:00 | 11:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 100 | 3282 | 3082 | 2157
11:00 | 12:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 100 | 3453 | 3253 | 2277
12:00 | 13:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 100 | 3479 | 3279 | 2295
13:00 | 14:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 100 | 3295 | 3095 | 2166
14:00 | 15:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 100 | 3279 | 3079 | 2155
15:00 | 16:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 100 | 3594 | 3394 | 2376
16:00 | 17:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 100 | 3798 | 3598 | 2519
17:00 | 18:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 99 | 3674 | 3474 | 2432
18:00 | 19:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 96 | 3633 | 3433 | 2403
19:00 | 20:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 96 | 3327 | 3127 | 2189
20:00 | 21:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 97 | 3183 | 2983 | 2088
21:00 | 22:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 100 | 3354 | 3154 | 2208
22:00 | 23:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 99 | 3328 | 3128 | 2190
23:00 | 00:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 96 | 3590 | 3390 | 2373

## SRO borders-exports RAs
SUBMISSION DATE: | 14.07.2026
BUSINESS DATE: | 16.07.2026
DA CC Remedial Actions
Initial CCC
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00008 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | helpful | helpful | notApplied | helpful | notApplied | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 2 | RO_RA_00009 | topological | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological | helpful | helpful | helpful | helpful | helpful | helpful | helpful | notApplied | notApplied | helpful | notApplied | notApplied | notApplied | notApplied | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Resita-Pancevo c1 | RO_RA_00017 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
NonCostly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
NonCostly Step 5
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
Costly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
RROVI31 _generator | RO_RA_00105 | costly_ra | [6 empty] | 296
RPDF212 _generator | RO_RA_00115 | costly_ra | [6 empty] | 0
RVMAR_5 _generator | RO_RA_00116 | costly_ra | [6 empty] | 50
RGODI_5 _generator | RO_RA_00117 | costly_ra | [6 empty] | 114
RTOPV_5 _generator | RO_RA_00120 | costly_ra | [6 empty] | 10
RFMEP_5 _generator | RO_RA_00121 | costly_ra | [6 empty] | 14
RVLCE15 _generator | RO_RA_00122 | costly_ra | [6 empty] | 55
RVALD_5 _generator | RO_RA_00123 | costly_ra | [6 empty] | 15
RELAR_5 _generator | RO_RA_00124 | costly_ra | [6 empty] | 10
RAREF_5 _generator | RO_RA_00125 | costly_ra | [6 empty] | 10
RARGS_5 _generator | RO_RA_00126 | costly_ra | [6 empty] | 31
RALBE_5 _generator | RO_RA_00127 | costly_ra | [6 empty] | 30
RCERB_5 _generator | RO_RA_00128 | costly_ra | [6 empty] | 15
RVLCE25 _generator | RO_RA_00129 | costly_ra | [6 empty] | 12
RCLNG_5 _generator | RO_RA_00130 | costly_ra | [6 empty] | 90
RBRDS25 _generator | RO_RA_00133 | costly_ra | [6 empty] | 55
RSTUP_5 _generator | RO_RA_00134 | costly_ra | [6 empty] | 45
RDAIES5 _generator | RO_RA_00135 | costly_ra | [6 empty] | 37
RVILN_5 _generator | RO_RA_00136 | costly_ra | [6 empty] | 46
RRIUR15 _generator | RO_RA_00137 | costly_ra | [6 empty] | 48
RMARC_5 _generator | RO_RA_00138 | costly_ra | [6 empty] | 39
RIONE_5 _generator | RO_RA_00139 | costly_ra | [6 empty] | 38
RJIBL_5 _generator | RO_RA_00140 | costly_ra | [6 empty] | 38
RZAVI_5 _generator | RO_RA_00141 | costly_ra | [6 empty] | 38
RCHTU_5 _generator | RO_RA_00142 | costly_ra | [6 empty] | 74
RTRAI_5 _generator | RO_RA_00143 | costly_ra | [6 empty] | 45
RHGLOT5 _generator | RO_RA_00144 | costly_ra | [6 empty] | 25
RCHESJ5 _generator | RO_RA_00145 | costly_ra | [6 empty] | 50
RCHEAC5 _generator | RO_RA_00146 | costly_ra | [6 empty] | 38
RCHEST5 _generator | RO_RA_00147 | costly_ra | [6 empty] | 26
RCHEIO5 _generator | RO_RA_00148 | costly_ra | [6 empty] | 53
RCHDO_5 _generator | RO_RA_00149 | costly_ra | [6 empty] | 53
RFRUN_5 _generator | RO_RA_00150 | costly_ra | [6 empty] | 53
RCIZBI5 _generator | RO_RA_00151 | costly_ra | [6 empty] | 53
RRUSA_5 _generator | RO_RA_00152 | costly_ra | [6 empty] | 53
RHCORN5 _generator | RO_RA_00153 | costly_ra | [6 empty] | 59
RFAGA_5 _generator | RO_RA_00154 | costly_ra | [6 empty] | 20
RUCEA25 _generator | RO_RA_00155 | costly_ra | [6 empty] | 32
RUCEA15 _generator | RO_RA_00156 | costly_ra | [6 empty] | 49
RCIRT_5 _generator | RO_RA_00157 | costly_ra | [6 empty] | 54
RSTEJ_5 _generator | RO_RA_00158 | costly_ra | [6 empty] | 0
RVADU_5 _generator | RO_RA_00160 | costly_ra | [6 empty] | 0
RIZVO_5 _generator | RO_RA_00161 | costly_ra | [6 empty] | 0
RDUMB_5 _generator | RO_RA_00162 | costly_ra | [6 empty] | 0
RCOST_5 _generator | RO_RA_00163 | costly_ra | [6 empty] | 0
RBUHU_5 _generator | RO_RA_00164 | costly_ra | [6 empty] | 0
RRACO_5 _generator | RO_RA_00165 | costly_ra | [6 empty] | 0
RLILI_5 _generator | RO_RA_00167 | costly_ra | [6 empty] | 0
RBACS_5 _generator | RO_RA_00168 | costly_ra | [6 empty] | 0
RFARA_5 _generator | RO_RA_00169 | costly_ra | [6 empty] | 0
RSISC_5 _generator | RO_RA_00170 | costly_ra | [6 empty] | 0
RMARA_5 _generator | RO_RA_00171 | costly_ra | [6 empty] | 0
RTECU_5 _generator | RO_RA_00172 | costly_ra | [6 empty] | 0
RMARI22 _generator | RO_RA_00173 | costly_ra | [6 empty] | 0
RSUGA22 _generator | RO_RA_00174 | costly_ra | [6 empty] | 0
RGILC22 _generator | RO_RA_00175 | costly_ra | [6 empty] | 0
RSEBE_5 _generator | RO_RA_00176 | costly_ra | [6 empty] | 0
RREME_5 _generator | RO_RA_00178 | costly_ra | [6 empty] | 96
RRETE22 _generator | RO_RA_00180 | costly_ra | [6 empty] | 0
RRETE_5 _generator | RO_RA_00181 | costly_ra | [6 empty] | 0
RCIRNA5 _generator | RO_RA_00182 | costly_ra | [6 empty] | 0
RCIRNB5 _generator | RO_RA_00183 | costly_ra | [6 empty] | 0
RHATE_5 _generator | RO_RA_00184 | costly_ra | [6 empty] | 0

## SRO borders-imports RAs
SUBMISSION DATE: | 14.07.2026
BUSINESS DATE: | 16.07.2026
DA CC Remedial Actions
Initial CCC
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst | helpful | helpful | helpful | helpful | helpful | [5 empty] | helpful | helpful | helpful | helpful | notApplied | notApplied | helpful | helpful | helpful | helpful |  |  | notApplied | notApplied
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00008 | topological | notApplied | notApplied | notApplied | notApplied | notApplied |  |  |  | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Tantareni-Kozlodui 2 | RO_RA_00009 | topological | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological | helpful | helpful | helpful | helpful | helpful | [5 empty] | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful |  |  | helpful | helpful
PRA 400 kV Resita-Pancevo c1 | RO_RA_00017 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | [5 empty] | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied |  |  | notApplied | notApplied
PRA 400 kV TINTARENI-KOZLODUI 1 | BG_RA_00001 | topological |  |  | notApplied | notApplied | notApplied |  |  |  | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV TINTARENI-KOZLODUI 2 | BG_RA_00002 | topological |  |  | notApplied | notApplied
NonCostly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
NonCostly Step 5
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
Costly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
RVMAR_5 _generator | RO_RA_00116 | costly_ra | [15 empty] | 0 | 0 |  |  |  |  | 0
RGODI_5 _generator | RO_RA_00117 | costly_ra | [15 empty] | 0 | 0
RTOPV_5 _generator | RO_RA_00120 | costly_ra | [15 empty] | 0 | 0
RVLCE15 _generator | RO_RA_00122 | costly_ra | [15 empty] | 0 | 0 |  |  |  |  | 0
RVALD_5 _generator | RO_RA_00123 | costly_ra | [15 empty] | 15 | 15 |  |  |  |  | 0
RELAR_5 _generator | RO_RA_00124 | costly_ra | [15 empty] | 10 | 10
RAREF_5 _generator | RO_RA_00125 | costly_ra | [15 empty] | 10 | 10 |  |  |  |  | 0
RARGS_5 _generator | RO_RA_00126 | costly_ra | [15 empty] | 0 | 0 |  |  |  |  | 0
RALBE_5 _generator | RO_RA_00127 | costly_ra | [15 empty] | 30 | 30 |  |  |  |  | 0
RCERB_5 _generator | RO_RA_00128 | costly_ra | [15 empty] | 15 | 15 |  |  |  |  | 0
RCLNG_5 _generator | RO_RA_00130 | costly_ra | [15 empty] | 0 | 0 |  |  |  |  | 0
RSTUP_5 _generator | RO_RA_00134 | costly_ra | [15 empty] | 0 | 0 |  |  |  |  | 45
RDAIES5 _generator | RO_RA_00135 | costly_ra | [15 empty] | 0 | 0 |  |  |  |  | 0
RVILN_5 _generator | RO_RA_00136 | costly_ra | [15 empty] | 0 | 0 |  |  |  |  | 0
RRIUR15 _generator | RO_RA_00137 | costly_ra | [15 empty] | 48 | 48 |  |  |  |  | 0
RMARC_5 _generator | RO_RA_00138 | costly_ra | [15 empty] | 37 | 39 |  |  |  |  | 39
RIONE_5 _generator | RO_RA_00139 | costly_ra | [15 empty] | 0 | 0 |  |  |  |  | 38
RJIBL_5 _generator | RO_RA_00140 | costly_ra | [15 empty] | 0 | 0 |  |  |  |  | 0
RZAVI_5 _generator | RO_RA_00141 | costly_ra | [15 empty] | 0 | 0 |  |  |  |  | 38
RCHTU_5 _generator | RO_RA_00142 | costly_ra | [15 empty] | 74 | 74 |  |  |  |  | 0
RTRAI_5 _generator | RO_RA_00143 | costly_ra | [15 empty] | 0 | 38 |  |  |  |  | 45
RHGLOT5 _generator | RO_RA_00144 | costly_ra | [15 empty] | 25 | 25 |  |  |  |  | 0
RCHESJ5 _generator | RO_RA_00145 | costly_ra | [15 empty] | 0 | 0 |  |  |  |  | 0
RCHEAC5 _generator | RO_RA_00146 | costly_ra | [15 empty] | 0 | 0 |  |  |  |  | 0
RCHEST5 _generator | RO_RA_00147 | costly_ra | [15 empty] | 0 | 0 |  |  |  |  | 0
RCHEIO5 _generator | RO_RA_00148 | costly_ra | [15 empty] | 53 | 53 |  |  |  |  | 0
RCHDO_5 _generator | RO_RA_00149 | costly_ra | [15 empty] | 53 | 53 |  |  |  |  | 0
RFRUN_5 _generator | RO_RA_00150 | costly_ra | [15 empty] | 0 | 0 |  |  |  |  | 0
RCIZBI5 _generator | RO_RA_00151 | costly_ra | [15 empty] | 0 | 0 |  |  |  |  | 0
RRUSA_5 _generator | RO_RA_00152 | costly_ra | [15 empty] | 0 | 0 |  |  |  |  | 0
RHCORN5 _generator | RO_RA_00153 | costly_ra | [15 empty] | 59 | 59 |  |  |  |  | 0
RUCEA25 _generator | RO_RA_00155 | costly_ra | [15 empty] | 0 | 0 |  |  |  |  | 0
RUCEA15 _generator | RO_RA_00156 | costly_ra | [15 empty] | 0 | 0 |  |  |  |  | 0
RVADU_5 _generator | RO_RA_00160 | costly_ra | [15 empty] | 0 | 0 |  |  |  |  | 67
RIZVO_5 _generator | RO_RA_00161 | costly_ra | [15 empty] | 0 | 0 |  |  |  |  | 9
RDUMB_5 _generator | RO_RA_00162 | costly_ra | [15 empty] | 0 | 0 |  |  |  |  | 23
RCOST_5 _generator | RO_RA_00163 | costly_ra | [15 empty] | 0 | 0 |  |  |  |  | 24
RBUHU_5 _generator | RO_RA_00164 | costly_ra | [15 empty] | 0 | 0 |  |  |  |  | 13
RRACO_5 _generator | RO_RA_00165 | costly_ra | [15 empty] | 0 | 0 |  |  |  |  | 23
RLILI_5 _generator | RO_RA_00167 | costly_ra | [15 empty] | 0 | 0 |  |  |  |  | 23
RBACS_5 _generator | RO_RA_00168 | costly_ra | [15 empty] | 0 | 0 |  |  |  |  | 98
RFARA_5 _generator | RO_RA_00169 | costly_ra | [15 empty] | 0 | 0 |  |  |  |  | 30
RSISC_5 _generator | RO_RA_00170 | costly_ra | [15 empty] | 0 | 0 |  |  |  |  | 0
RMARA_5 _generator | RO_RA_00171 | costly_ra | [15 empty] | 0 | 0 |  |  |  |  | 2
RTECU_5 _generator | RO_RA_00172 | costly_ra | [15 empty] | 0 | 0 |  |  |  |  | 34
RSEBE_5 _generator | RO_RA_00176 | costly_ra | [15 empty] | 0 | 0 |  |  |  |  | 0
RRETE_5 _generator | RO_RA_00181 | costly_ra | [15 empty] | 0 | 0 |  |  |  |  | 0
RCIRNA5 _generator | RO_RA_00182 | costly_ra | [15 empty] | 0 | 0 |  |  |  |  | 0
RCIRNB5 _generator | RO_RA_00183 | costly_ra | [15 empty] | 0 | 0 |  |  |  |  | 0
RHATE_5 _generator | RO_RA_00184 | costly_ra | [15 empty] | 0 | 0 |  |  |  |  | 0
RSTEJ25 _generator | RO_RA_00159 | costly_ra | [16 empty] | 0 |  |  |  |  | 0
RROVI31 _generator | RO_RA_00105 | costly_ra | [21 empty] | 18
RTURC51 _generator | RO_RA_00108 | costly_ra | [21 empty] | 300
RIERN22 _generator | RO_RA_00110 | costly_ra | [21 empty] | 1
RBRZ241 _generator | RO_RA_00112 | costly_ra | [21 empty] | 1
RBRAZ22 _generator | RO_RA_00113 | costly_ra | [21 empty] | 1
RPDF222 _generator | RO_RA_00114 | costly_ra | [21 empty] | 0
RPDF212 _generator | RO_RA_00115 | costly_ra | [21 empty] | 0
RFMEP_5 _generator | RO_RA_00121 | costly_ra | [21 empty] | 0
RVLCE25 _generator | RO_RA_00129 | costly_ra | [21 empty] | 0
RLOTR22 _generator | RO_RA_00131 | costly_ra | [21 empty] | 0
RLOT212 _generator | RO_RA_00132 | costly_ra | [21 empty] | 0
RBRDS25 _generator | RO_RA_00133 | costly_ra | [21 empty] | 0
RFAGA_5 _generator | RO_RA_00154 | costly_ra | [21 empty] | 0
RCIRT_5 _generator | RO_RA_00157 | costly_ra | [21 empty] | 0
RSTEJ_5 _generator | RO_RA_00158 | costly_ra | [21 empty] | 0
RGARL_5 _generator | RO_RA_00166 | costly_ra | [21 empty] | 0
RMARI22 _generator | RO_RA_00173 | costly_ra | [21 empty] | 0
RSUGA22 _generator | RO_RA_00174 | costly_ra | [21 empty] | 150
RGILC22 _generator | RO_RA_00175 | costly_ra | [21 empty] | 150
RRETE22 _generator | RO_RA_00180 | costly_ra | [21 empty] | 0