## SRO borders-exports
SUBMISSION DATE: | 23.07.2026
BUSINESS DATE: | 25.07.2026
DA CC Remedial Actions
From Hour (CET) | To Hour (CET) | CO | CNE | Loading (%) | TTC South Romania | NTC South Romania | NTC RO-BG
00:00 | 01:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3267 | 3067 | 2147
01:00 | 02:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3299 | 3099 | 2169
02:00 | 03:00 | N-1 OHL 400 kV Tantareni-Urechesti | [RO-RO] [DIR] TRA 400/220 kV AT Urechesti | 101 | 3603 | 3403 | 2382
03:00 | 04:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3296 | 3096 | 2167
04:00 | 05:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3233 | 3033 | 2123
05:00 | 06:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2786 | 2586 | 1810
06:00 | 07:00 | N-1 TIE 400 kV Isaccea - Vulcanesti | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2817 | 2617 | 1832
07:00 | 08:00 | N-1 TIE 400 kV Isaccea - Vulcanesti | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2391 | 2191 | 1534
08:00 | 09:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 1005 | 805 | 564
09:00 | 10:00 | N-1 TIE 400 kV Resita-Pancevo c2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 1785 | 1585 | 1110
10:00 | 11:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2814 | 2614 | 1830
11:00 | 12:00 | N-1 TIE 400 kV Resita-Pancevo c2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3474 | 3274 | 2292
12:00 | 13:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 95 | 3936 | 3736 | 2615
13:00 | 14:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 95 | 3905 | 3705 | 2594
14:00 | 15:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 96 | 3884 | 3684 | 2579
15:00 | 16:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 92 | 3897 | 3697 | 2588
16:00 | 17:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 98 | 3817 | 3617 | 2532
17:00 | 18:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 99 | 3248 | 3048 | 2134
18:00 | 19:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 98 | 3857 | 3657 | 2560
19:00 | 20:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2929 | 2729 | 1910
20:00 | 21:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2762 | 2562 | 1793
21:00 | 22:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2840 | 2640 | 1848
22:00 | 23:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3002 | 2802 | 1961
23:00 | 00:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3330 | 3130 | 2191

## SRO borders-imports
SUBMISSION DATE: | 23.07.2026
BUSINESS DATE: | 25.07.2026
DA CC Remedial Actions
From Hour (CET) | To Hour (CET) | CO | CNE | Loading (%) | TTC South Romania | NTC South Romania | NTC BG-RO
00:00 | 01:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 97 | 3071 | 2871 | 2010
01:00 | 02:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 97 | 3128 | 2928 | 2050
02:00 | 03:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 97 | 3237 | 3037 | 2126
03:00 | 04:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 97 | 3158 | 2958 | 2071
04:00 | 05:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 97 | 3054 | 2854 | 1998
05:00 | 06:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 97 | 2858 | 2658 | 1861
06:00 | 07:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 99 | 2126 | 1926 | 1348
07:00 | 08:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 100 | 2154 | 1954 | 1368
08:00 | 09:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 100 | 1816 | 1616 | 1131
09:00 | 10:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 100 | 2024 | 1824 | 1277
10:00 | 11:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 97 | 2608 | 2408 | 1686
11:00 | 12:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 96 | 2988 | 2788 | 1952
12:00 | 13:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 96 | 3408 | 3208 | 2246
13:00 | 14:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 97 | 3342 | 3142 | 2199
14:00 | 15:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 97 | 3197 | 2997 | 2098
15:00 | 16:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 97 | 3202 | 3002 | 2101
16:00 | 17:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 97 | 2951 | 2751 | 1926
17:00 | 18:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 97 | 3161 | 2961 | 2073
18:00 | 19:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 97 | 3460 | 3260 | 2282
19:00 | 20:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 99 | 2984 | 2784 | 1949
20:00 | 21:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 97 | 2890 | 2690 | 1883
21:00 | 22:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 100 | 3065 | 2865 | 2006
22:00 | 23:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 100 | 3074 | 2874 | 2012
23:00 | 00:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 97 | 2956 | 2756 | 1929

## SRO borders-exports RAs
SUBMISSION DATE: | 23.07.2026
BUSINESS DATE: | 25.07.2026
DA CC Remedial Actions
Initial CCC
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst | helpful | helpful | notApplied | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | notApplied | helpful | helpful | helpful | helpful | helpful | helpful | helpful | notApplied | notApplied | helpful | helpful | notApplied
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00008 | topological | notApplied | notApplied | helpful | notApplied | notApplied | notApplied | notApplied | helpful | helpful | helpful | notApplied | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | notApplied | notApplied | notApplied
PRA 400 kV Tantareni-Kozlodui 2 | RO_RA_00009 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological | helpful | helpful | helpful | helpful | helpful | notApplied | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Resita-Pancevo c1 | RO_RA_00017 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
NonCostly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400 kV TINTARENI-KOZLODUI 1 | BG_RA_00001 | topological_ra | [5 empty] | applied
PRA 110 kV S5 | RO_RA_00004 | topological_ra | [5 empty] | applied
PRA 110 kV Pelicanu | RO_RA_00005 | topological_ra | [5 empty] | applied
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00008 | topological_ra | [5 empty] | applied
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst_ra | [5 empty] | applied
NonCostly Step 5
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
Costly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
RROVI31 _generator | RO_RA_00105 | costly_ra | [5 empty] | 1 | 1 | 1 |  | 1 | 1 | 1
RROV641 _generator | RO_RA_00106 | costly_ra | [5 empty] | 295 | 1 | 1 |  | 93 | 149 | 1
RBRAZ41 _generator | RO_RA_00111 | costly_ra | [5 empty] | 1 | 166 | 188 |  |  |  | 1
RBRZ241 _generator | RO_RA_00112 | costly_ra | [5 empty] | 1 | [5 empty] | 1
RBRAZ22 _generator | RO_RA_00113 | costly_ra | [5 empty] | 1 | 1 | 1 |  |  |  | 1
RPDF212 _generator | RO_RA_00115 | costly_ra | [5 empty] | 119 | 0 | 0
RGODI_5 _generator | RO_RA_00117 | costly_ra | [5 empty] | 70 |  | 0 |  | 7 | 17
RTOPV_5 _generator | RO_RA_00120 | costly_ra | [5 empty] | 0 | 10 | 10 |  | 10 | 10 | 0
RVLCE15 _generator | RO_RA_00122 | costly_ra | [5 empty] | 55 | 55 | 55 |  | 55 | 55 | 0
RARGS_5 _generator | RO_RA_00126 | costly_ra | [5 empty] | 0 | 31 | 31 |  | 31 | 31 | 0
RALBE_5 _generator | RO_RA_00127 | costly_ra | [5 empty] | 30 | 30 | 30 |  | 30 | 0 | 30
RCERB_5 _generator | RO_RA_00128 | costly_ra | [5 empty] | 15 | 15 | 15 |  | 15 | 15 | 15
RVLCE25 _generator | RO_RA_00129 | costly_ra | [5 empty] | 12 | 12 | 12 |  | 12 | 12
RCLNG_5 _generator | RO_RA_00130 | costly_ra | [5 empty] | 90 | 90 | 90 |  | 90 | 0 | 0
RSTUP_5 _generator | RO_RA_00134 | costly_ra | [5 empty] | 45 | 45 | 45 |  | 0 | 0 | 0
RDAIES5 _generator | RO_RA_00135 | costly_ra | [5 empty] | 37 | 37 | 37 |  | 37 | 0 | 0
RVILN_5 _generator | RO_RA_00136 | costly_ra | [5 empty] | 46 | 46 | 46 |  | 0 | 0 | 0
RRIUR15 _generator | RO_RA_00137 | costly_ra | [5 empty] | 48 | 48 | 48 |  | 0 | 0 | 48
RMARC_5 _generator | RO_RA_00138 | costly_ra | [5 empty] | 39 | 39 | 39 |  | 0 | 0 | 0
RIONE_5 _generator | RO_RA_00139 | costly_ra | [5 empty] | 38 | 38 | 38 |  | 0 | 0 | 38
RJIBL_5 _generator | RO_RA_00140 | costly_ra | [5 empty] | 38 | 38 | 38 |  | 0 | 0 | 0
RZAVI_5 _generator | RO_RA_00141 | costly_ra | [5 empty] | 38 | 38 | 38 |  | 0 | 0 | 30
RCHTU_5 _generator | RO_RA_00142 | costly_ra | [5 empty] | 74 | 74 | 74 |  | 74 | 74 | 0
RTRAI_5 _generator | RO_RA_00143 | costly_ra | [5 empty] | 45 | 45 | 45 |  | 0 | 0 | 0
RHGLOT5 _generator | RO_RA_00144 | costly_ra | [5 empty] | 25 | 25 | 25 |  | 25 | 0 | 0
RCHESJ5 _generator | RO_RA_00145 | costly_ra | [5 empty] | 50 | 0 | 0 |  | 0 | 0 | 0
RCHEAC5 _generator | RO_RA_00146 | costly_ra | [5 empty] | 0 | 0 | 0 |  | 0 | 0 | 0
RCHEST5 _generator | RO_RA_00147 | costly_ra | [5 empty] | 26 | 0 | 0 |  | 0 | 0 | 0
RCHEIO5 _generator | RO_RA_00148 | costly_ra | [5 empty] | 53 | 0 | 0 |  | 0 | 0 | 0
RCHDO_5 _generator | RO_RA_00149 | costly_ra | [5 empty] | 53 | 0 | 0 |  | 0 | 0 | 0
RFRUN_5 _generator | RO_RA_00150 | costly_ra | [5 empty] | 53 | 0 | 0 |  | 53 | 0 | 0
RCIZBI5 _generator | RO_RA_00151 | costly_ra | [5 empty] | 53 | 0 | 0 |  | 53 | 0 | 0
RRUSA_5 _generator | RO_RA_00152 | costly_ra | [5 empty] | 53 | 0 | 0 |  | 53 | 0 | 0
RHCORN5 _generator | RO_RA_00153 | costly_ra | [5 empty] | 59 | 59 | 59 |  | 0 | 59 | 0
RFAGA_5 _generator | RO_RA_00154 | costly_ra | [5 empty] | 20 | 20 | 20 |  | 0 | 0 | 20
RUCEA25 _generator | RO_RA_00155 | costly_ra | [5 empty] | 32 | 32 | 32 |  | 0 | 0 | 32
RUCEA15 _generator | RO_RA_00156 | costly_ra | [5 empty] | 49 | 49 | 49 |  | 0 | 0 | 49
RCIRT_5 _generator | RO_RA_00157 | costly_ra | [5 empty] | 54 | 54 | 54 |  | 0 | 0 | 54
RSTEJ25 _generator | RO_RA_00159 | costly_ra | [5 empty] | 32 | 32 | 32 |  | 32 | 32 | 32
RVADU_5 _generator | RO_RA_00160 | costly_ra | [5 empty] | 67 | 67 | 67 |  | 67 | 67 | 67
RIZVO_5 _generator | RO_RA_00161 | costly_ra | [5 empty] | 9 | 9 | 9 |  | 9 | 9 | 9
RDUMB_5 _generator | RO_RA_00162 | costly_ra | [5 empty] | 23 | 23 | 23 |  | 23 | 23 | 23
RCOST_5 _generator | RO_RA_00163 | costly_ra | [5 empty] | 24 | 24 | 24 |  | 24 | 24 | 24
RBUHU_5 _generator | RO_RA_00164 | costly_ra | [5 empty] | 13 | 13 | 13 |  | 13 | 13 | 13
RRACO_5 _generator | RO_RA_00165 | costly_ra | [5 empty] | 23 | 23 | 23 |  | 23 | 23 | 23
RGARL_5 _generator | RO_RA_00166 | costly_ra | [5 empty] | 23 | 23 | 23 |  | 23 | 23 | 23
RLILI_5 _generator | RO_RA_00167 | costly_ra | [5 empty] | 23 | 23 | 23 |  | 23 | 23 | 23
RBACS_5 _generator | RO_RA_00168 | costly_ra | [5 empty] | 98 | 98 | 98 |  | 98 | 9 | 98
RFARA_5 _generator | RO_RA_00169 | costly_ra | [5 empty] | 30 | 30 | 30 |  | 30 | 30 | 30
RSISC_5 _generator | RO_RA_00170 | costly_ra | [5 empty] | 44 | 44 | 44 |  | 44 | 44 | 44
RMARA_5 _generator | RO_RA_00171 | costly_ra | [5 empty] | 46 | 46 | 46 |  | 46 | 46 | 46
RTECU_5 _generator | RO_RA_00172 | costly_ra | [5 empty] | 34 | 34 | 34 |  | 34 | 34 | 34
RSEBE_5 _generator | RO_RA_00176 | costly_ra | [5 empty] | 55 | 55 | 55 |  | 55 | 55 | 55
RREME_5 _generator | RO_RA_00178 | costly_ra | [5 empty] | 96 | 96 | 96 |  | 12 | 96 | 96
RMUNT_5 _generator | RO_RA_00179 | costly_ra | [5 empty] | 58 | 58 | 58 |  | 58 | 58 | 58
RRETE22 _generator | RO_RA_00180 | costly_ra | [5 empty] | 222 | [5 empty] | 222
RRETE_5 _generator | RO_RA_00181 | costly_ra | [5 empty] | 20 | 20 | 20 |  | 20 | 20
RCIRNA5 _generator | RO_RA_00182 | costly_ra | [5 empty] | 29 | 29 | 29 |  | 29 | 29 | 29
RCIRNB5 _generator | RO_RA_00183 | costly_ra | [5 empty] | 27 | 27 | 27 |  | 27 | 27 | 27
RHATE_5 _generator | RO_RA_00184 | costly_ra | [5 empty] | 52 | 52 | 52 |  | 52 | 52 | 52
RFMEP_5 _generator | RO_RA_00121 | costly_ra | [6 empty] | 14 | 14 |  | 14 | 14
RVALD_5 _generator | RO_RA_00123 | costly_ra | [6 empty] | 15 | 15 |  | 15 | 15
RELAR_5 _generator | RO_RA_00124 | costly_ra | [6 empty] | 10 | 10 |  | 10 | 10
RAREF_5 _generator | RO_RA_00125 | costly_ra | [6 empty] | 10 | 10 |  | 10 | 10 | 10
RMARI22 _generator | RO_RA_00173 | costly_ra | [6 empty] | 217 | 217 |  | 217 | 217 | 217
RSUGA22 _generator | RO_RA_00174 | costly_ra | [6 empty] | 150 | 150 |  | 150 | 150 | 150
RGILC22 _generator | RO_RA_00175 | costly_ra | [6 empty] | 150 | 150 |  | 150 | 150 | 150
RVMAR_5 _generator | RO_RA_00116 | costly_ra | [7 empty] | 0 |  | 0
RIAZUA5 _generator | RO_RA_00177 | costly_ra | [7 empty] | 71 |  | 46
RLOT212 _generator | RO_RA_00132 | costly_ra | [9 empty] | 0 | 0
RBRDS25 _generator | RO_RA_00133 | costly_ra | [9 empty] | 0 | 0 | 118
RSTEJ_5 _generator | RO_RA_00158 | costly_ra | [9 empty] | 0
RLOTR22 _generator | RO_RA_00131 | costly_ra | [11 empty] | 170

## SRO borders-imports RAs
SUBMISSION DATE: | 23.07.2026
BUSINESS DATE: | 25.07.2026
DA CC Remedial Actions
Initial CCC
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400 kV TINTARENI-KOZLODUI 1 | BG_RA_00001 | topological | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00008 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst |  |  | helpful | helpful | [8 empty] | notApplied | [5 empty] | helpful
PRA 400 kV Tantareni-Kozlodui 2 | RO_RA_00009 | topological |  |  | notApplied | notApplied | [8 empty] | notApplied | [5 empty] | notApplied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological |  |  | helpful | helpful | [8 empty] | helpful | [5 empty] | helpful
PRA 400 kV Resita-Pancevo c1 | RO_RA_00017 | topological |  |  | notApplied | notApplied | [8 empty] | notApplied | [5 empty] | notApplied
NonCostly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 110 kV S5 | RO_RA_00004 | topological_ra | [7 empty] | applied | applied | applied | [9 empty] | applied |  | applied | applied
PRA 110 kV Pelicanu | RO_RA_00005 | topological_ra | [7 empty] | applied | applied | applied | [9 empty] | applied |  | applied | applied
PRA 110 kV Dobrogea | RO_RA_00006 | topological_ra | [7 empty] | applied | applied | applied | [11 empty] | applied
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst_ra | [7 empty] | applied | applied | applied | [9 empty] | applied |  | applied | applied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological_ra | [19 empty] | applied |  | applied | applied
NonCostly Step 5
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
Costly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
RROVI31 _generator | RO_RA_00105 | costly_ra | [7 empty] | 310 | [13 empty] | 32
RROV641 _generator | RO_RA_00106 | costly_ra | [7 empty] | 138 | [13 empty] | 1
RIERN22 _generator | RO_RA_00110 | costly_ra | [7 empty] | 1 | [13 empty] | 1
RBRAZ41 _generator | RO_RA_00111 | costly_ra | [7 empty] | 1 | [13 empty] | 1
RBRZ241 _generator | RO_RA_00112 | costly_ra | [7 empty] | 1 | [13 empty] | 1
RBRAZ22 _generator | RO_RA_00113 | costly_ra | [7 empty] | 1 | [13 empty] | 1
RPDF222 _generator | RO_RA_00114 | costly_ra | [7 empty] | 0 | [13 empty] | 0
RPDF212 _generator | RO_RA_00115 | costly_ra | [7 empty] | 0 | [13 empty] | 1
RVMAR_5 _generator | RO_RA_00116 | costly_ra | [7 empty] | 0 | 50 | 50 | [11 empty] | 0 | 50
RGODI_5 _generator | RO_RA_00117 | costly_ra | [7 empty] | 0 | 114 | 114 | [11 empty] | 114 | 114
RTOPV_5 _generator | RO_RA_00120 | costly_ra | [7 empty] | 0 | 0 | 0 | [11 empty] | 10
RFMEP_5 _generator | RO_RA_00121 | costly_ra | [7 empty] | 0 | 0 | 0 | [11 empty] | 14 | 0
RVLCE15 _generator | RO_RA_00122 | costly_ra | [7 empty] | 0 | 0 | 0 | [11 empty] | 55 | 0
RVALD_5 _generator | RO_RA_00123 | costly_ra | [7 empty] | 0 | 0 | 0 | [11 empty] | 0 | 0
RELAR_5 _generator | RO_RA_00124 | costly_ra | [7 empty] | 0 | 0 | [12 empty] | 10
RAREF_5 _generator | RO_RA_00125 | costly_ra | [7 empty] | 0 | 7 | [12 empty] | 10 | 10
RARGS_5 _generator | RO_RA_00126 | costly_ra | [7 empty] | 0 | 0 | 0 | [11 empty] | 0 | 0
RALBE_5 _generator | RO_RA_00127 | costly_ra | [7 empty] | 0 | 0 | 0 | [11 empty] | 0 | 18
RCERB_5 _generator | RO_RA_00128 | costly_ra | [7 empty] | 0 | 0 | 0 | [11 empty] | 0 | 0
RVLCE25 _generator | RO_RA_00129 | costly_ra | [7 empty] | 0 | 0 | 0 | [11 empty] | 12 | 0
RCLNG_5 _generator | RO_RA_00130 | costly_ra | [7 empty] | 0 | 0 | 0 | [11 empty] | 0 | 0
RLOTR22 _generator | RO_RA_00131 | costly_ra | [7 empty] | 0 | [13 empty] | 0
RLOT212 _generator | RO_RA_00132 | costly_ra | [7 empty] | 0 | [13 empty] | 0
RBRDS25 _generator | RO_RA_00133 | costly_ra | [7 empty] | 0 | [13 empty] | 0
RSTUP_5 _generator | RO_RA_00134 | costly_ra | [7 empty] | 0 | 0 | 0 | [11 empty] | 0 | 0
RDAIES5 _generator | RO_RA_00135 | costly_ra | [7 empty] | 0 | 0 | 0 | [11 empty] | 37 | 0
RVILN_5 _generator | RO_RA_00136 | costly_ra | [7 empty] | 0 | 0 | 0 | [11 empty] | 0 | 0
RRIUR15 _generator | RO_RA_00137 | costly_ra | [7 empty] | 0 | 0 | 0 | [11 empty] | 0 | 0
RMARC_5 _generator | RO_RA_00138 | costly_ra | [7 empty] | 0 | 0 | 0 | [11 empty] | 0 | 0
RIONE_5 _generator | RO_RA_00139 | costly_ra | [7 empty] | 0 | 0 | 0 | [11 empty] | 0 | 0
RJIBL_5 _generator | RO_RA_00140 | costly_ra | [7 empty] | 0 | 0 | 0 | [11 empty] | 0 | 0
RZAVI_5 _generator | RO_RA_00141 | costly_ra | [7 empty] | 0 | 0 | 0 | [11 empty] | 0 | 0
RCHTU_5 _generator | RO_RA_00142 | costly_ra | [7 empty] | 0 | 0 | 0 | [11 empty] | 0 | 0
RTRAI_5 _generator | RO_RA_00143 | costly_ra | [7 empty] | 0 | 0 | 0 | [11 empty] | 0 | 0
RHGLOT5 _generator | RO_RA_00144 | costly_ra | [7 empty] | 0 | 0 | 0 | [11 empty] | 25 | 0
RCHESJ5 _generator | RO_RA_00145 | costly_ra | [7 empty] | 0 | 50 | 39 | [11 empty] | 0 | 50
RCHEAC5 _generator | RO_RA_00146 | costly_ra | [7 empty] | 0 | 38 | 0 | [11 empty] | 38 | 38
RCHEST5 _generator | RO_RA_00147 | costly_ra | [7 empty] | 0 | 26 | 0 | [11 empty] | 0 | 26
RCHEIO5 _generator | RO_RA_00148 | costly_ra | [7 empty] | 53 | 53 | 53 | [11 empty] | 53 | 53
RCHDO_5 _generator | RO_RA_00149 | costly_ra | [7 empty] | 53 | 53 | 53 | [11 empty] | 53 | 53
RFRUN_5 _generator | RO_RA_00150 | costly_ra | [7 empty] | 0 | 53 | 53 | [11 empty] | 53 | 53
RCIZBI5 _generator | RO_RA_00151 | costly_ra | [7 empty] | 0 | 53 | 53 | [11 empty] | 0 | 53
RRUSA_5 _generator | RO_RA_00152 | costly_ra | [7 empty] | 53 | 53 | 53 | [11 empty] | 53 | 53
RHCORN5 _generator | RO_RA_00153 | costly_ra | [7 empty] | 0 | 0 | 0 | [11 empty] | 0 | 0
RFAGA_5 _generator | RO_RA_00154 | costly_ra | [7 empty] | 0 | 0 | 0 | [11 empty] | 0 | 0
RUCEA25 _generator | RO_RA_00155 | costly_ra | [7 empty] | 0 | 0 | 0 | [11 empty] | 0 | 0
RUCEA15 _generator | RO_RA_00156 | costly_ra | [7 empty] | 0 | 0 | 0 | [11 empty] | 0 | 0
RCIRT_5 _generator | RO_RA_00157 | costly_ra | [7 empty] | 0 | 0 | 0 | [11 empty] | 0 | 0
RSTEJ_5 _generator | RO_RA_00158 | costly_ra | [7 empty] | 0 | [13 empty] | 0
RSTEJ25 _generator | RO_RA_00159 | costly_ra | [7 empty] | 0 | 0 | 0
RVADU_5 _generator | RO_RA_00160 | costly_ra | [7 empty] | 0 | 0 | 0 | [11 empty] | 67 | 0
RIZVO_5 _generator | RO_RA_00161 | costly_ra | [7 empty] | 0 | 0 | 0 | [11 empty] | 0 | 0
RDUMB_5 _generator | RO_RA_00162 | costly_ra | [7 empty] | 0 | 0 | 0 | [11 empty] | 0 | 0
RCOST_5 _generator | RO_RA_00163 | costly_ra | [7 empty] | 0 | 0 | 0 | [11 empty] | 0 | 0
RBUHU_5 _generator | RO_RA_00164 | costly_ra | [7 empty] | 0 | 0 | 0 | [11 empty] | 13 | 0
RRACO_5 _generator | RO_RA_00165 | costly_ra | [7 empty] | 0 | 0 | 0 | [11 empty] | 23 | 0
RGARL_5 _generator | RO_RA_00166 | costly_ra | [7 empty] | 0 | 0 | 0 | [11 empty] | 0 | 0
RLILI_5 _generator | RO_RA_00167 | costly_ra | [7 empty] | 0 | 0 | 0 | [11 empty] | 0 | 0
RBACS_5 _generator | RO_RA_00168 | costly_ra | [7 empty] | 0 | 0 | 0 | [11 empty] | 0 | 0
RFARA_5 _generator | RO_RA_00169 | costly_ra | [7 empty] | 0 | 0 | 0 | [11 empty] | 30 | 0
RSISC_5 _generator | RO_RA_00170 | costly_ra | [7 empty] | 0 | 0 | 0 | [11 empty] | 0 | 0
RMARA_5 _generator | RO_RA_00171 | costly_ra | [7 empty] | 0 | 0 | 0 | [11 empty] | 0 | 0
RTECU_5 _generator | RO_RA_00172 | costly_ra | [7 empty] | 34 | 0 | 0 | [11 empty] | 34 | 0
RSEBE_5 _generator | RO_RA_00176 | costly_ra | [7 empty] | 0 | 0 | 0 | [11 empty] | 55 | 0
RIAZUA5 _generator | RO_RA_00177 | costly_ra | [7 empty] | 19
RMUNT_5 _generator | RO_RA_00179 | costly_ra | [7 empty] | 58
RRETE22 _generator | RO_RA_00180 | costly_ra | [7 empty] | 0
RRETE_5 _generator | RO_RA_00181 | costly_ra | [7 empty] | 0 | 0 | 0
RCIRNA5 _generator | RO_RA_00182 | costly_ra | [7 empty] | 0 | 0 | 0
RCIRNB5 _generator | RO_RA_00183 | costly_ra | [7 empty] | 0 | 0 | 0
RHATE_5 _generator | RO_RA_00184 | costly_ra | [7 empty] | 0 | 0 | 0
RSUGA22 _generator | RO_RA_00174 | costly_ra | [21 empty] | 0