## SRO borders-exports
SUBMISSION DATE: | 04.08.2026
BUSINESS DATE: | 06.08.2026
DA CC Remedial Actions
From Hour (CET) | To Hour (CET) | CO | CNE | Loading (%) | TTC South Romania | NTC South Romania | NTC RO-BG
00:00 | 01:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3478 | 3278 | 2295
01:00 | 02:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3519 | 3319 | 2323
02:00 | 03:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3472 | 3272 | 2290
03:00 | 04:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3549 | 3349 | 2344
04:00 | 05:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3569 | 3369 | 2358
05:00 | 06:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 99 | 3619 | 3419 | 2393
06:00 | 07:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3304 | 3104 | 2173
07:00 | 08:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2841 | 2641 | 1849
08:00 | 09:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 101 | 1950 | 1750 | 1225
09:00 | 10:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 101 | 2083 | 1883 | 1318
10:00 | 11:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2563 | 2363 | 1654
11:00 | 12:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3436 | 3236 | 2265
12:00 | 13:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 99 | 3837 | 3637 | 2546
13:00 | 14:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3586 | 3386 | 2370
14:00 | 15:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3091 | 2891 | 2024
15:00 | 16:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2836 | 2636 | 1845
16:00 | 17:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3234 | 3034 | 2124
17:00 | 18:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3348 | 3148 | 2204
18:00 | 19:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2771 | 2571 | 1800
19:00 | 20:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 101 | 2211 | 2011 | 1408
20:00 | 21:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 101 | 2175 | 1975 | 1382
21:00 | 22:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 101 | 2266 | 2066 | 1446
22:00 | 23:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3065 | 2865 | 2006
23:00 | 00:00 | N-1 OHL 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2985 | 2785 | 1950

## SRO borders-imports
SUBMISSION DATE: | 04.08.2026
BUSINESS DATE: | 06.08.2026
DA CC Remedial Actions
From Hour (CET) | To Hour (CET) | CO | CNE | Loading (%) | TTC South Romania | NTC South Romania | NTC BG-RO
00:00 | 01:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 96 | 3800 | 3600 | 2520
01:00 | 02:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 96 | 3811 | 3611 | 2528
02:00 | 03:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 96 | 3760 | 3560 | 2492
03:00 | 04:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 96 | 3757 | 3557 | 2490
04:00 | 05:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 96 | 3744 | 3544 | 2481
05:00 | 06:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 96 | 3791 | 3591 | 2514
06:00 | 07:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 96 | 3534 | 3334 | 2334
07:00 | 08:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 96 | 3376 | 3176 | 2223
08:00 | 09:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 100 | 3218 | 3018 | 2113
09:00 | 10:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 100 | 3199 | 2999 | 2099
10:00 | 11:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 100 | 3330 | 3130 | 2191
11:00 | 12:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 96 | 3548 | 3348 | 2344
12:00 | 13:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3650 | 3450 | 2415
13:00 | 14:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 96 | 3661 | 3461 | 2423
14:00 | 15:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 96 | 3286 | 3086 | 2160
15:00 | 16:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 96 | 3059 | 2859 | 2001
16:00 | 17:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 97 | 3372 | 3172 | 2220
17:00 | 18:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 96 | 3620 | 3420 | 2394
18:00 | 19:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 96 | 3353 | 3153 | 2207
19:00 | 20:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 97 | 3152 | 2952 | 2066
20:00 | 21:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 97 | 3160 | 2960 | 2072
21:00 | 22:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 96 | 3206 | 3006 | 2104
22:00 | 23:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 96 | 3520 | 3320 | 2324
23:00 | 00:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 96 | 3465 | 3265 | 2286

## SRO borders-exports RAs
SUBMISSION DATE: | 04.08.2026
BUSINESS DATE: | 06.08.2026
DA CC Remedial Actions
Initial CCC
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00008 | topological | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | notApplied | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 2 | RO_RA_00009 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Resita-Pancevo c1 | RO_RA_00017 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
NonCostly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
NonCostly Step 5
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
Costly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30

## SRO borders-imports RAs
SUBMISSION DATE: | 04.08.2026
BUSINESS DATE: | 06.08.2026
DA CC Remedial Actions
Initial CCC
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400 kV TINTARENI-KOZLODUI 1 | BG_RA_00001 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied |  |  |  | notApplied | helpful | helpful | notApplied |  | notApplied | notApplied |  |  |  |  | notApplied | notApplied
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00008 | topological | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 2 | RO_RA_00009 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied |  |  |  | notApplied | notApplied | notApplied | notApplied |  | notApplied | notApplied |  |  |  |  | notApplied | notApplied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful |  |  |  | helpful | helpful | helpful | helpful |  | helpful | helpful |  |  |  |  | helpful | helpful
PRA 400 kV Resita-Pancevo c1 | RO_RA_00017 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied |  |  |  | notApplied | notApplied | notApplied | notApplied |  | notApplied | notApplied |  |  |  |  | notApplied | notApplied
NonCostly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 110 kV S5 | RO_RA_00004 | topological_ra | [10 empty] | applied
PRA 110 kV Pelicanu | RO_RA_00005 | topological_ra | [10 empty] | applied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological_ra | [10 empty] | applied
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst_ra | [10 empty] | applied
NonCostly Step 5
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
Costly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
RTOPV_5 _generator | RO_RA_00120 | costly_ra | [8 empty] | 0 | 0
RFMEP_5 _generator | RO_RA_00121 | costly_ra | [8 empty] | 0 | 0
RVLCE15 _generator | RO_RA_00122 | costly_ra | [8 empty] | 0 | 0
RVALD_5 _generator | RO_RA_00123 | costly_ra | [8 empty] | 0 | 0
RELAR_5 _generator | RO_RA_00124 | costly_ra | [8 empty] | 0 | 0
RAREF_5 _generator | RO_RA_00125 | costly_ra | [8 empty] | 0 | 0
RARGS_5 _generator | RO_RA_00126 | costly_ra | [8 empty] | 0 | 0
RALBE_5 _generator | RO_RA_00127 | costly_ra | [8 empty] | 0 | 0
RCERB_5 _generator | RO_RA_00128 | costly_ra | [8 empty] | 0 | 0
RVLCE25 _generator | RO_RA_00129 | costly_ra | [8 empty] | 0 | 0
RCLNG_5 _generator | RO_RA_00130 | costly_ra | [8 empty] | 0 | 0
RSTUP_5 _generator | RO_RA_00134 | costly_ra | [8 empty] | 0
RDAIES5 _generator | RO_RA_00135 | costly_ra | [8 empty] | 0
RVILN_5 _generator | RO_RA_00136 | costly_ra | [8 empty] | 0
RRIUR15 _generator | RO_RA_00137 | costly_ra | [8 empty] | 0
RMARC_5 _generator | RO_RA_00138 | costly_ra | [8 empty] | 0 | 0
RIONE_5 _generator | RO_RA_00139 | costly_ra | [8 empty] | 22
RJIBL_5 _generator | RO_RA_00140 | costly_ra | [8 empty] | 0
RZAVI_5 _generator | RO_RA_00141 | costly_ra | [8 empty] | 0
RCHTU_5 _generator | RO_RA_00142 | costly_ra | [8 empty] | 0
RTRAI_5 _generator | RO_RA_00143 | costly_ra | [8 empty] | 0
RHGLOT5 _generator | RO_RA_00144 | costly_ra | [8 empty] | 0
RCHESJ5 _generator | RO_RA_00145 | costly_ra | [8 empty] | 50 | 0
RCHEAC5 _generator | RO_RA_00146 | costly_ra | [8 empty] | 38 | 0
RCHEST5 _generator | RO_RA_00147 | costly_ra | [8 empty] | 26 | 0
RCHEIO5 _generator | RO_RA_00148 | costly_ra | [8 empty] | 53 | 5
RCHDO_5 _generator | RO_RA_00149 | costly_ra | [8 empty] | 53 | 53
RFRUN_5 _generator | RO_RA_00150 | costly_ra | [8 empty] | 53 | 53
RCIZBI5 _generator | RO_RA_00151 | costly_ra | [8 empty] | 53 | 53
RRUSA_5 _generator | RO_RA_00152 | costly_ra | [8 empty] | 53 | 53
RUCEA25 _generator | RO_RA_00155 | costly_ra | [8 empty] | 0 | 0
RUCEA15 _generator | RO_RA_00156 | costly_ra | [8 empty] | 0 | 0
RSTEJ25 _generator | RO_RA_00159 | costly_ra | [8 empty] | 0 | 0
RVADU_5 _generator | RO_RA_00160 | costly_ra | [8 empty] | 0 | 0
RIZVO_5 _generator | RO_RA_00161 | costly_ra | [8 empty] | 0 | 0
RDUMB_5 _generator | RO_RA_00162 | costly_ra | [8 empty] | 0 | 0
RCOST_5 _generator | RO_RA_00163 | costly_ra | [8 empty] | 0 | 0
RBUHU_5 _generator | RO_RA_00164 | costly_ra | [8 empty] | 0 | 0
RRACO_5 _generator | RO_RA_00165 | costly_ra | [8 empty] | 0 | 0
RGARL_5 _generator | RO_RA_00166 | costly_ra | [8 empty] | 0 | 0
RLILI_5 _generator | RO_RA_00167 | costly_ra | [8 empty] | 0 | 0
RBACS_5 _generator | RO_RA_00168 | costly_ra | [8 empty] | 0 | 0
RFARA_5 _generator | RO_RA_00169 | costly_ra | [8 empty] | 0 | 0
RSISC_5 _generator | RO_RA_00170 | costly_ra | [8 empty] | 0 | 0
RMARA_5 _generator | RO_RA_00171 | costly_ra | [8 empty] | 0 | 0
RTECU_5 _generator | RO_RA_00172 | costly_ra | [8 empty] | 0 | 0
RSEBE_5 _generator | RO_RA_00176 | costly_ra | [8 empty] | 0 | 0
RRETE_5 _generator | RO_RA_00181 | costly_ra | [8 empty] | 0
RCIRNA5 _generator | RO_RA_00182 | costly_ra | [8 empty] | 0
RCIRNB5 _generator | RO_RA_00183 | costly_ra | [8 empty] | 0
RHATE_5 _generator | RO_RA_00184 | costly_ra | [8 empty] | 0