## SRO borders-exports
SUBMISSION DATE: | 22.08.2026
BUSINESS DATE: | 22.08.2026
2nd ID CC Results
From Hour (CET) | To Hour (CET) | CO | CNE | Loading (%) | TTC South Romania | NTC South Romania | NTC RO-BG
12:00 | 13:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 96 | 3855 | 3655 | 2558
13:00 | 14:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 96 | 3814 | 3614 | 2530
14:00 | 15:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 98 | 3828 | 3628 | 2539
15:00 | 16:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 95 | 3862 | 3662 | 2563
16:00 | 17:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3408 | 3208 | 2245
17:00 | 18:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 97 | 3690 | 3490 | 2442
18:00 | 19:00 | N-1 TIE 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2987 | 2787 | 1951
19:00 | 20:00 | N-1 TIE 400 kV Sofia Zapad - Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2287 | 2087 | 1460
20:00 | 21:00 | N-1 TIE 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2227 | 2027 | 1418
21:00 | 22:00 | N-1 TIE 400 kV Sofia Zapad - Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2522 | 2322 | 1625
22:00 | 23:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3103 | 2903 | 2032
23:00 | 00:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3274 | 3074 | 2151

## SRO borders-imports
SUBMISSION DATE: | 22.08.2026
BUSINESS DATE: | 22.08.2026
2nd ID CC Results
From Hour (CET) | To Hour (CET) | CO | CNE | Loading (%) | TTC South Romania | NTC South Romania | NTC BG-RO
12:00 | 13:00 | N-1 TIE 400 kV Rosiori-Mukacevo | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3031 | 2831 | 1981
13:00 | 14:00 | N-1 OHL 400 kV Slatina-Portile de Fier | [RO-RO] [DIR] OHL 400 kV Portile de Fier-Urechesti | 100 | 3124 | 2924 | 2047
14:00 | 15:00 | N-1 TIE 400 kV Nadab-Bekescsaba | [RO-UA] [OPP]TIE 400 kV Rosiori-Mukacevo | 100 | 1649 | 1449 | 1014
15:00 | 16:00 | N-1 TIE 400 kV Nadab-Bekescsaba | [RO-UA] [OPP]TIE 400 kV Rosiori-Mukacevo | 100 | 2565 | 2365 | 1655
16:00 | 17:00 | N-1 TIE 400 kV Nadab-Bekescsaba | [RO-UA] [OPP]TIE 400 kV Rosiori-Mukacevo | 91 | 3815 | 3615 | 2530
17:00 | 18:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 96 | 3810 | 3610 | 2526
18:00 | 19:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 94 | 3813 | 3613 | 2529
19:00 | 20:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 100 | 3761 | 3561 | 2493
20:00 | 21:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 100 | 3706 | 3506 | 2454
21:00 | 22:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 98 | 3823 | 3623 | 2536
22:00 | 23:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 96 | 3918 | 3718 | 2602
23:00 | 00:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 98 | 3845 | 3645 | 2551

## SRO borders-exports RAs
SUBMISSION DATE: | 22.08.2026
BUSINESS DATE: | 22.08.2026
2nd ID CC Remedial Actions
Name of the RA | RA ID | Type | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst |  |  |  | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00008 | topological |  |  |  | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Tantareni-Kozlodui 2 | RO_RA_00009 | topological |  |  |  | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological |  |  |  | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Resita-Pancevo c1 | RO_RA_00017 | topological |  |  |  | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied

## SRO borders-imports RAs
SUBMISSION DATE: | 22.08.2026
BUSINESS DATE: | 22.08.2026
2nd ID CC Remedial Actions
Name of the RA | RA ID | Type | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst | helpful | helpful |  |  | helpful | helpful
PRA 110 kV S4 | RO_RA_00003 | topological | notApplied | helpful | notApplied | notApplied
PRA 110 kV S5 | RO_RA_00004 | topological | helpful | helpful
PRA 110 kV Pelicanu | RO_RA_00005 | topological | helpful | helpful
PRA 110 kV Dobrogea | RO_RA_00006 | topological | helpful | notApplied
PRA 110 kV Resita | RO_RA_00007 | topological | notApplied | notApplied
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00008 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Tantareni-Kozlodui 2 | RO_RA_00009 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Resita-Pancevo c1 | RO_RA_00017 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied