## SRO borders-exports
SUBMISSION DATE: | 23.08.2026
BUSINESS DATE: | 25.08.2026
DA CC Remedial Actions
From Hour (CET) | To Hour (CET) | CO | CNE | Loading (%) | TTC South Romania | NTC South Romania | NTC RO-BG
00:00 | 01:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 93 | 3828 | 3628 | 2540
01:00 | 02:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3707 | 3507 | 2455
02:00 | 03:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 95 | 3861 | 3661 | 2563
03:00 | 04:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 94 | 3943 | 3743 | 2620
04:00 | 05:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 95 | 3981 | 3781 | 2647
05:00 | 06:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 89 | 3664 | 3464 | 2425
06:00 | 07:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 97 | 3534 | 3334 | 2334
07:00 | 08:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 1971 | 1771 | 1240
08:00 | 09:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 101 | 703 | 503 | 352
09:00 | 10:00 | N-1 TIE 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 498 | 298 | 209
10:00 | 11:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 1638 | 1438 | 1007
11:00 | 12:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2125 | 1925 | 1348
12:00 | 13:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 99 | 2360 | 2160 | 1512
13:00 | 14:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 99 | 2600 | 2400 | 1680
14:00 | 15:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2496 | 2296 | 1607
15:00 | 16:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2287 | 2087 | 1461
16:00 | 17:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2478 | 2278 | 1595
17:00 | 18:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3725 | 3525 | 2468
18:00 | 19:00 | N-1 TIE 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2943 | 2743 | 1920
19:00 | 20:00 | N-1 TIE 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 101 | 2322 | 2122 | 1485
20:00 | 21:00 | N-1 TIE 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 101 | 2480 | 2280 | 1596
21:00 | 22:00 | N-1 TIE 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2962 | 2762 | 1933
22:00 | 23:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3317 | 3117 | 2182
23:00 | 00:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3536 | 3336 | 2335

## SRO borders-imports
SUBMISSION DATE: | 23.08.2026
BUSINESS DATE: | 25.08.2026
DA CC Remedial Actions
From Hour (CET) | To Hour (CET) | CO | CNE | Loading (%) | TTC South Romania | NTC South Romania | NTC BG-RO
00:00 | 01:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 99 | 3714 | 3514 | 2460
01:00 | 02:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 97 | 3817 | 3617 | 2532
02:00 | 03:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 91 | 3812 | 3612 | 2528
03:00 | 04:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 91 | 3828 | 3628 | 2540
04:00 | 05:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 90 | 3824 | 3624 | 2537
05:00 | 06:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 91 | 3838 | 3638 | 2547
06:00 | 07:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 99 | 3861 | 3661 | 2563
07:00 | 08:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 96 | 3797 | 3597 | 2518
08:00 | 09:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 97 | 3419 | 3219 | 2253
09:00 | 10:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 100 | 3560 | 3360 | 2352
10:00 | 11:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 89 | 3820 | 3620 | 2534
11:00 | 12:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 97 | 3793 | 3593 | 2515
12:00 | 13:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 99 | 3407 | 3207 | 2244
13:00 | 14:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3232 | 3032 | 2122
14:00 | 15:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3430 | 3230 | 2261
15:00 | 16:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 99 | 3791 | 3591 | 2514
16:00 | 17:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3716 | 3516 | 2461
17:00 | 18:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 89 | 3843 | 3643 | 2550
18:00 | 19:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 97 | 3841 | 3641 | 2549
19:00 | 20:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 97 | 3643 | 3443 | 2410
20:00 | 21:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 97 | 3727 | 3527 | 2469
21:00 | 22:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 93 | 3891 | 3691 | 2584
22:00 | 23:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 89 | 3876 | 3676 | 2573
23:00 | 00:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 95 | 3884 | 3684 | 2579

## SRO borders-exports RAs
SUBMISSION DATE: | 23.08.2026
BUSINESS DATE: | 25.08.2026
DA CC Remedial Actions
Initial CCC
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst | helpful |  | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00008 | topological | notApplied |  | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Tantareni-Kozlodui 2 | RO_RA_00009 | topological | notApplied |  | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological | helpful |  | helpful | helpful | helpful | helpful | helpful | helpful | notApplied | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Resita-Pancevo c1 | RO_RA_00017 | topological | notApplied |  | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
NonCostly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
NonCostly Step 5
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
Costly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
RTURC51 _generator | RO_RA_00108 | costly_ra | [15 empty] | 1
RIERN22 _generator | RO_RA_00110 | costly_ra | [15 empty] | 1 | [7 empty] | 1
RPDF212 _generator | RO_RA_00115 | costly_ra | [15 empty] | 189 | [7 empty] | 133
RVMAR_5 _generator | RO_RA_00116 | costly_ra | [15 empty] | 50 | [7 empty] | 50
RGODI_5 _generator | RO_RA_00117 | costly_ra | [15 empty] | 114 | [7 empty] | 114
RVLCE15 _generator | RO_RA_00122 | costly_ra | [15 empty] | 0 | [7 empty] | 55
RARGS_5 _generator | RO_RA_00126 | costly_ra | [15 empty] | 0 | [7 empty] | 31
RCLNG_5 _generator | RO_RA_00130 | costly_ra | [15 empty] | 0 | [7 empty] | 90
RSTUP_5 _generator | RO_RA_00134 | costly_ra | [15 empty] | 0 | [7 empty] | 45
RDAIES5 _generator | RO_RA_00135 | costly_ra | [15 empty] | 0 | [7 empty] | 37
RVILN_5 _generator | RO_RA_00136 | costly_ra | [15 empty] | 0 | [7 empty] | 46
RRIUR15 _generator | RO_RA_00137 | costly_ra | [15 empty] | 0 | [7 empty] | 48
RMARC_5 _generator | RO_RA_00138 | costly_ra | [15 empty] | 0 | [7 empty] | 39
RIONE_5 _generator | RO_RA_00139 | costly_ra | [15 empty] | 0 | [7 empty] | 38
RJIBL_5 _generator | RO_RA_00140 | costly_ra | [15 empty] | 0 | [7 empty] | 38
RZAVI_5 _generator | RO_RA_00141 | costly_ra | [15 empty] | 0 | [7 empty] | 38
RTRAI_5 _generator | RO_RA_00143 | costly_ra | [15 empty] | 0 | [7 empty] | 45
RHGLOT5 _generator | RO_RA_00144 | costly_ra | [15 empty] | 0 | [7 empty] | 25
RCHESJ5 _generator | RO_RA_00145 | costly_ra | [15 empty] | 50 | [7 empty] | 50
RCHEAC5 _generator | RO_RA_00146 | costly_ra | [15 empty] | 38 | [7 empty] | 38
RCHEST5 _generator | RO_RA_00147 | costly_ra | [15 empty] | 26 | [7 empty] | 26
RCHEIO5 _generator | RO_RA_00148 | costly_ra | [15 empty] | 53 | [7 empty] | 53
RCHDO_5 _generator | RO_RA_00149 | costly_ra | [15 empty] | 53 | [7 empty] | 53
RFRUN_5 _generator | RO_RA_00150 | costly_ra | [15 empty] | 53 | [7 empty] | 53
RCIZBI5 _generator | RO_RA_00151 | costly_ra | [15 empty] | 53 | [7 empty] | 53
RRUSA_5 _generator | RO_RA_00152 | costly_ra | [15 empty] | 53 | [7 empty] | 53
RHCORN5 _generator | RO_RA_00153 | costly_ra | [15 empty] | 0 | [7 empty] | 59
RFAGA_5 _generator | RO_RA_00154 | costly_ra | [15 empty] | 0 | [7 empty] | 20
RUCEA25 _generator | RO_RA_00155 | costly_ra | [15 empty] | 32 | [7 empty] | 32
RUCEA15 _generator | RO_RA_00156 | costly_ra | [15 empty] | 49 | [7 empty] | 49
RCIRT_5 _generator | RO_RA_00157 | costly_ra | [15 empty] | 54 | [7 empty] | 54
RSTEJ_5 _generator | RO_RA_00158 | costly_ra | [15 empty] | 0 | [7 empty] | 0
RVADU_5 _generator | RO_RA_00160 | costly_ra | [15 empty] | 0 | [7 empty] | 0
RIZVO_5 _generator | RO_RA_00161 | costly_ra | [15 empty] | 0 | [7 empty] | 0
RDUMB_5 _generator | RO_RA_00162 | costly_ra | [15 empty] | 0 | [7 empty] | 0
RCOST_5 _generator | RO_RA_00163 | costly_ra | [15 empty] | 0 | [7 empty] | 0
RBUHU_5 _generator | RO_RA_00164 | costly_ra | [15 empty] | 0 | [7 empty] | 0
RRACO_5 _generator | RO_RA_00165 | costly_ra | [15 empty] | 0 | [7 empty] | 0
RGARL_5 _generator | RO_RA_00166 | costly_ra | [15 empty] | 0 | [7 empty] | 0
RLILI_5 _generator | RO_RA_00167 | costly_ra | [15 empty] | 0 | [7 empty] | 0
RBACS_5 _generator | RO_RA_00168 | costly_ra | [15 empty] | 0 | [7 empty] | 0
RFARA_5 _generator | RO_RA_00169 | costly_ra | [15 empty] | 0 | [7 empty] | 0
RSISC_5 _generator | RO_RA_00170 | costly_ra | [15 empty] | 0 | [7 empty] | 0
RMARA_5 _generator | RO_RA_00171 | costly_ra | [15 empty] | 0 | [7 empty] | 0
RTECU_5 _generator | RO_RA_00172 | costly_ra | [15 empty] | 0 | [7 empty] | 0
RGILC22 _generator | RO_RA_00175 | costly_ra | [15 empty] | 150 | [7 empty] | 0
RSEBE_5 _generator | RO_RA_00176 | costly_ra | [15 empty] | 55 | [7 empty] | 0
RIAZUA5 _generator | RO_RA_00177 | costly_ra | [15 empty] | 53
RRETE22 _generator | RO_RA_00180 | costly_ra | [15 empty] | 222
RRETE_5 _generator | RO_RA_00181 | costly_ra | [15 empty] | 20 | [7 empty] | 20
RCIRNA5 _generator | RO_RA_00182 | costly_ra | [15 empty] | 29 | [7 empty] | 0
RCIRNB5 _generator | RO_RA_00183 | costly_ra | [15 empty] | 27 | [7 empty] | 0
RHATE_5 _generator | RO_RA_00184 | costly_ra | [15 empty] | 52 | [7 empty] | 0
RBRAZ22 _generator | RO_RA_00113 | costly_ra | [23 empty] | 90
RTOPV_5 _generator | RO_RA_00120 | costly_ra | [23 empty] | 10
RFMEP_5 _generator | RO_RA_00121 | costly_ra | [23 empty] | 14
RVALD_5 _generator | RO_RA_00123 | costly_ra | [23 empty] | 15
RELAR_5 _generator | RO_RA_00124 | costly_ra | [23 empty] | 10
RAREF_5 _generator | RO_RA_00125 | costly_ra | [23 empty] | 10
RALBE_5 _generator | RO_RA_00127 | costly_ra | [23 empty] | 30
RCERB_5 _generator | RO_RA_00128 | costly_ra | [23 empty] | 15
RVLCE25 _generator | RO_RA_00129 | costly_ra | [23 empty] | 12
RCHTU_5 _generator | RO_RA_00142 | costly_ra | [23 empty] | 74
RSUGA22 _generator | RO_RA_00174 | costly_ra | [23 empty] | 0

## SRO borders-imports RAs
SUBMISSION DATE: | 23.08.2026
BUSINESS DATE: | 25.08.2026
DA CC Remedial Actions
Initial CCC
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst | helpful | helpful | helpful | helpful | notApplied | helpful | [6 empty] | helpful | helpful | helpful | helpful | helpful | notApplied |  |  |  |  | notApplied | helpful
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00008 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | [6 empty] | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied |  |  |  |  | notApplied | notApplied
PRA 400 kV Tantareni-Kozlodui 2 | RO_RA_00009 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | [6 empty] | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied |  |  |  |  | notApplied | notApplied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological | helpful | helpful | helpful | helpful | helpful | helpful | [6 empty] | helpful | helpful | helpful | helpful | helpful | helpful |  |  |  |  | helpful | helpful
PRA 400 kV Resita-Pancevo c1 | RO_RA_00017 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | [6 empty] | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied |  |  |  |  | notApplied | notApplied
NonCostly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
NonCostly Step 5
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
Costly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
RVMAR_5 _generator | RO_RA_00116 | costly_ra | [9 empty] | 50
RGODI_5 _generator | RO_RA_00117 | costly_ra | [9 empty] | 114
RFMEP_5 _generator | RO_RA_00121 | costly_ra | [9 empty] | 0
RVLCE15 _generator | RO_RA_00122 | costly_ra | [9 empty] | 0
RVALD_5 _generator | RO_RA_00123 | costly_ra | [9 empty] | 0
RARGS_5 _generator | RO_RA_00126 | costly_ra | [9 empty] | 0
RALBE_5 _generator | RO_RA_00127 | costly_ra | [9 empty] | 0
RCERB_5 _generator | RO_RA_00128 | costly_ra | [9 empty] | 0
RCLNG_5 _generator | RO_RA_00130 | costly_ra | [9 empty] | 0
RSTUP_5 _generator | RO_RA_00134 | costly_ra | [9 empty] | 0
RDAIES5 _generator | RO_RA_00135 | costly_ra | [9 empty] | 0
RVILN_5 _generator | RO_RA_00136 | costly_ra | [9 empty] | 0
RRIUR15 _generator | RO_RA_00137 | costly_ra | [9 empty] | 0
RMARC_5 _generator | RO_RA_00138 | costly_ra | [9 empty] | 0
RIONE_5 _generator | RO_RA_00139 | costly_ra | [9 empty] | 0
RJIBL_5 _generator | RO_RA_00140 | costly_ra | [9 empty] | 0
RZAVI_5 _generator | RO_RA_00141 | costly_ra | [9 empty] | 0
RTRAI_5 _generator | RO_RA_00143 | costly_ra | [9 empty] | 0
RHGLOT5 _generator | RO_RA_00144 | costly_ra | [9 empty] | 0
RCHESJ5 _generator | RO_RA_00145 | costly_ra | [9 empty] | 50
RCHEAC5 _generator | RO_RA_00146 | costly_ra | [9 empty] | 38
RCHEST5 _generator | RO_RA_00147 | costly_ra | [9 empty] | 26
RCHEIO5 _generator | RO_RA_00148 | costly_ra | [9 empty] | 45
RCHDO_5 _generator | RO_RA_00149 | costly_ra | [9 empty] | 0
RFRUN_5 _generator | RO_RA_00150 | costly_ra | [9 empty] | 0
RCIZBI5 _generator | RO_RA_00151 | costly_ra | [9 empty] | 0
RRUSA_5 _generator | RO_RA_00152 | costly_ra | [9 empty] | 0
RHCORN5 _generator | RO_RA_00153 | costly_ra | [9 empty] | 0
RUCEA25 _generator | RO_RA_00155 | costly_ra | [9 empty] | 0
RUCEA15 _generator | RO_RA_00156 | costly_ra | [9 empty] | 0
RCIRT_5 _generator | RO_RA_00157 | costly_ra | [9 empty] | 0
RVADU_5 _generator | RO_RA_00160 | costly_ra | [9 empty] | 0
RIZVO_5 _generator | RO_RA_00161 | costly_ra | [9 empty] | 0
RDUMB_5 _generator | RO_RA_00162 | costly_ra | [9 empty] | 0
RCOST_5 _generator | RO_RA_00163 | costly_ra | [9 empty] | 0
RBUHU_5 _generator | RO_RA_00164 | costly_ra | [9 empty] | 0
RRACO_5 _generator | RO_RA_00165 | costly_ra | [9 empty] | 0
RGARL_5 _generator | RO_RA_00166 | costly_ra | [9 empty] | 0
RLILI_5 _generator | RO_RA_00167 | costly_ra | [9 empty] | 0
RBACS_5 _generator | RO_RA_00168 | costly_ra | [9 empty] | 0
RFARA_5 _generator | RO_RA_00169 | costly_ra | [9 empty] | 0
RSISC_5 _generator | RO_RA_00170 | costly_ra | [9 empty] | 0
RMARA_5 _generator | RO_RA_00171 | costly_ra | [9 empty] | 0
RTECU_5 _generator | RO_RA_00172 | costly_ra | [9 empty] | 0
RSEBE_5 _generator | RO_RA_00176 | costly_ra | [9 empty] | 0
RRETE_5 _generator | RO_RA_00181 | costly_ra | [9 empty] | 0
RCIRNA5 _generator | RO_RA_00182 | costly_ra | [9 empty] | 0
RCIRNB5 _generator | RO_RA_00183 | costly_ra | [9 empty] | 0
RHATE_5 _generator | RO_RA_00184 | costly_ra | [9 empty] | 0