## SRO borders-exports
SUBMISSION DATE: | 24.08.2026
BUSINESS DATE: | 26.08.2026
DA CC Remedial Actions
From Hour (CET) | To Hour (CET) | CO | CNE | Loading (%) | TTC South Romania | NTC South Romania | NTC RO-BG
00:00 | 01:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 4108 | 3908 | 2736
01:00 | 02:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 4137 | 3937 | 2756
02:00 | 03:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 96 | 4139 | 3939 | 2757
03:00 | 04:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 98 | 4241 | 4041 | 2829
04:00 | 05:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 4319 | 4119 | 2883
05:00 | 06:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 95 | 4016 | 3816 | 2671
06:00 | 07:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3955 | 3755 | 2628
07:00 | 08:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3013 | 2813 | 1969
08:00 | 09:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 1195 | 995 | 696
09:00 | 10:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 773 | 573 | 401
10:00 | 11:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 1972 | 1772 | 1240
11:00 | 12:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2539 | 2339 | 1637
12:00 | 13:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2929 | 2729 | 1910
13:00 | 14:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2716 | 2516 | 1761
14:00 | 15:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2275 | 2075 | 1452
15:00 | 16:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 1794 | 1594 | 1116
16:00 | 17:00 | N-1 OHL 220 kV Portile de Fier-Resita 1&2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 1483 | 1283 | 898
17:00 | 18:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 97 | 3576 | 3376 | 2363
18:00 | 19:00 | N-1 TIE 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3182 | 2982 | 2087
19:00 | 20:00 | N-1 TIE 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2688 | 2488 | 1742
20:00 | 21:00 | N-1 TIE 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 101 | 2652 | 2452 | 1716
21:00 | 22:00 | N-1 TIE 400 kV Sofia Zapad -Nis | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 2911 | 2711 | 1898
22:00 | 23:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3605 | 3405 | 2384
23:00 | 00:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [DIR] TIE 400 kV Portile de Fier-Djerdap | 100 | 3746 | 3546 | 2482

## SRO borders-imports
SUBMISSION DATE: | 24.08.2026
BUSINESS DATE: | 26.08.2026
DA CC Remedial Actions
From Hour (CET) | To Hour (CET) | CO | CNE | Loading (%) | TTC South Romania | NTC South Romania | NTC BG-RO
00:00 | 01:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3447 | 3247 | 2273
01:00 | 02:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 99 | 3549 | 3349 | 2344
02:00 | 03:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 100 | 3668 | 3468 | 2428
03:00 | 04:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 97 | 3787 | 3587 | 2511
04:00 | 05:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 99 | 3808 | 3608 | 2526
05:00 | 06:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 99 | 3825 | 3625 | 2538
06:00 | 07:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 91 | 3829 | 3629 | 2540
07:00 | 08:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 95 | 3839 | 3639 | 2547
08:00 | 09:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 100 | 3583 | 3383 | 2368
09:00 | 10:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 100 | 3460 | 3260 | 2282
10:00 | 11:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 100 | 3807 | 3607 | 2525
11:00 | 12:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 92 | 3642 | 3442 | 2409
12:00 | 13:00 | N-1 TIE 400 kV Resita-Pancevo c1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 93 | 3613 | 3413 | 2389
13:00 | 14:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 91 | 3605 | 3405 | 2384
14:00 | 15:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 94 | 3686 | 3486 | 2440
15:00 | 16:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 97 | 3648 | 3448 | 2414
16:00 | 17:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 93 | 3806 | 3606 | 2524
17:00 | 18:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 2 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 1 | 86 | 3839 | 3639 | 2547
18:00 | 19:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 97 | 3896 | 3696 | 2587
19:00 | 20:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 97 | 3791 | 3591 | 2514
20:00 | 21:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 97 | 3793 | 3593 | 2515
21:00 | 22:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [BG-RO] [OPP] TIE 400 kV TINTARENI-KOZLODUI 2 | 95 | 3879 | 3679 | 2575
22:00 | 23:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 95 | 4047 | 3847 | 2693
23:00 | 00:00 | N-1 TIE 400 kV TINTARENI-KOZLODUI 1 | [RO-RS] [OPP] TIE 400 kV Portile de Fier-Djerdap | 98 | 3702 | 3502 | 2451

## SRO borders-exports RAs
SUBMISSION DATE: | 24.08.2026
BUSINESS DATE: | 26.08.2026
DA CC Remedial Actions
Initial CCC
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst | helpful | helpful |  |  |  |  | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00008 | topological | notApplied | notApplied |  |  |  |  | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Tantareni-Kozlodui 2 | RO_RA_00009 | topological | notApplied | notApplied |  |  |  |  | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological | helpful | helpful |  |  |  |  | helpful | helpful | notApplied | notApplied | helpful | helpful | helpful | helpful | helpful | helpful | notApplied | helpful | helpful | helpful | helpful | helpful | helpful | helpful
PRA 400 kV Resita-Pancevo c1 | RO_RA_00017 | topological | notApplied | notApplied |  |  |  |  | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied
NonCostly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 110 kV Resita | RO_RA_00007 | topological_ra |  |  | applied | applied | applied | applied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological_ra |  |  | applied | applied | applied | applied
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst_ra |  |  | applied | applied | applied | applied
NonCostly Step 5
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
Costly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
RBRAZ41 _generator | RO_RA_00111 | costly_ra | 1 | 1 |  |  | 1
RBRZ241 _generator | RO_RA_00112 | costly_ra | 1 | 1 |  |  | 1
RBRAZ22 _generator | RO_RA_00113 | costly_ra | 1 | 1 |  |  | 1
RPDF212 _generator | RO_RA_00115 | costly_ra | 52 | 19 |  |  |  |  | 389 | 349
RVMAR_5 _generator | RO_RA_00116 | costly_ra | 50 | 50 |  |  | 50 |  | 50 | 50
RGODI_5 _generator | RO_RA_00117 | costly_ra | 114 | 114 |  |  | 114 |  | 114 | 114
RVLCE15 _generator | RO_RA_00122 | costly_ra | 0 | 0 |  |  | 0 |  | 55 | 55
RCLNG_5 _generator | RO_RA_00130 | costly_ra | 0 | 0 |  |  | 0 |  | 90 | 90
RSTUP_5 _generator | RO_RA_00134 | costly_ra | 0 | 0 |  |  | 45 |  | 0 | 45
RDAIES5 _generator | RO_RA_00135 | costly_ra | 0 | 0 |  |  | 37 |  | 37 | 37
RVILN_5 _generator | RO_RA_00136 | costly_ra | 0 | 0 |  |  | 46 |  | 46 | 46
RRIUR15 _generator | RO_RA_00137 | costly_ra | 0 | 0 |  |  | 48 |  | 48 | 48
RMARC_5 _generator | RO_RA_00138 | costly_ra | 0 | 0 |  |  | 39 |  | 0 | 39
RIONE_5 _generator | RO_RA_00139 | costly_ra | 0 | 0 |  |  | 38 |  | 0 | 38
RJIBL_5 _generator | RO_RA_00140 | costly_ra | 0 | 0 |  |  | 38 |  | 38 | 38
RZAVI_5 _generator | RO_RA_00141 | costly_ra | 0 | 0 |  |  | 38 |  | 0 | 38
RCHTU_5 _generator | RO_RA_00142 | costly_ra | 0 | 0 |  |  |  |  | 0 | 74
RTRAI_5 _generator | RO_RA_00143 | costly_ra | 0 | 0 |  |  | 45 |  | 0 | 45
RHGLOT5 _generator | RO_RA_00144 | costly_ra | 0 | 0 |  |  |  |  | 0 | 25
RCHESJ5 _generator | RO_RA_00145 | costly_ra | 0 | 0 |  |  | 50 |  | 0 | 50
RCHEAC5 _generator | RO_RA_00146 | costly_ra | 0 | 0 |  |  | 38 |  | 0 | 38
RCHEST5 _generator | RO_RA_00147 | costly_ra | 0 | 0 |  |  | 26 |  | 0 | 26
RCHEIO5 _generator | RO_RA_00148 | costly_ra | 53 | 53 |  |  | 53 |  | 0 | 53
RCHDO_5 _generator | RO_RA_00149 | costly_ra | 53 | 53 |  |  | 53 |  | 0 | 53
RFRUN_5 _generator | RO_RA_00150 | costly_ra | 53 | 53 |  |  | 53 |  | 0 | 53
RCIZBI5 _generator | RO_RA_00151 | costly_ra | 53 | 53 |  |  | 53 |  | 0 | 0
RRUSA_5 _generator | RO_RA_00152 | costly_ra | 53 | 53 |  |  | 53 |  | 0 | 0
RFAGA_5 _generator | RO_RA_00154 | costly_ra | 20 | 20 |  |  | 20 |  | 20 | 0
RUCEA25 _generator | RO_RA_00155 | costly_ra | 32 | 32 |  |  | 32 |  | 32 | 0
RUCEA15 _generator | RO_RA_00156 | costly_ra | 49 | 49 |  |  | 49 |  | 49 | 0
RCIRT_5 _generator | RO_RA_00157 | costly_ra | 54 | 54 |  |  | 54 |  | 54 | 0
RSTEJ_5 _generator | RO_RA_00158 | costly_ra | 16 | 31 |  |  | 0 |  | 137 | 0
RVADU_5 _generator | RO_RA_00160 | costly_ra | 0 | 0 |  |  | 0 |  | 0 | 0
RIZVO_5 _generator | RO_RA_00161 | costly_ra | 0 | 0 |  |  | 0 |  | 0 | 0
RDUMB_5 _generator | RO_RA_00162 | costly_ra | 0 | 0 |  |  | 0 |  | 0 | 0
RCOST_5 _generator | RO_RA_00163 | costly_ra | 0 | 0 |  |  | 0 |  | 0 | 0
RBUHU_5 _generator | RO_RA_00164 | costly_ra | 0 | 0 |  |  | 13 |  | 0 | 0
RRACO_5 _generator | RO_RA_00165 | costly_ra | 0 | 0 |  |  | 23 |  | 0 | 0
RGARL_5 _generator | RO_RA_00166 | costly_ra | 0 | 0 |  |  | 23 |  | 0 | 0
RLILI_5 _generator | RO_RA_00167 | costly_ra | 0 | 0 |  |  | 23 |  | 0 | 0
RBACS_5 _generator | RO_RA_00168 | costly_ra | 0 | 0 |  |  | 32 |  | 0 | 0
RFARA_5 _generator | RO_RA_00169 | costly_ra | 0 | 0 |  |  | 30 |  | 0 | 0
RSISC_5 _generator | RO_RA_00170 | costly_ra | 0 | 0 |  |  | 0 |  | 0 | 0
RMARA_5 _generator | RO_RA_00171 | costly_ra | 0 | 0 |  |  | 46 |  | 0 | 0
RTECU_5 _generator | RO_RA_00172 | costly_ra | 0 | 0 |  |  | 34 |  | 0 | 0
RMARI22 _generator | RO_RA_00173 | costly_ra | 217 | 217
RSUGA22 _generator | RO_RA_00174 | costly_ra | 150 | 150 |  |  |  |  | 150 | 150
RSEBE_5 _generator | RO_RA_00176 | costly_ra | 55 | 55 |  |  | 55 |  | 55 | 55
RIAZUA5 _generator | RO_RA_00177 | costly_ra | 71 | 71 |  |  | 71 |  |  | 71
RREME_5 _generator | RO_RA_00178 | costly_ra | 96 | 96 |  |  | 96 |  | 96 | 96
RMUNT_5 _generator | RO_RA_00179 | costly_ra | 58 | 58 |  |  | 58 |  | 58 | 58
RRETE_5 _generator | RO_RA_00181 | costly_ra | 20 | 20 |  |  | 20 |  | 0 | 0
RCIRNA5 _generator | RO_RA_00182 | costly_ra | 29 | 29 |  |  | 29 |  | 0 | 29
RCIRNB5 _generator | RO_RA_00183 | costly_ra | 27 | 27 |  |  | 27 |  | 0 | 27
RHATE_5 _generator | RO_RA_00184 | costly_ra | 52 | 52 |  |  | 52 |  | 0 | 52
RROV641 _generator | RO_RA_00106 | costly_ra |  |  |  |  | 504 |  | 1 | 1
RTURC51 _generator | RO_RA_00108 | costly_ra |  |  |  |  | 10
RAREF_5 _generator | RO_RA_00125 | costly_ra |  |  |  |  | 10 |  | 10 | 10
RARGS_5 _generator | RO_RA_00126 | costly_ra |  |  |  |  | 0 |  | 31 | 31
RALBE_5 _generator | RO_RA_00127 | costly_ra |  |  |  |  | 30 |  | 30 | 30
RCERB_5 _generator | RO_RA_00128 | costly_ra |  |  |  |  | 15 |  | 15 | 15
RROVI31 _generator | RO_RA_00105 | costly_ra | [6 empty] | 48 | 1
RTOPV_5 _generator | RO_RA_00120 | costly_ra | [6 empty] | 10 | 10
RFMEP_5 _generator | RO_RA_00121 | costly_ra | [6 empty] | 14 | 14
RVALD_5 _generator | RO_RA_00123 | costly_ra | [6 empty] | 15 | 15
RELAR_5 _generator | RO_RA_00124 | costly_ra | [6 empty] | 10 | 10
RVLCE25 _generator | RO_RA_00129 | costly_ra | [6 empty] | 12 | 12
RHCORN5 _generator | RO_RA_00153 | costly_ra | [6 empty] | 0 | 0
RRETE22 _generator | RO_RA_00180 | costly_ra | [6 empty] | 0 | 33
RLOT212 _generator | RO_RA_00132 | costly_ra | [7 empty] | 0
RBRDS25 _generator | RO_RA_00133 | costly_ra | [7 empty] | 0

## SRO borders-imports RAs
SUBMISSION DATE: | 24.08.2026
BUSINESS DATE: | 26.08.2026
DA CC Remedial Actions
Initial CCC
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst | helpful | helpful | helpful | helpful | helpful | helpful | notApplied | [10 empty] | notApplied |  |  |  |  | helpful | helpful
PRA 400 kV Tantareni-Kozlodui 1 | RO_RA_00008 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | [10 empty] | notApplied |  |  |  |  | notApplied | notApplied
PRA 400 kV Tantareni-Kozlodui 2 | RO_RA_00009 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | [10 empty] | notApplied |  |  |  |  | notApplied | notApplied
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological | helpful | helpful | helpful | helpful | helpful | helpful | helpful | [10 empty] | helpful |  |  |  |  | helpful | helpful
PRA 400 kV Resita-Pancevo c1 | RO_RA_00017 | topological | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | notApplied | [10 empty] | notApplied |  |  |  |  | notApplied | notApplied
NonCostly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
PRA 400 kV Resita-Pancevo c2 | RO_RA_00014 | topological_ra | [8 empty] | applied
PRA 400/220kV AT Urechesti | RO_RA_00002 | pst_ra | [8 empty] | applied
NonCostly Step 5
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
Costly Step 4
Name of the RA | RA_ID | Type | 00:30 | 01:30 | 02:30 | 03:30 | 04:30 | 05:30 | 06:30 | 07:30 | 08:30 | 09:30 | 10:30 | 11:30 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:30 | 18:30 | 19:30 | 20:30 | 21:30 | 22:30 | 23:30
RTOPV_5 _generator | RO_RA_00120 | costly_ra | [22 empty] | 0
RFMEP_5 _generator | RO_RA_00121 | costly_ra | [22 empty] | 0
RVLCE15 _generator | RO_RA_00122 | costly_ra | [22 empty] | 0
RVALD_5 _generator | RO_RA_00123 | costly_ra | [22 empty] | 0
RELAR_5 _generator | RO_RA_00124 | costly_ra | [22 empty] | 0
RAREF_5 _generator | RO_RA_00125 | costly_ra | [22 empty] | 0
RARGS_5 _generator | RO_RA_00126 | costly_ra | [22 empty] | 0
RALBE_5 _generator | RO_RA_00127 | costly_ra | [22 empty] | 0
RCERB_5 _generator | RO_RA_00128 | costly_ra | [22 empty] | 0
RVLCE25 _generator | RO_RA_00129 | costly_ra | [22 empty] | 0
RCLNG_5 _generator | RO_RA_00130 | costly_ra | [22 empty] | 0
RSTUP_5 _generator | RO_RA_00134 | costly_ra | [22 empty] | 0
RDAIES5 _generator | RO_RA_00135 | costly_ra | [22 empty] | 0
RVILN_5 _generator | RO_RA_00136 | costly_ra | [22 empty] | 0
RRIUR15 _generator | RO_RA_00137 | costly_ra | [22 empty] | 0
RMARC_5 _generator | RO_RA_00138 | costly_ra | [22 empty] | 0
RIONE_5 _generator | RO_RA_00139 | costly_ra | [22 empty] | 0
RJIBL_5 _generator | RO_RA_00140 | costly_ra | [22 empty] | 0
RZAVI_5 _generator | RO_RA_00141 | costly_ra | [22 empty] | 0
RCHTU_5 _generator | RO_RA_00142 | costly_ra | [22 empty] | 0
RTRAI_5 _generator | RO_RA_00143 | costly_ra | [22 empty] | 0
RHGLOT5 _generator | RO_RA_00144 | costly_ra | [22 empty] | 0
RCHESJ5 _generator | RO_RA_00145 | costly_ra | [22 empty] | 0
RCHEAC5 _generator | RO_RA_00146 | costly_ra | [22 empty] | 0
RCHEST5 _generator | RO_RA_00147 | costly_ra | [22 empty] | 0
RCHEIO5 _generator | RO_RA_00148 | costly_ra | [22 empty] | 0
RCHDO_5 _generator | RO_RA_00149 | costly_ra | [22 empty] | 0
RFRUN_5 _generator | RO_RA_00150 | costly_ra | [22 empty] | 0
RCIZBI5 _generator | RO_RA_00151 | costly_ra | [22 empty] | 0
RRUSA_5 _generator | RO_RA_00152 | costly_ra | [22 empty] | 0
RHCORN5 _generator | RO_RA_00153 | costly_ra | [22 empty] | 0
RFAGA_5 _generator | RO_RA_00154 | costly_ra | [22 empty] | 0
RUCEA25 _generator | RO_RA_00155 | costly_ra | [22 empty] | 0
RUCEA15 _generator | RO_RA_00156 | costly_ra | [22 empty] | 0
RCIRT_5 _generator | RO_RA_00157 | costly_ra | [22 empty] | 0
RVADU_5 _generator | RO_RA_00160 | costly_ra | [22 empty] | 0
RIZVO_5 _generator | RO_RA_00161 | costly_ra | [22 empty] | 0
RDUMB_5 _generator | RO_RA_00162 | costly_ra | [22 empty] | 0
RCOST_5 _generator | RO_RA_00163 | costly_ra | [22 empty] | 0
RBUHU_5 _generator | RO_RA_00164 | costly_ra | [22 empty] | 0
RRACO_5 _generator | RO_RA_00165 | costly_ra | [22 empty] | 0
RGARL_5 _generator | RO_RA_00166 | costly_ra | [22 empty] | 0
RLILI_5 _generator | RO_RA_00167 | costly_ra | [22 empty] | 0
RBACS_5 _generator | RO_RA_00168 | costly_ra | [22 empty] | 0
RFARA_5 _generator | RO_RA_00169 | costly_ra | [22 empty] | 0
RSISC_5 _generator | RO_RA_00170 | costly_ra | [22 empty] | 0
RMARA_5 _generator | RO_RA_00171 | costly_ra | [22 empty] | 0
RTECU_5 _generator | RO_RA_00172 | costly_ra | [22 empty] | 0
RMARI22 _generator | RO_RA_00173 | costly_ra | [22 empty] | 217
RGILC22 _generator | RO_RA_00175 | costly_ra | [22 empty] | 53
RSEBE_5 _generator | RO_RA_00176 | costly_ra | [22 empty] | 55
RREME_5 _generator | RO_RA_00178 | costly_ra | [22 empty] | 96
RMUNT_5 _generator | RO_RA_00179 | costly_ra | [22 empty] | 58
RRETE_5 _generator | RO_RA_00181 | costly_ra | [22 empty] | 0
RCIRNA5 _generator | RO_RA_00182 | costly_ra | [22 empty] | 0
RCIRNB5 _generator | RO_RA_00183 | costly_ra | [22 empty] | 0
RHATE_5 _generator | RO_RA_00184 | costly_ra | [22 empty] | 0